## NOTES
Related to Chapter 2 "Methods" of E.O.C. thesis "Mobilisation of critical elements during partial melting and retrogression"
Appendix G - Whole-rock results and quality check
1 | Samples bulk-rock major and trace element analysis results from ActLabs.
2 | Quality check of Actlabs results.
3 | Chart showing quality check of major elements for ActLabs results.
4 | Chart showing quality check of trace elements for ActLabs results.
5 | Samples bulk-rock major and trace element analysis results from ALS Global.
6 | Quality check of ALS Global results.
7 | Chart showing quality check of trace elements for ALS Global results.
8 | Comparison of ActLabs and ALS Global results.

## 1
Samples bulk-rock major and trace element analysis results from ActLabs.
Report Date: 26/7/2023
Analyte Symbol | SiO2 | TiO2 | Al2O3 | Fe2O3(T) | MnO | MgO | CaO | Na2O | K2O | P2O5 | LOI | Total | Sc | Be | V | Ba | Sr | Y | Zr | Cr | Co | Ni | Cu | Zn | Ga | Ge | As | Rb | Nb | Mo | Ag | In | Sn | Sb | Cs | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Hf | Ta | W | Tl | Pb | Bi | Th | U
Unit Symbol | % | % | % | % | % | % | % | % | % | % | % | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
Detection Limit | 0.01 | 0.001 | 0.01 | 0.01 | 0.005 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 |  | 0.01 | 1 | 1 | 5 | 2 | 2 | 1 | 2 | 20 | 1 | 20 | 10 | 30 | 1 | 1 | 5 | 2 | 1 | 2 | 0.5 | 0.2 | 1 | 0.5 | 0.5 | 0.1 | 0.1 | 0.05 | 0.1 | 0.1 | 0.05 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.05 | 0.1 | 0.01 | 0.2 | 0.1 | 1 | 0.1 | 5 | 0.4 | 0.1 | 0.1
Analysis Method | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | GRAV | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS
PT22A | 65.46 | 0.752 | 15.21 | 5.6 | 0.064 | 1.78 | 1.47 | 2.31 | 3.6 | 0.14 | 2.03 | 98.42 | 12 | 3 | 74 | 1016 | 256 | 24 | 216 | 80 | 12 | 30 | 20 | 70 | 22 | 2 | < 5 | 132 | 13 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 5.4 | 38.8 | 77.1 | 9.03 | 33.4 | 6.2 | 1.57 | 5.1 | 0.8 | 4.6 | 0.9 | 2.6 | 0.4 | 2.5 | 0.41 | 5.7 | 1.2 | 3 | 0.6 | 35 | < 0.4 | 14.7 | 3
PT22B | 57.19 | 1.154 | 18.35 | 9.39 | 0.097 | 3.26 | 0.87 | 1.31 | 4.09 | 0.09 | 3.7 | 99.51 | 20 | 4 | 135 | 469 | 160 | 32 | 245 | 140 | 25 | 60 | 20 | 140 | 30 | 3 | < 5 | 240 | 21 | < 2 | < 0.5 | < 0.2 | 4 | < 0.5 | 12.4 | 63.5 | 128 | 14.4 | 51.8 | 10 | 1.36 | 7.8 | 1.1 | 6.2 | 1.1 | 3.4 | 0.5 | 3.1 | 0.48 | 6.8 | 1.7 | 5 | 1.4 | 17 | < 0.4 | 22.7 | 4.6
PT03B leuco | 65.79 | 0.598 | 17.45 | 4.63 | 0.037 | 1.7 | 0.92 | 2.42 | 5.36 | 0.23 | 1.57 | 100.7 | 13 | 1 | 77 | 1108 | 185 | 22 | 104 | 70 | 11 | 30 | < 10 | 90 | 25 | 2 | < 5 | 153 | 12 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 5.1 | 22.2 | 44.7 | 5.28 | 20.1 | 4.1 | 1.18 | 3.9 | 0.6 | 3.9 | 0.7 | 2.1 | 0.31 | 1.7 | 0.29 | 2.8 | 1.1 | 2 | 0.9 | 30 | < 0.4 | 7 | 3.2
PT03 melano | 60.2 | 0.956 | 19.89 | 7.39 | 0.06 | 2.98 | 0.43 | 1.27 | 5.48 | 0.14 | 1.92 | 100.7 | 21 | 2 | 133 | 940 | 119 | 25 | 186 | 130 | 19 | 40 | < 10 | 160 | 39 | 2 | < 5 | 205 | 23 | < 2 | < 0.5 | < 0.2 | 5 | < 0.5 | 8.5 | 43.4 | 89.7 | 10.4 | 40.2 | 7.7 | 1.15 | 6.1 | 0.9 | 4.9 | 0.9 | 2.5 | 0.37 | 2.4 | 0.38 | 5.2 | 1.9 | 4 | 1.3 | 25 | < 0.4 | 13.8 | 5.6
PT01C leuco | 68.89 | 0.673 | 15.16 | 5.16 | 0.06 | 1.19 | 1.48 | 3.93 | 1.93 | 0.13 | 1.93 | 100.5 | 11 | 2 | 82 | 164 | 92 | 21 | 188 | 70 | 17 | 30 | 20 | 80 | 18 | 2 | 6 | 109 | 9 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 5.9 | 22.9 | 48.6 | 5.6 | 21.6 | 4.5 | 1.24 | 3.7 | 0.6 | 3.9 | 0.8 | 2.2 | 0.34 | 2.1 | 0.32 | 5.1 | 0.8 | < 1 | 0.8 | 23 | < 0.4 | 6.6 | 3.1
PT01C melano | 75.24 | 0.81 | 10.58 | 5.94 | 0.071 | 1.52 | 0.7 | 2.02 | 2.16 | 0.09 | 1.44 | 100.6 | 16 | 2 | 90 | 152 | 45 | 31 | 292 | 80 | 14 | 30 | 30 | 100 | 16 | 2 | < 5 | 139 | 13 | < 2 | < 0.5 | 0.2 | 3 | < 0.5 | 7.8 | 27.6 | 59.9 | 6.86 | 27 | 5.6 | 0.8 | 4.9 | 0.9 | 5 | 1 | 3.2 | 0.53 | 3.4 | 0.54 | 7.6 | 1 | < 1 | 0.9 | 13 | < 0.4 | 8.8 | 4
CZ03 | 60.58 | 0.922 | 16.8 | 7.72 | 0.064 | 2.92 | 1.14 | 2.27 | 3.62 | 0.11 | 2.43 | 98.58 | 17 | < 1 | 124 | 675 | 199 | 33 | 222 | 110 | 20 | 50 | 40 | 120 | 24 | 1 | < 5 | 177 | 14 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 15.5 | 44.8 | 94.2 | 11.1 | 42.3 | 8.3 | 1.36 | 6.8 | 1 | 5.8 | 1.1 | 3.2 | 0.47 | 2.9 | 0.42 | 5.8 | 0.9 | 5 | 1.2 | 15 | < 0.4 | 15.1 | 4.2
CZ08 leuco | 70.77 | 0.293 | 15.57 | 2.13 | 0.029 | 0.8 | 1.22 | 3 | 5.66 | 0.22 | 1.17 | 100.9 | 6 | 1 | 31 | 669 | 140 | 14 | 101 | 20 | 4 | < 20 | < 10 | 50 | 17 | 2 | < 5 | 208 | 8 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 5.9 | 19 | 39.8 | 4.87 | 18.9 | 4.3 | 0.88 | 3.3 | 0.5 | 2.7 | 0.5 | 1.3 | 0.2 | 1.4 | 0.24 | 2.7 | 0.6 | < 1 | 1.3 | 29 | < 0.4 | 9 | 3.2
CZ08 melano | 67.32 | 0.489 | 15.07 | 3.58 | 0.046 | 1.34 | 1.36 | 2.63 | 4.3 | 0.27 | 1.51 | 97.91 | 9 | 2 | 55 | 429 | 110 | 19 | 151 | 40 | 7 | < 20 | < 10 | 70 | 21 | 2 | < 5 | 202 | 10 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 7.8 | 25.5 | 54.2 | 6.81 | 25.7 | 5.7 | 0.63 | 4.8 | 0.7 | 3.4 | 0.6 | 1.7 | 0.25 | 1.5 | 0.26 | 4 | 0.8 | 2 | 1.3 | 22 | < 0.4 | 13.7 | 4.5
CZ13 | 62.4 | 0.908 | 14.56 | 8.29 | 0.111 | 2.97 | 2.58 | 2.86 | 2.65 | 0.11 | 0.94 | 98.38 | 19 | 1 | 127 | 853 | 244 | 37 | 270 | 120 | 22 | 50 | 80 | 80 | 15 | 1 | < 5 | 100 | 11 | < 2 | < 0.5 | < 0.2 | 2 | < 0.5 | 4.6 | 28.2 | 55.5 | 6.6 | 25.7 | 4.9 | 1.43 | 5.5 | 1 | 6.4 | 1.2 | 3.8 | 0.58 | 3.7 | 0.6 | 6.5 | 1 | 4 | 0.8 | 15 | < 0.4 | 8 | 1.2
L10A leuco | 66.07 | 0.734 | 16.14 | 5.59 | 0.054 | 1.86 | 1.05 | 1.93 | 2.72 | 0.06 | 2.25 | 98.45 | 17 | 2 | 101 | 929 | 216 | 25 | 140 | 80 | 7 | 30 | 20 | 60 | 23 | 1 | < 5 | 104 | 11 | < 2 | < 0.5 | < 0.2 | 2 | < 0.5 | 4.3 | 37.4 | 74.9 | 8.87 | 34.3 | 6.7 | 1.25 | 5.1 | 0.7 | 4.3 | 0.9 | 2.9 | 0.49 | 3.7 | 0.61 | 3.2 | 0.9 | 3 | 0.6 | 18 | < 0.4 | 14.3 | 4.1
L10A melano | 49.19 | 1.567 | 24.85 | 11.06 | 0.111 | 4.06 | 0.28 | 0.39 | 4.02 | 0.05 | 4.13 | 99.71 | 28 | 4 | 219 | 491 | 50 | 15 | 217 | 200 | 15 | 80 | 40 | 140 | 44 | 2 | < 5 | 200 | 27 | < 2 | < 0.5 | < 0.2 | 4 | < 0.5 | 9.1 | 43.3 | 85.5 | 10.2 | 39.8 | 7.1 | 0.6 | 5.3 | 0.7 | 3.3 | 0.5 | 1.4 | 0.18 | 1.1 | 0.17 | 5.7 | 1.8 | < 1 | 1.2 | 6 | < 0.4 | 16.3 | 4.4
L14c | 62.14 | 0.846 | 16.84 | 5.92 | 0.052 | 2.25 | 3.79 | 2.87 | 2.9 | 0.29 | 0.99 | 98.87 | 14 | 3 | 113 | 438 | 180 | 14 | 206 | 40 | 13 | < 20 | < 10 | 70 | 26 | 1 | < 5 | 135 | 19 | < 2 | < 0.5 | < 0.2 | 2 | < 0.5 | 5.7 | 18.9 | 39.9 | 4.92 | 19.6 | 4.1 | 1.12 | 3.8 | 0.6 | 3 | 0.5 | 1.2 | 0.16 | 1 | 0.15 | 5.2 | 1.8 | 2 | 0.9 | 16 | < 0.4 | 4.2 | 1.3
L14g | 63.27 | 1.443 | 19.98 | 10.26 | 0.048 | 1.54 | 0.28 | 0.43 | 2.35 | 0.05 | 0.69 | 100.3 | 19 | 3 | 157 | 626 | 78 | 58 | 458 | 120 | 25 | 30 | 30 | 110 | 30 | 2 | < 5 | 78 | 22 | < 2 | < 0.5 | < 0.2 | 1 | < 0.5 | 2 | 58.7 | 124 | 13.9 | 52.5 | 10 | 1.24 | 8.7 | 1.5 | 9.4 | 1.8 | 5.4 | 0.78 | 5 | 0.76 | 10.3 | 1.4 | < 1 | 0.5 | 18 | < 0.4 | 20.5 | 2.6
N34 | 65.41 | 0.826 | 16.29 | 6.17 | 0.068 | 2.43 | 1.02 | 2.89 | 3.8 | 0.16 | 1.56 | 100.6 | 15 | 2 | 108 | 565 | 183 | 28 | 208 | 100 | 14 | 40 | 10 | 90 | 24 | 1 | 29 | 151 | 12 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 12.3 | 42.9 | 85 | 9.98 | 37.7 | 7.2 | 1.13 | 5.7 | 0.9 | 5.2 | 1 | 2.9 | 0.42 | 2.8 | 0.44 | 5.2 | 1 | 3 | 0.7 | 16 | 0.5 | 13.1 | 3.6
GOM7 | 70.06 | 0.791 | 12.97 | 5.39 | 0.066 | 2.08 | 1.62 | 2.8 | 2.44 | 0.16 | 0.9 | 99.27 | 12 | 2 | 98 | 648 | 194 | 24 | 225 | 100 | 13 | 20 | 20 | 80 | 18 | 1 | < 5 | 78 | 8 | < 2 | < 0.5 | < 0.2 | 2 | < 0.5 | 3.5 | 35 | 68.3 | 8.03 | 30.6 | 5.8 | 1.27 | 4.9 | 0.8 | 4.3 | 0.8 | 2.3 | 0.36 | 2.4 | 0.39 | 5.2 | 0.8 | 1 | 0.4 | 16 | < 0.4 | 10.7 | 2.7
K5538 leuco | 71.99 | 0.335 | 14.44 | 2.22 | 0.029 | 0.74 | 1.01 | 2.61 | 4.83 | 0.2 | 1.24 | 99.65 | 5 | 2 | 37 | 659 | 206 | 16 | 92 | 40 | 6 | < 20 | < 10 | 40 | 19 | 2 | < 5 | 118 | 6 | < 2 | < 0.5 | < 0.2 | 4 | < 0.5 | 5.6 | 13.5 | 28 | 3.37 | 12.6 | 2.8 | 0.89 | 2.7 | 0.5 | 2.9 | 0.6 | 1.6 | 0.24 | 1.5 | 0.24 | 2.4 | 1.2 | 1 | 0.6 | 27 | < 0.4 | 4 | 3.6
K5538 melano | 67.58 | 0.992 | 13.32 | 6.51 | 0.067 | 2.13 | 1.41 | 2.46 | 2.87 | 0.22 | 1.55 | 99.1 | 15 | 1 | 113 | 448 | 176 | 29 | 238 | 100 | 15 | 30 | < 10 | 110 | 21 | 1 | < 5 | 138 | 12 | < 2 | < 0.5 | < 0.2 | 6 | < 0.5 | 10 | 28.3 | 58.6 | 7.33 | 29 | 6 | 0.88 | 5.3 | 0.9 | 5.1 | 1 | 3 | 0.46 | 3 | 0.47 | 5.6 | 1.5 | 2 | 0.8 | 12 | < 0.4 | 8.1 | 4.4
K5533 leuco | 62.82 | 0.618 | 19.71 | 4.07 | 0.033 | 1.86 | 2.51 | 5.3 | 1.99 | 0.12 | 1.3 | 100.3 | 9 | 1 | 72 | 506 | 554 | 9 | 157 | 60 | 12 | 30 | < 10 | 50 | 23 | 1 | < 5 | 61 | 9 | < 2 | < 0.5 | < 0.2 | 9 | < 0.5 | 4 | 11 | 22.4 | 2.65 | 10.1 | 1.9 | 1.97 | 1.9 | 0.3 | 1.7 | 0.3 | 0.9 | 0.13 | 0.8 | 0.13 | 3.8 | 0.8 | 3 | 0.4 | 25 | < 0.4 | 2.5 | 1.6
K5533 melano | 52.69 | 1.216 | 21.19 | 9.68 | 0.09 | 4.77 | 1.3 | 2.62 | 4.05 | 0.14 | 2.76 | 100.5 | 18 | 9 | 150 | 750 | 269 | 38 | 303 | 120 | 24 | 60 | < 10 | 130 | 31 | 1 | < 5 | 140 | 17 | < 2 | < 0.5 | < 0.2 | 4 | < 0.5 | 10 | 20.5 | 43.9 | 5.49 | 21.7 | 4.9 | 1.21 | 5.3 | 0.9 | 6 | 1.2 | 3.8 | 0.57 | 3.5 | 0.54 | 7.3 | 1.4 | 2 | 0.8 | 13 | < 0.4 | 5.6 | 3.6

## 2
Quality check os Actlab results
Color codes | Measured value/certified value equals | Report Number: A23-08669
Report Date: 26/7/2023
| 0.95 - 1.05 | Analyte Symbol | SiO2 | Al2O3 | Fe2O3(T) | MnO | MgO | CaO | Na2O | K2O | TiO2 | P2O5 | Total | Sc | Be | V | Ba | Sr | Y | Zr | Cr | Co | Ni | Cu | Zn | Ga | Ge | As | Rb | Nb | Mo | Ag | In | Sn | Sb | Cs | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Hf | Ta | W | Tl | Pb | Bi | Th | U
| 0.90 - 1.10 | Unit Symbol | % | % | % | % | % | % | % | % | % | % | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
| 0.80 - 1.20 | Detection Limit | 0.01 | 0.01 | 0.01 | 0.005 | 0.01 | 0.01 | 0.01 | 0.01 | 0.001 | 0.01 | 0.01 | 1 | 1 | 5 | 2 | 2 | 1 | 2 | 20 | 1 | 20 | 10 | 30 | 1 | 1 | 5 | 2 | 1 | 2 | 0.5 | 0.2 | 1 | 0.5 | 0.5 | 0.1 | 0.1 | 0.05 | 0.1 | 0.1 | 0.05 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.05 | 0.1 | 0.01 | 0.2 | 0.1 | 1 | 0.1 | 5 | 0.4 | 0.1 | 0.1
|  | Analysis Method | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS
|  | NIST 694 Measured | 10.47 | 1.82 | 0.78 | 0.012 | 0.34 | 42.93 | 0.86 | 0.53 | 0.111 | 30.4 |  | V: 1690
|  | NIST 694 Certified | 11.2 | 1.8 | 0.79 | 0.0116 | 0.33 | 43.6 | 0.86 | 0.51 | 0.11 | 30.2 |  | V: 1740
|  | NIST 694 | 0.93482 | 1.0111 | 0.98734 | 1.0345 | 1.0303 | 0.98463 | 1 | 1.0392 | 1.0091 | 1.0066 |  | V: 0.97126
|  | GBW 07113 Measured | 69.25 | 12.73 | 3.22 | 0.137 | 0.15 | 0.59 | 2.46 | 5.34 | 0.287 | 0.05 |  | Sc: 5; Be: 4; V: < 5; Ba: 504; Sr: 42; Y: 46; Zr: 392
|  | GBW 07113 Certified | 72.8 | 13 | 3.21 | 0.14 | 0.16 | 0.59 | 2.57 | 5.43 | 0.3 | 0.05 |  | Sc: 5; Be: 4; V: 5; Ba: 506; Sr: 43; Y: 43; Zr: 403
|  | GBW 07113 | 0.95124 | 0.97923 | 1.0031 | 0.97857 | 0.9375 | 1 | 0.9572 | 0.98343 | 0.95667 | 1 |  | Sc: 1; Be: 1; Ba: 0.99605; Sr: 0.97674; Y: 1.0698; Zr: 0.9727
|  | SY-4 Measured | 50 | 20.11 | 6.05 | 0.103 | 0.52 | 7.89 | 6.95 | 1.66 | 0.291 | 0.13 |  | Sc: < 1; Be: 3; V: 6; Ba: 346; Sr: 1191; Y: 123; Zr: 523
|  | SY-4 Certified | 49.9 | 20.69 | 6.21 | 0.108 | 0.54 | 8.05 | 7.1 | 1.66 | 0.287 | 0.131 |  | Sc: 1.1; Be: 2.6; V: 8; Ba: 340; Sr: 1191; Y: 119; Zr: 517
|  | SY-4 | 1.002 | 0.97197 | 0.97424 | 0.9537 | 0.96296 | 0.98012 | 0.97887 | 1 | 1.0139 | 0.99237 |  | Be: 1.1538; V: 0.75; Ba: 1.0176; Sr: 1; Y: 1.0336; Zr: 1.0116
|  | BIR-1a Measured | 48.26 | 15.51 | 11.05 | 0.166 | 9.68 | 13.39 | 1.83 | 0.03 | 0.983 | 0.02 |  | Sc: 43; Be: < 1; V: 325; Ba: 7; Sr: 109; Y: 16; Zr: 16; Cr: 380; Co: 49; Ni: 180; Cu: 120; Zn: 70; Ga: 16; Nb: < 1; Sb: 0.5; La: 0.6; Ce: 1.8; Nd: 2.3; Sm: 1.1; Eu: 0.53; Yb: 1.6; Lu: 0.26; Hf: 0.6; Pb: < 5
|  | BIR-1a Certified | 47.96 | 15.5 | 11.3 | 0.175 | 9.7 | 13.3 | 1.82 | 0.03 | 0.96 | 0.021 |  | Sc: 44; Be: 0.58; V: 310; Ba: 6; Sr: 110; Y: 16; Zr: 18; Cr: 370; Co: 52; Ni: 170; Cu: 125; Zn: 70; Ga: 16; Nb: 0.6; Sb: 0.58; La: 0.63; Ce: 1.9; Nd: 2.5; Sm: 1.1; Eu: 0.55; Yb: 1.7; Lu: 0.3; Hf: 0.6; Pb: 3
|  | BIR-1a | 1.0063 | 1.0006 | 0.97788 | 0.94857 | 0.99794 | 1.0068 | 1.0055 | 1 | 1.024 | 0.95238 |  | Sc: 0.97727; V: 1.0484; Ba: 1.1667; Sr: 0.99091; Y: 1; Zr: 0.88889; Cr: 1.027; Co: 0.94231; Ni: 1.0588; Cu: 0.96; Zn: 1; Ga: 1; Sb: 0.86207; La: 0.95238; Ce: 0.94737; Nd: 0.92; Sm: 1; Eu: 0.96364; Yb: 0.94118; Lu: 0.86667; Hf: 1
|  | ZW-C Measured | [11 empty] | Cr: 50; Zn: 970; Ga: 87; Rb: > 1000; Nb: 215; Sn: > 1000; Sb: 4.4; Cs: 268; La: 28.9; Ce: 93.5; Pr: 9.1; Nd: 23.5; Sm: 6.5; Gd: 4.3; Tm: 1.5; Yb: 13.6; Lu: 2.24; Hf: 9.6; Ta: 84.2; W: 316; Tl: 34.3; Th: 40.5; U: 18.3
|  | ZW-C Certified | [11 empty] | Cr: 56; Zn: 1050; Ga: 99; Rb: 8500; Nb: 198; Sn: 1300; Sb: 4.2; Cs: 260; La: 30; Ce: 97; Pr: 9.5; Nd: 25; Sm: 6.6; Gd: 4.7; Tm: 1.6; Yb: 14; Lu: 2.2; Hf: 9.7; Ta: 82; W: 320; Tl: 34; Th: 43; U: 20
|  | ZW-C | [11 empty] | Cr: 0.89286; Zn: 0.92381; Nb: 1.0859; Sb: 1.0476; Cs: 1.0308; La: 0.96333; Ce: 0.96392; Pr: 0.95789; Nd: 0.94; Sm: 0.98485; Gd: 0.91489; Tm: 0.9375; Yb: 0.97143; Lu: 1.0182; Hf: 0.98969; Ta: 1.0268; W: 0.9875; Tl: 1.0088; Th: 0.94186; U: 0.915
|  | OREAS 101b (Fusion) Measured | [11 empty] | Co: 44; Ni: < 20; Cu: 430; Mo: 19; La: 822; Ce: 1390; Pr: 128; Nd: 398; Sm: 48; Eu: 7.88; Tb: 5.3; Dy: 31.8; Ho: 6.3; Er: 18.9; Tm: 2.74; Yb: 17.8; Lu: 2.78; Pb: < 5; Th: 36.8; U: 419
|  | OREAS 101b (Fusion) Certified | [11 empty] | Co: 47; Ni: 9; Cu: 420; Mo: 21; La: 789; Ce: 1331; Pr: 127; Nd: 378; Sm: 48; Eu: 7.77; Tb: 5.37; Dy: 32.1; Ho: 6.34; Er: 18.7; Tm: 2.66; Yb: 17.6; Lu: 2.58; Pb: 20; Th: 37.1; U: 396
|  | OREAS 101b | [11 empty] | Co: 0.93617; Cu: 1.0238; Mo: 0.90476; La: 1.0418; Ce: 1.0443; Pr: 1.0079; Nd: 1.0529; Sm: 1; Eu: 1.0142; Tb: 0.98696; Dy: 0.99065; Ho: 0.99369; Er: 1.0107; Tm: 1.0301; Yb: 1.0114; Lu: 1.0775; Th: 0.99191; U: 1.0581
|  | NCS DC86318 Measured | [11 empty] | Rb: 396; Cs: 11.7; La: 1990; Ce: 410; Pr: 747; Nd: > 2000; Sm: > 1000; Eu: 18.9; Gd: > 1000; Tb: 497; Dy: > 1000; Er: > 1000; Tm: 277; Yb: > 1000; Lu: 276; Th: 65
|  | NCS DC86318 Certified | [11 empty] | Rb: 369.42; Cs: 11.88; La: 1960; Ce: 432; Pr: 737; Nd: 3429; Sm: 1725; Eu: 18.91; Gd: 2168; Tb: 468; Dy: 3224; Er: 1750; Tm: 271; Yb: 1844; Lu: 264; Th: 67
|  | NCS DC86318 | [11 empty] | Rb: 1.072; Cs: 0.98485; La: 1.0153; Ce: 0.94907; Pr: 1.0136; Eu: 0.99947; Tb: 1.062; Tm: 1.0221; Lu: 1.0455; Th: 0.97015
|  | USZ 25-2006 Measured | [11 empty] | Co: 34; Ni: 70; Zn: 650; La: > 2000; Ce: > 3000; Pr: > 1000; Nd: > 2000; Sm: 892; Yb: 54.6; Pb: 1040
|  | USZ 25-2006 Certified | [11 empty] | Co: 32.5; Ni: 70.8; Zn: 600; La: 19300; Ce: 29000; Pr: 2800; Nd: 8800; Sm: 900; Yb: 54.5; Pb: 1100
|  | USZ 25-2006 | [11 empty] | Co: 1.0462; Ni: 0.9887; Zn: 1.0833; Sm: 0.99111; Yb: 1.0018; Pb: 0.94545
|  | DNC-1a Measured | 46.93 | 18.24 | 9.61 | 0.143 | 10.05 | 11.25 | 1.91 | 0.22 | 0.474 | 0.07 |  | Sc: 31; V: 149; Ba: 109; Sr: 144; Y: 17; Zr: 40
|  | DNC-1a Certified | 47.15 | 18.34 | 9.97 | 0.15 | 10.13 | 11.49 | 1.89 | 0.234 | 0.48 | 0.07 |  | Sc: 31; V: 148; Ba: 118; Sr: 144; Y: 18; Zr: 38
|  | DNC-1a | 0.99533 | 0.99455 | 0.96389 | 0.95333 | 0.9921 | 0.97911 | 1.0106 | 0.94017 | 0.9875 | 1 |  | Sc: 1; V: 1.0068; Ba: 0.92373; Sr: 1; Y: 0.94444; Zr: 1.0526
|  | BCR-2 Measured | 54.7 | 13.59 | 13.67 | 0.19 | 3.57 | 7.26 | 3.06 | 1.79 | 2.272 | 0.37 |  | Sc: 33; V: 433; Ba: 710; Sr: 340; Y: 36; Zr: 189
|  | BCR-2 Certified | 54.1 | 13.5 | 13.8 | 0.196 | 3.59 | 7.12 | 3.16 | 1.79 | 2.26 | 0.35 |  | Sc: 33; V: 416; Ba: 683; Sr: 346; Y: 37; Zr: 188
|  | BCR-2 | 1.0111 | 1.0067 | 0.99058 | 0.96939 | 0.99443 | 1.0197 | 0.96835 | 1 | 1.0053 | 1.0571 |  | Sc: 1; V: 1.0409; Ba: 1.0395; Sr: 0.98266; Y: 0.97297; Zr: 1.0053
|  | USZ 42-2006 Measured | [11 empty] | Zn: 450; As: 230; Nb: 34; Mo: 35; La: > 2000; Ce: > 3000; Pr: > 1000; Nd: > 2000; Sm: 540; Eu: 81; Ho: 7.2; Yb: 16.9; Pb: 1710; Th: 1030
|  | USZ 42-2006 Certified | [11 empty] | Zn: 469; As: 224; Nb: 31; Mo: 34.4; La: 21100; Ce: 27600; Pr: 2300; Nd: 6500; Sm: 539; Eu: 87.22; Ho: 7.86; Yb: 17.85; Pb: 1600; Th: 946
|  | USZ 42-2006 | [11 empty] | Zn: 0.95949; As: 1.0268; Nb: 1.0968; Mo: 1.0174; Sm: 1.0019; Eu: 0.92869; Ho: 0.91603; Yb: 0.94678; Pb: 1.0688; Th: 1.0888
|  | REE-1 Measured | [11 empty] | Cr: 270; Ni: 20; As: 112; Rb: > 1000; Nb: > 1000; Sn: 525; Cs: 1.1; La: 1690; Ce: > 3000; Pr: 439; Nd: 1560; Sm: 409; Eu: 23.5; Gd: 462; Tb: 104; Dy: 850; Ho: 216; Er: 767; Tm: 106; Hf: 502; Th: 784; U: 132
|  | REE-1 Certified | [11 empty] | Cr: 277; Ni: 24.7; As: 124; Rb: 1050; Nb: 4050; Sn: 498; Cs: 1.07; La: 1661; Ce: 3960; Pr: 435; Nd: 1456; Sm: 381; Eu: 23.5; Gd: 433; Tb: 106; Dy: 847; Ho: 208; Er: 701; Tm: 106; Hf: 479; Th: 719; U: 137
|  | REE-1 | [11 empty] | Cr: 0.97473; Ni: 0.80972; As: 0.90323; Sn: 1.0542; Cs: 1.028; La: 1.0175; Pr: 1.0092; Nd: 1.0714; Sm: 1.0735; Eu: 1; Gd: 1.067; Tb: 0.98113; Dy: 1.0035; Ho: 1.0385; Er: 1.0942; Tm: 1; Hf: 1.048; Th: 1.0904; U: 0.9635
|  | W-2b Measured | 53.12 | 15.65 | 10.79 | 0.16 | 6.33 | 10.9 | 2.21 | 0.62 | 1.089 | 0.15 |  | 36 | < 1 | 271 | 181 | 197 | 21 | 96 | 80 | 42 | 80 | 100 | 70 | 18 |  |  | 19 | 7 |  |  |  |  | 0.7 | 0.8 | 10.1 | 21.5 |  | 12.2 | 3.2 | 1 |  | 0.6 | 3.8 | 0.7 |  |  |  | 0.32 | 2.5 | 0.5 |  |  | 7 |  | 2.2 | 0.5
|  | W-2b Certified | 52.4 | 15.4 | 10.7 | 0.163 | 6.37 | 10.9 | 2.14 | 0.626 | 1.06 | 0.14 |  | 36 | 1.3 | 262 | 182 | 190 | 24 | 94 | 92 | 43 | 70 | 110 | 80 | 17 |  |  | 21 | 7.9 |  |  |  |  | 0.79 | 0.99 | 10 | 23 |  | 13 | 3.3 | 1 |  | 0.63 | 3.6 | 0.76 |  |  |  | 0.33 | 2.6 | 0.5 |  |  | 9.3 |  | 2.4 | 0.53
|  | W-2b | 1.0137 | 1.0162 | 1.0084 | 0.9816 | 0.99372 | 1 | 1.0327 | 0.99042 | 1.0274 | 1.0714 |  | 1 |  | 1.0344 | 0.99451 | 1.0368 | 0.875 | 1.0213 | 0.86957 | 0.97674 | 1.1429 | 0.90909 | 0.875 | 1.0588 |  |  | 0.90476 | 0.88608 |  |  |  |  | 0.88608 | 0.80808 | 1.01 | 0.93478 |  | 0.93846 | 0.9697 | 1 |  | 0.95238 | 1.0556 | 0.92105 |  |  |  | 0.9697 | 0.96154 | 1 |  |  | 0.75269 |  | 0.91667 | 0.9434
|  | N34 Orig | 65.71 | 15.96 | 6.14 | 0.068 | 2.43 | 1.02 | 2.89 | 3.81 | 0.82 | 0.16 | 100.6 | 15 | 2 | 108 | 565 | 181 | 28 | 209 | 100 | 14 | 40 | 10 | 90 | 23 | 1 | 26 | 149 | 12 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 12 | 41.9 | 82.3 | 9.66 | 36.8 | 6.9 | 1.1 | 5.5 | 0.8 | 5 | 0.9 | 2.8 | 0.39 | 2.8 | 0.43 | 5.1 | 1 | 4 | 0.7 | 16 | 0.4 | 12.8 | 3.5
|  | N34 Dup | 65.11 | 16.62 | 6.2 | 0.068 | 2.43 | 1.02 | 2.88 | 3.79 | 0.831 | 0.16 | 100.7 | 15 | 2 | 108 | 564 | 185 | 29 | 207 | 110 | 14 | 50 | 10 | 90 | 24 | 1 | 32 | 152 | 12 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 12.5 | 44 | 87.7 | 10.3 | 38.5 | 7.4 | 1.17 | 6 | 0.9 | 5.3 | 1 | 2.9 | 0.45 | 2.8 | 0.45 | 5.3 | 1 | 2 | 0.8 | 17 | 0.6 | 13.5 | 3.7
|  | N34 | 1.0092 | 0.96029 | 0.99032 | 1 | 1 | 1 | 1.0035 | 1.0053 | 0.98676 | 1 | 0.99901 | 1 | 1 | 1 | 1.0018 | 0.97838 | 0.96552 | 1.0097 | 0.90909 | 1 | 0.8 | 1 | 1 | 0.95833 | 1 | 0.8125 | 0.98026 | 1 |  |  |  | 1 |  | 0.96 | 0.95227 | 0.93843 | 0.93786 | 0.95584 | 0.93243 | 0.94017 | 0.91667 | 0.88889 | 0.9434 | 0.9 | 0.96552 | 0.86667 | 1 | 0.95556 | 0.96226 | 1 | 2 | 0.875 | 0.94118 | 0.66667 | 0.94815 | 0.94595
|  | Method Blank | 0.02 | < 0.01 | 0.01 | < 0.005 | < 0.01 | 0.01 | < 0.01 | < 0.01 | < 0.001 | < 0.01 |  | Sc: < 1; Be: < 1; V: < 5; Ba: < 2; Sr: < 2; Y: < 1; Zr: 3
|  | Method Blank | [18 empty] | < 20 | < 1 | < 20 | < 10 | < 30 | < 1 | < 1 | < 5 | < 2 | < 1 | < 2 | < 0.5 | < 0.2 | < 1 | < 0.5 | < 0.5 | < 0.1 | < 0.1 | < 0.05 | < 0.1 | < 0.1 | < 0.05 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.1 | < 0.05 | < 0.1 | < 0.01 | < 0.2 | < 0.1 | < 1 | < 0.1 | < 5 | < 0.4 | < 0.1 | < 0.1
|  | Method Blank | 0.02 | < 0.01 | < 0.01 | < 0.005 | < 0.01 | 0.01 | < 0.01 | < 0.01 | < 0.001 | < 0.01 | 0.06 | Sc: < 1; Be: < 1; V: < 5; Ba: < 2; Sr: < 2; Y: 3; Zr: 3

## 5
Samples bulk-rock major and trace element analysis results from ALS Global
Report data: 22/07/2024
Analyte Symbol | Ti | Al | Fe | Mn | Mg | Ca | Na | K | P | B | Ba | Be | Ce | Co | Cs | Cu | Dy | Er | Eu | Gd | Hf | Ho | La | Li | Lu | Mo | Nb | Nd | Pb | Pr | Rb | Sc | Sm | Sr | Ta | Tb | Th | Tm | U | V | W | Y | Yb | Zr
Unit Symbol | % | % | % | % | % | % | % | % | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
Detection Limit | 0.0002 | 0.05 | 0.05 | 0.005 | 0.01 | 0.01 | 0.05 | 0.05 | 0.002 | 10 | 1 | 0.03 | 0.1 | 0.2 | 0.01 | 2 | 0.003 | 0.002 | 0.004 | 0.004 | 0.008 | 0.003 | 0.1 | 1 | 0.001 | 0.1 | 0.2 | 0.04 | 0.2 | 0.01 | 0.5 | 0.4 | 0.006 | 0.5 | 0.005 | 0.001 | 0.004 | 0.001 | 0.01 | 1 | 0.2 | 0.01
PT22A | 0.488 | 8.78 | 3.82 | 0.048 | 1.07 | 1.12 | 1.87 | 3.3 | 0.064 | 20 | 1050 | 2.85 | 83.8 | 10.4 | 5.27 | 16 | 4.57 | 2.62 | 1.7 | 5.27 | 6.43 | 0.88 | 41.5 | 52 | 0.393 | 0.1 | 15.65 | 34 | 33.6 | 9.06 | 141 | 12.6 | 6.54 | 270 | 1.09 | 0.81 | 14.9 | 0.385 | 2.66 | 80 | 1.6 | 25.4 | 2.55 | 252
PT22B | 0.732 | 10.3 | 6.46 | 0.076 | 1.96 | 0.65 | 1.1 | 3.75 | 0.039 | 40 | 505 | 3.4 | 137 | 22.7 | 12.3 | 17 | 6.56 | 3.63 | 1.47 | 8.14 | 7.13 | 1.25 | 68.6 | 135 | 0.506 | 0.1 | 23.2 | 56.3 | 17.3 | 15.05 | 261 | 20.9 | 10.5 | 162 | 1.46 | 1.2 | 23.8 | 0.514 | 4.23 | 144 | 2.4 | 36.2 | 3.41 | 279
PT03B leuco | 0.37 | 9.45 | 3.05 | 0.027 | 1.02 | 0.71 | 1.83 | 4.49 | 0.1 | 20 | 1090 | 1.2 | 46.2 | 10.4 | 5.11 | 6 | 3.71 | 1.99 | 1.33 | 3.97 | 3.28 | 0.703 | 22.7 | 71 | 0.257 | 0.2 | 14.75 | 20.7 | 30.3 | 5.24 | 166 | 12.7 | 4.44 | 181 | 1.1 | 0.636 | 6.66 | 0.276 | 2.71 | 83 | 1.2 | 20 | 1.745 | 123.5
PT03B melano | 0.625 | 10.85 | 5.32 | 0.049 | 1.88 | 0.29 | 0.94 | 4.87 | 0.061 | 20 | 930 | 1.5 | 99.7 | 17 | 8.48 | 5 | 5.23 | 2.65 | 1.19 | 6.83 | 6.06 | 0.938 | 48.1 | 117 | 0.366 | 0.3 | 25.5 | 43.5 | 21.7 | 11.15 | 228 | 22.3 | 8.8 | 112.5 | 1.85 | 0.98 | 16.6 | 0.369 | 5.76 | 148 | 2.4 | 27.1 | 2.46 | 227
PT01C leuco | 0.414 | 8.35 | 3.59 | 0.046 | 0.68 | 1.14 | 2.97 | 1.61 | 0.061 | 20 | 162 | 2.25 | 55.3 | 16.2 | 5.6 | 21 | 3.99 | 2.29 | 1.205 | 4.36 | 4.91 | 0.778 | 24.1 | 144 | 0.347 | 0.3 | 9.52 | 23.5 | 22.5 | 5.89 | 111 | 11.1 | 5.02 | 90.9 | 0.748 | 0.674 | 7.29 | 0.337 | 3.08 | 91 | 0.7 | 21.7 | 2.27 | 190
PT01C melano | 0.495 | 5.71 | 4.05 | 0.057 | 0.88 | 0.54 | 1.52 | 1.83 | 0.04 | 20 | 152 | 1.39 | 62.1 | 13.4 | 7.54 | 23 | 4.76 | 3.05 | 0.753 | 5.16 | 6.46 | 0.978 | 27.5 | 165 | 0.507 | 0.3 | 14.35 | 26.4 | 12.4 | 6.68 | 143.5 | 16.45 | 5.61 | 42.4 | 0.934 | 0.811 | 8.5 | 0.473 | 3.82 | 99 | 0.8 | 27.9 | 3.32 | 256
CZ03 | 0.592 | 9.66 | 5.46 | 0.051 | 1.77 | 0.83 | 1.89 | 3.41 | 0.045 | 20 | 727 | 0.77 | 108.5 | 19.4 | 16.4 | 50 | 7.3 | 4.37 | 1.475 | 7.81 | 6.47 | 1.475 | 52.5 | 119 | 0.604 | 1.6 | 16.75 | 46.2 | 19.2 | 12.05 | 209 | 17.95 | 9.22 | 203 | 0.881 | 1.24 | 17.5 | 0.623 | 4.26 | 135 | 1.1 | 43.5 | 4.1 | 249
CZ08 leuco | 0.1865 | 8.24 | 1.52 | 0.022 | 0.46 | 0.96 | 2.23 | 4.62 | 0.1 | 10 | 646 | 1.13 | 41.3 | 4.4 | 5.49 | 2 | 2.75 | 1.41 | 0.825 | 3.53 | 2.97 | 0.495 | 19.1 | 27 | 0.215 | 0.1 | 7.97 | 18.8 | 28.1 | 4.74 | 214 | 5.91 | 4.25 | 136 | 0.578 | 0.525 | 8.78 | 0.205 | 3.06 | 34 | 0.9 | 14.5 | 1.405 | 110.5
CZ08 melano | 0.321 | 8.36 | 2.53 | 0.036 | 0.79 | 1.04 | 2.12 | 3.83 | 0.116 | 20 | 450 | 1.58 | 66.3 | 7.4 | 8.17 | 2 | 4.01 | 1.99 | 0.73 | 5.51 | 5.22 | 0.704 | 30.6 | 45 | 0.305 | 0.2 | 13.3 | 30 | 21.2 | 7.65 | 227 | 9.93 | 6.74 | 111.5 | 0.846 | 0.793 | 15.35 | 0.281 | 4.46 | 60 | 1.5 | 20.6 | 1.945 | 195
CZ13 | 0.574 | 8.32 | 5.62 | 0.086 | 1.77 | 1.92 | 2.47 | 2.47 | 0.047 | 20 | 910 | 1.06 | 61.7 | 22.1 | 4.74 | 107 | 6.91 | 4.27 | 1.58 | 6.2 | 5.61 | 1.435 | 30.8 | 35 | 0.635 | 1.1 | 15 | 26.4 | 19.8 | 6.76 | 118.5 | 20 | 5.5 | 262 | 0.976 | 1.1 | 8.01 | 0.616 | 1.08 | 138 | 1.8 | 41 | 4.16 | 229
L10A leuco | 0.488 | 9.28 | 3.9 | 0.042 | 1.14 | 0.76 | 1.63 | 2.59 | 0.031 | 20 | 960 | 1.76 | 90.8 | 7.4 | 4.58 | 24 | 6.01 | 4.58 | 1.38 | 6.6 | 2.31 | 1.335 | 44.7 | 38 | 0.882 | 0.5 | 14.1 | 39.1 | 19.9 | 10.15 | 122.5 | 18.05 | 7.94 | 227 | 0.944 | 1.005 | 17.15 | 0.755 | 4.42 | 110 | 0.6 | 37.5 | 5.46 | 90.4
L10A melano | 0.998 | 13.8 | 7.55 | 0.088 | 2.44 | 0.2 | 0.32 | 3.62 | 0.017 | 30 | 525 | 4.12 | 91.7 | 14.9 | 8.96 | 44 | 3.08 | 1.06 | 0.612 | 5.53 | 2.29 | 0.471 | 45.8 | 69 | 0.111 | 0.8 | 28.2 | 40 | 6.6 | 10.3 | 216 | 29.8 | 7.54 | 47.6 | 1.65 | 0.691 | 17.95 | 0.121 | 3.77 | 235 | 1 | 12.25 | 0.737 | 87.9
L14c | 0.531 | 9.48 | 4.23 | 0.041 | 1.37 | 3.05 | 2.41 | 2.4 | 0.125 | 10 | 461 | 2.68 | 43.9 | 12.1 | 5.81 | 7 | 3.2 | 1.39 | 1.22 | 4.18 | 0.94 | 0.548 | 20.8 | 48 | 0.168 | 0.2 | 22.6 | 20.9 | 15.9 | 5.13 | 152 | 15.2 | 4.7 | 187 | 1.725 | 0.605 | 4.49 | 0.174 | 0.97 | 126 | 0.8 | 16.55 | 1.12 | 33.1
L14g | 0.883 | 11.3 | 6.78 | 0.036 | 0.93 | 0.22 | 0.37 | 1.98 | 0.02 | 20 | 632 | 3.02 | 138.5 | 24.6 | 2.09 | 28 | 10.4 | 6.2 | 1.46 | 10.3 | 3.57 | 2.1 | 67.8 | 34 | 0.827 | 0.3 | 26.3 | 56.9 | 19.8 | 15.5 | 89 | 20.3 | 10.9 | 80.4 | 1.375 | 1.725 | 22.6 | 0.868 | 2.24 | 169 | <0.2 | 60.2 | 5.73 | 139
N34 | 0.516 | 9 | 4.47 | 0.055 | 1.47 | 0.83 | 2.36 | 3.13 | 0.068 | 30 | 556 | 1.81 | 92.2 | 13.2 | 12.2 | 12 | 5.39 | 3.26 | 1.27 | 6.15 | 5.56 | 1.075 | 45.6 | 82 | 0.478 | 0.6 | 14.8 | 38.7 | 16.1 | 10.25 | 164 | 15.65 | 7.55 | 184 | 0.909 | 0.921 | 13.1 | 0.473 | 3.2 | 119 | 1.4 | 31.3 | 3.16 | 219
K5538 leuco | 0.212 | 7.89 | 1.56 | 0.023 | 0.45 | 0.83 | 2.15 | 3.89 | 0.088 | 30 | 635 | 1.66 | 29.2 | 5.3 | 5.08 | 7 | 2.85 | 1.66 | 0.854 | 2.7 | 2.27 | 0.562 | 13.3 | 37 | 0.233 | 0.2 | 8.28 | 13.05 | 24.7 | 3.31 | 118.5 | 5.57 | 2.88 | 209 | 1.1 | 0.469 | 3.68 | 0.239 | 2.93 | 40 | 1.1 | 16.6 | 1.55 | 83.9
K5538 melano | 0.62 | 7.48 | 4.41 | 0.052 | 1.26 | 1.12 | 2.07 | 2.39 | 0.1 | 30 | 455 | 1.16 | 55.6 | 14.8 | 10 | 8 | 5.65 | 3.66 | 0.913 | 5.33 | 5.86 | 1.19 | 26.2 | 65 | 0.548 | 0.3 | 16.65 | 25.8 | 13.4 | 6.39 | 149 | 15.55 | 5.56 | 183 | 1.335 | 0.891 | 6.87 | 0.541 | 3.79 | 122 | 1.7 | 34.6 | 3.63 | 234
K5533 leuco | 0.36 | 10.7 | 2.72 | 0.026 | 1.06 | 2.05 | 4.38 | 1.56 | 0.055 | 30 | 504 | 1.6 | 24 | 10.6 | 3.66 | <2 | 1.86 | 1.12 | 2.12 | 2.1 | 3.79 | 0.377 | 11.4 | 35 | 0.166 | 0.2 | 9.84 | 10.85 | 24.6 | 2.7 | 62.2 | 8.8 | 2.3 | 569 | 0.702 | 0.326 | 2.51 | 0.162 | 1.51 | 77 | 0.9 | 11.05 | 1.06 | 146
K5533 melano | 0.747 | 11.8 | 6.62 | 0.073 | 2.95 | 1.02 | 2.21 | 3.4 | 0.061 | 30 | 740 | 8.6 | 55.5 | 24.4 | 10.25 | <2 | 6.71 | 4.07 | 1.42 | 6.35 | 8.26 | 1.385 | 26.2 | 121 | 0.581 | 0.2 | 18.4 | 26.7 | 12.9 | 6.52 | 161.5 | 19.8 | 6.11 | 279 | 1.36 | 1.09 | 6.74 | 0.587 | 3.68 | 168 | 1.5 | 41.4 | 3.88 | 319

## 6
Quality check of ALS Global results.
Report number: LR24165341
Color codes |  | Report data: 22/07/2024
Measured value/certified value equals |  | Analyte Symbol | Ti | Al | Fe | Mn | Mg | Ca | Na | K | P | B | Ba | Be | Ce | Co | Cs | Cu | Dy | Er | Eu | Gd | Hf | Ho | La | Li | Lu | Mo | Nb | Nd | Pb | Pr | Rb | Sc | Sm | Sr | Ta | Tb | Th | Tm | U | V | W | Y | Yb | Zr
| 0.95 - 1.05 | Unit Symbol | % | % | % | % | % | % | % | % | % | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
| 0.90 - 1.10 | Detection Limit | 0.0002 | 0.05 | 0.05 | 0.005 | 0.01 | 0.01 | 0.05 | 0.05 | 0.002 | 10 | 1 | 0.03 | 0.1 | 0.2 | 0.01 | 2 | 0.003 | 0.002 | 0.004 | 0.004 | 0.008 | 0.003 | 0.1 | 1 | 0.001 | 0.1 | 0.2 | 0.04 | 0.2 | 0.01 | 0.5 | 0.4 | 0.006 | 0.5 | 0.005 | 0.001 | 0.004 | 0.001 | 0.01 | 1 | 0.2 | 0.01 | 0.001 | 0.5
| 0.80 - 1.20 | BLANK | 0.0002 | <0.05 | <0.05 | <0.005 | <0.01 | 0.01 | <0.05 | <0.05 | <0.002 | <10 | 2 | <0.03 | <0.1 | <0.2 | <0.01 | <2 | <0.003 | <0.002 | <0.004 | <0.004 | <0.008 | <0.002 | <0.1 | <1 | <0.001 | 0.1 | <0.02 | <0.04 | <0.5 | <0.01 | <0.05 | <0.04 | <0.006 | <0.4 | <0.005 | <0.001 | <0.004 | <0.001 | <0.01 | 2 | <0.2 | <0.01 | <0.001 | 0.5
|  | SY-5_measured | 1.105 | 7.78 | 7.53 | 0.102 | 1.89 | 5.33 | 3.18 | 3.56 | 0.915 | 10 | 6720 | 4.93 | 484 | 24.2 | 0.59 | 38 | 11.35 | 5.37 | 7.39 | 19.55 | 16.4 | 1.985 | 239 | 52 | 0.719 | 9.1 | 23.3 | 215 | 64.1 | 57.8 | 78.7 | 13.15 | 31.5 | 3180 | 0.994 | 2.32 | 25.5 | 0.729 | 5.09 | 149 | 0.3 | 59.2 | 4.71 | 868
|  | SY-5_certified | [10 empty] | 6480 | 4.62 | 459 | 23.1 | 0.612 | 37.9 | 11.33 | 5.38 | 7.64 | 19.8 | 15.3 | 2.04 | 225 | 49.5 | 0.702 | 8.93 | 22.2 | 208.1 | 65.9 | 55.3 | 76.9 | 12.37 | 31.1 | 3100 | 1.06 | 2.26 | 25.2 | 0.725 | 5.09 | 131.8 |  | 56.3 | 4.64 | 769
|  | SY-5 | [10 empty] | 1.037 | 1.0671 | 1.0545 | 1.0476 | 0.96405 | 1.0026 | 1.0018 | 0.99814 | 0.96728 | 0.98737 | 1.0719 | 0.97304 | 1.0622 | 1.0505 | 1.0242 | 1.019 | 1.0495 | 1.0332 | 0.97269 | 1.0452 | 1.0234 | 1.0631 | 1.0129 | 1.0258 | 0.93774 | 1.0265 | 1.0119 | 1.0055 | 1 | 1.1305 |  | 1.0515 | 1.0151 | 1.1287
|  | OREAS-101b_measured | 0.403 | 5.71 | 10.6 | 0.098 | 1.17 | 1.25 | 0.08 | 2.46 | 0.123 | 10 | 194 | 7.07 | 1390 | 48.1 | 2.42 | 429 | 31.4 | 18.75 | 7.57 | 35 | 10.45 | 6.34 | 794 | 27 | 2.58 | 20.1 | 60.6 | 390 | 21.2 | 131 | 195 | 9.36 | 49.1 | 21.9 | 2.69 | 5.42 | 36.6 | 2.71 | 393 | 85 | 18.6 | 178 | 18.05 | 427
|  | OREAS-101b_certified | Ce: 1331; Co: 47; Cu: 420; Dy: 32.1; Er: 18.7; Eu: 7.77; Ho: 6.34; La: 789; Lu: 2.58; Mo: 21; Nd: 378; Pb: 20; Pr: 127; Sm: 48; Tb: 5.37; Th: 37.1; U: 396; Yb: 17.6
|  | OREAS-101b | Ce: 1.0443; Co: 1.0234; Cu: 1.0214; Dy: 0.97819; Er: 1.0027; Eu: 0.97426; Ho: 1; La: 1.0063; Lu: 1; Mo: 0.95714; Nd: 1.0317; Pb: 1.06; Pr: 1.0315; Sm: 1.0229; Tb: 1.0093; Th: 0.98652; U: 0.99242; Yb: 1.0256

## 8
Comparison of ActLabs and ALS Global results
[14 empty] | Sample | Sc | Be | V | Ba | Sr | Y | Zr | Cr | Co | Ni | Cu | Zn | Ga | Ge | As | Rb | Nb | Mo | Ag | In | Sn | Sb | Cs | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Hf | Ta | W | Tl | Pb | Bi | Th | U
[14 empty] | PT22A | 0.95238 | 1.0526 | 0.925 | 0.96762 | 0.94815 | 0.94488 | 0.85714 |  | 1.1538 |  | 1.25 |  |  |  |  | 0.93617 | 0.83067 | [5 empty] | 1.0247 | 0.93494 | 0.92005 | 0.99669 | 0.98235 | 0.94801 | 0.92353 | 0.96774 | 0.98765 | 1.0066 | 1.0227 | 0.99237 | 1.039 | 0.98039 | 1.0433 | 0.88647 | 1.1009 | 1.875 |  | 1.0417 |  | 0.98658 | 1.1278
[14 empty] | PT22B | 0.95694 | 1.1765 | 0.9375 | 0.92871 | 0.98765 | 0.88398 | 0.87814 |  | 1.1013 |  | 1.1765 |  |  |  |  | 0.91954 | 0.90517 | [5 empty] | 1.0081 | 0.92566 | 0.93431 | 0.95681 | 0.92007 | 0.95238 | 0.92517 | 0.95823 | 0.91667 | 0.94512 | 0.88 | 0.93664 | 0.97276 | 0.90909 | 0.94862 | 0.95372 | 1.1644 | 2.0833 |  | 0.98266 |  | 0.95378 | 1.0875
[5 empty] | Color codes | Measured value/certified value equals | [7 empty] | PT03B leuco | 1.0236 | 0.83333 | 0.92771 | 1.0165 | 1.0221 | 1.1 | 0.84211 |  | 1.0577 | [6 empty] | 0.92169 | 0.81356 | [5 empty] | 0.99804 | 0.97797 | 0.96753 | 1.0076 | 0.97101 | 0.92342 | 0.88722 | 0.98237 | 0.9434 | 1.0512 | 0.99573 | 1.0553 | 1.1232 | 0.97421 | 1.1284 | 0.85366 | 1 | 1.6667 |  | 0.9901 |  | 1.0511 | 1.1808
[14 empty] | PT03B melano | 0.9417 | 1.3333 | 0.89865 | 1.0108 | 1.0578 | 0.92251 | 0.81938 |  | 1.1176 | [6 empty] | 0.89912 | 0.90196 | [5 empty] | 1.0024 | 0.90229 | 0.8997 | 0.93274 | 0.92414 | 0.875 | 0.96639 | 0.89312 | 0.91837 | 0.9369 | 0.95949 | 0.9434 | 1.0027 | 0.97561 | 1.0383 | 0.85809 | 1.027 | 1.6667 |  | 1.1521 |  | 0.83133 | 0.97222
[6 empty] | 0.95 - 1.05 | [7 empty] | PT01C leuco | 0.99099 | 0.88889 | 0.9011 | 1.0123 | 1.0121 | 0.96774 | 0.98947 |  | 1.0494 |  | 0.95238 |  |  |  |  | 0.98198 | 0.94538 | [5 empty] | 1.0536 | 0.95021 | 0.87884 | 0.95076 | 0.91915 | 0.89641 | 1.029 | 0.84862 | 0.89021 | 0.97744 | 1.0283 | 0.9607 | 1.0089 | 0.92511 | 0.92219 | 1.0387 | 1.0695 |  |  | 1.0222 |  | 0.90535 | 1.0065
[6 empty] | 0.90 - 1.10 | [7 empty] | PT01C melano | 0.97264 | 1.4388 | 0.90909 | 1 | 1.0613 | 1.1111 | 1.1406 |  | 1.0448 |  | 1.3043 |  |  |  |  | 0.96864 | 0.90592 | [5 empty] | 1.0345 | 1.0036 | 0.96457 | 1.0269 | 1.0227 | 0.99822 | 1.0624 | 0.94961 | 1.1097 | 1.0504 | 1.0225 | 1.0492 | 1.1205 | 1.0241 | 1.0651 | 1.1765 | 1.0707 |  |  | 1.0484 |  | 1.0353 | 1.0471
[6 empty] | 0.80 - 1.20 | [7 empty] | CZ03 | 0.94708 |  | 0.91852 | 0.92847 | 0.9803 | 0.75862 | 0.89157 |  | 1.0309 |  | 0.8 |  |  |  |  | 0.84689 | 0.83582 | [5 empty] | 0.94512 | 0.85333 | 0.8682 | 0.92116 | 0.91558 | 0.90022 | 0.92203 | 0.87068 | 0.80645 | 0.79452 | 0.74576 | 0.73227 | 0.75441 | 0.70732 | 0.69536 | 0.89645 | 1.0216 | 4.5455 |  | 0.78125 |  | 0.86286 | 0.98592
[14 empty] | CZ08 leuco | 1.0152 | 0.88496 | 0.91176 | 1.0356 | 1.0294 | 0.96552 | 0.91403 |  | 0.90909 | [6 empty] | 0.97196 | 1.0038 | [5 empty] | 1.0747 | 0.99476 | 0.96368 | 1.0274 | 1.0053 | 1.0118 | 1.0667 | 0.93484 | 0.95238 | 0.98182 | 1.0101 | 0.92199 | 0.97561 | 0.99644 | 1.1163 | 0.90909 | 1.0381 |  |  | 1.032 |  | 1.0251 | 1.0458
[14 empty] | CZ08 melano | 0.90634 | 1.2658 | 0.91667 | 0.95333 | 0.98655 | 0.92233 | 0.77436 |  | 0.94595 | [6 empty] | 0.88987 | 0.75188 | [5 empty] | 0.95471 | 0.83333 | 0.8175 | 0.8902 | 0.85667 | 0.8457 | 0.86301 | 0.87114 | 0.88272 | 0.84788 | 0.85227 | 0.85427 | 0.88968 | 0.77121 | 0.85246 | 0.76628 | 0.94563 | 1.3333 |  | 1.0377 |  | 0.89251 | 1.009
[14 empty] | CZ13 | 0.95 | 0.9434 | 0.92029 | 0.93736 | 0.9313 | 0.90244 | 1.179 |  | 0.99548 |  | 0.74766 |  |  |  |  | 0.84388 | 0.73333 | [5 empty] | 0.97046 | 0.91558 | 0.89951 | 0.97633 | 0.97348 | 0.89091 | 0.90506 | 0.8871 | 0.90909 | 0.92619 | 0.83624 | 0.88993 | 0.94156 | 0.88942 | 0.94488 | 1.1586 | 1.0246 | 2.2222 |  | 0.75758 |  | 0.99875 | 1.1111
[14 empty] | L10A leuco | 0.94183 | 1.1364 | 0.91818 | 0.96771 | 0.95154 | 0.66667 | 1.5487 |  | 0.94595 |  | 0.83333 |  |  |  |  | 0.84898 | 0.78014 | [5 empty] | 0.93886 | 0.83669 | 0.82489 | 0.87389 | 0.87724 | 0.84383 | 0.9058 | 0.77273 | 0.69652 | 0.71547 | 0.67416 | 0.63319 | 0.64901 | 0.67766 | 0.69161 | 1.3853 | 0.95339 | 5 |  | 0.90452 |  | 0.83382 | 0.9276
[14 empty] | L10A melano | 0.9396 | 0.97087 | 0.93191 | 0.93524 | 1.0504 | 1.2245 | 2.4687 |  | 1.0067 |  | 0.90909 |  |  |  |  | 0.92593 | 0.95745 | [5 empty] | 1.0156 | 0.94541 | 0.93239 | 0.99029 | 0.995 | 0.94164 | 0.98039 | 0.95841 | 1.013 | 1.0714 | 1.0616 | 1.3208 | 1.4876 | 1.4925 | 1.5315 | 2.4891 | 1.0909 |  |  | 0.90909 |  | 0.90808 | 1.1671
[14 empty] | L14c | 0.92105 | 1.1194 | 0.89683 | 0.95011 | 0.96257 | 0.84592 | 6.2236 |  | 1.0744 | [6 empty] | 0.88816 | 0.84071 | [5 empty] | 0.98107 | 0.90865 | 0.90888 | 0.95906 | 0.9378 | 0.87234 | 0.91803 | 0.90909 | 0.99174 | 0.9375 | 0.91241 | 0.86331 | 0.91954 | 0.89286 | 0.89286 | 5.5319 | 1.0435 | 2.5 |  | 1.0063 |  | 0.93541 | 1.3402
[14 empty] | L14g | 0.93596 | 0.99338 | 0.92899 | 0.99051 | 0.97015 | 0.96346 | 3.295 |  | 1.0163 |  | 1.0714 |  |  |  |  | 0.8764 | 0.8365 | [5 empty] | 0.95694 | 0.86578 | 0.89531 | 0.89677 | 0.92267 | 0.91743 | 0.84932 | 0.84466 | 0.86957 | 0.90385 | 0.85714 | 0.87097 | 0.89862 | 0.8726 | 0.91898 | 2.8852 | 1.0182 |  |  | 0.90909 |  | 0.90708 | 1.1607
[14 empty] | N34 | 0.95847 | 1.105 | 0.90756 | 1.0162 | 0.99457 | 0.89457 | 0.94977 |  | 1.0606 |  | 0.83333 |  |  |  |  | 0.92073 | 0.81081 | [5 empty] | 1.0082 | 0.94079 | 0.92191 | 0.97366 | 0.97416 | 0.95364 | 0.88976 | 0.92683 | 0.9772 | 0.96475 | 0.93023 | 0.88957 | 0.88795 | 0.88608 | 0.9205 | 0.93525 | 1.1001 | 2.1429 |  | 0.99379 |  | 1 | 1.125
[14 empty] | K5538 leuco |  | 1.2048 | 0.925 | 1.0378 | 0.98565 | 0.96386 | 1.0965 |  | 1.1321 | [6 empty] | 0.99578 | 0.72464 | [5 empty] | 1.1024 | 1.015 | 0.9589 | 1.0181 | 0.96552 | 0.97222 | 1.0422 | 1 | 1.0661 | 1.0175 | 1.0676 | 0.96386 | 1.0042 | 0.96774 | 1.03 | 1.0573 | 1.0909 | 0.90909 |  | 1.0931 |  | 1.087 | 1.2287
[14 empty] | K5538 melano |  | 0.86207 | 0.92623 | 0.98462 | 0.96175 | 0.83815 | 1.0171 |  | 1.0135 | [6 empty] | 0.92617 | 0.72072 | [5 empty] | 1 | 1.0802 | 1.054 | 1.1471 | 1.124 | 1.0791 | 0.96386 | 0.99437 | 1.0101 | 0.90265 | 0.84034 | 0.81967 | 0.85028 | 0.82645 | 0.85766 | 0.95563 | 1.1236 | 1.1765 |  | 0.89552 |  | 1.179 | 1.1609
[14 empty] | K5533 leuco |  | 0.625 | 0.93506 | 1.004 | 0.97364 | 0.81448 | 1.0753 |  | 1.1321 | [6 empty] | 0.98071 | 0.91463 | [5 empty] | 1.0929 | 0.96491 | 0.93333 | 0.98148 | 0.93088 | 0.82609 | 0.92925 | 0.90476 | 0.92025 | 0.91398 | 0.79576 | 0.80357 | 0.80247 | 0.75472 | 0.78313 | 1.0026 | 1.1396 | 3.3333 |  | 1.0163 |  | 0.99602 | 1.0596
[14 empty] | K5533 melano |  | 1.0465 | 0.89286 | 1.0135 | 0.96416 | 0.91787 | 0.94984 |  | 0.98361 | [6 empty] | 0.86687 | 0.92391 | [5 empty] | 0.97561 | 0.78244 | 0.79099 | 0.84202 | 0.81273 | 0.80196 | 0.85211 | 0.83465 | 0.82569 | 0.89419 | 0.86643 | 0.93366 | 0.97104 | 0.90206 | 0.92943 | 0.88378 | 1.0294 | 1.3333 |  | 1.0078 |  | 0.83086 | 0.97826
Analyte Symbol | SiO2 | TiO2 | Al2O3 | Fe2O3(T) | MnO | MgO | CaO | Na2O | K2O | P2O5 | LOI | Total |  |  | Sc | Be | V | Ba | Sr | Y | Zr | Cr | Co | Ni | Cu | Zn | Ga | Ge | As | Rb | Nb | Mo | Ag | In | Sn | Sb | Cs | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Hf | Ta | W | Tl | Pb | Bi | Th | U
Unit Symbol | % | % | % | % | % | % | % | % | % | % | % | % |  |  | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm
Detection Limit | 0.01 | 0.001 | 0.01 | 0.01 | 0.005 | 0.01 | 0.01 | 0.01 | 0.01 | 0.01 |  | 0.01 |  |  | 1 | 1 | 5 | 2 | 2 | 1 | 2 | 20 | 1 | 20 | 10 | 30 | 1 | 1 | 5 | 2 | 1 | 2 | 0.5 | 0.2 | 1 | 0.5 | 0.5 | 0.1 | 0.1 | 0.05 | 0.1 | 0.1 | 0.05 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 0.05 | 0.1 | 0.01 | 0.2 | 0.1 | 1 | 0.1 | 5 | 0.4 | 0.1 | 0.1
Analysis Method | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | GRAV | FUS-ICP |  |  | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-ICP | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS | FUS-MS
PT22A | 65.46 | 0.752 | 15.21 | 5.6 | 0.064 | 1.78 | 1.47 | 2.31 | 3.6 | 0.14 | 2.03 | 98.42 |  |  | 12 | 3 | 74 | 1016 | 256 | 24 | 216 | 80 | 12 | 30 | 20 | 70 | 22 | 2 | < 5 | 132 | 13 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 5.4 | 38.8 | 77.1 | 9.03 | 33.4 | 6.2 | 1.57 | 5.1 | 0.8 | 4.6 | 0.9 | 2.6 | 0.4 | 2.5 | 0.41 | 5.7 | 1.2 | 3 | 0.6 | 35 | < 0.4 | 14.7 | 3
PT22B | 57.19 | 1.154 | 18.35 | 9.39 | 0.097 | 3.26 | 0.87 | 1.31 | 4.09 | 0.09 | 3.7 | 99.51 |  |  | 20 | 4 | 135 | 469 | 160 | 32 | 245 | 140 | 25 | 60 | 20 | 140 | 30 | 3 | < 5 | 240 | 21 | < 2 | < 0.5 | < 0.2 | 4 | < 0.5 | 12.4 | 63.5 | 128 | 14.4 | 51.8 | 10 | 1.36 | 7.8 | 1.1 | 6.2 | 1.1 | 3.4 | 0.5 | 3.1 | 0.48 | 6.8 | 1.7 | 5 | 1.4 | 17 | < 0.4 | 22.7 | 4.6
PT03B leuco | 65.79 | 0.598 | 17.45 | 4.63 | 0.037 | 1.7 | 0.92 | 2.42 | 5.36 | 0.23 | 1.57 | 100.7 |  |  | 13 | 1 | 77 | 1108 | 185 | 22 | 104 | 70 | 11 | 30 | < 10 | 90 | 25 | 2 | < 5 | 153 | 12 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 5.1 | 22.2 | 44.7 | 5.28 | 20.1 | 4.1 | 1.18 | 3.9 | 0.6 | 3.9 | 0.7 | 2.1 | 0.31 | 1.7 | 0.29 | 2.8 | 1.1 | 2 | 0.9 | 30 | < 0.4 | 7 | 3.2
PT03 melano | 60.2 | 0.956 | 19.89 | 7.39 | 0.06 | 2.98 | 0.43 | 1.27 | 5.48 | 0.14 | 1.92 | 100.7 |  |  | 21 | 2 | 133 | 940 | 119 | 25 | 186 | 130 | 19 | 40 | < 10 | 160 | 39 | 2 | < 5 | 205 | 23 | < 2 | < 0.5 | < 0.2 | 5 | < 0.5 | 8.5 | 43.4 | 89.7 | 10.4 | 40.2 | 7.7 | 1.15 | 6.1 | 0.9 | 4.9 | 0.9 | 2.5 | 0.37 | 2.4 | 0.38 | 5.2 | 1.9 | 4 | 1.3 | 25 | < 0.4 | 13.8 | 5.6
PT01C leuco | 68.89 | 0.673 | 15.16 | 5.16 | 0.06 | 1.19 | 1.48 | 3.93 | 1.93 | 0.13 | 1.93 | 100.5 |  |  | 11 | 2 | 82 | 164 | 92 | 21 | 188 | 70 | 17 | 30 | 20 | 80 | 18 | 2 | 6 | 109 | 9 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 5.9 | 22.9 | 48.6 | 5.6 | 21.6 | 4.5 | 1.24 | 3.7 | 0.6 | 3.9 | 0.8 | 2.2 | 0.34 | 2.1 | 0.32 | 5.1 | 0.8 | < 1 | 0.8 | 23 | < 0.4 | 6.6 | 3.1
PT01C melano | 75.24 | 0.81 | 10.58 | 5.94 | 0.071 | 1.52 | 0.7 | 2.02 | 2.16 | 0.09 | 1.44 | 100.6 |  |  | 16 | 2 | 90 | 152 | 45 | 31 | 292 | 80 | 14 | 30 | 30 | 100 | 16 | 2 | < 5 | 139 | 13 | < 2 | < 0.5 | 0.2 | 3 | < 0.5 | 7.8 | 27.6 | 59.9 | 6.86 | 27 | 5.6 | 0.8 | 4.9 | 0.9 | 5 | 1 | 3.2 | 0.53 | 3.4 | 0.54 | 7.6 | 1 | < 1 | 0.9 | 13 | < 0.4 | 8.8 | 4
CZ03 | 60.58 | 0.922 | 16.8 | 7.72 | 0.064 | 2.92 | 1.14 | 2.27 | 3.62 | 0.11 | 2.43 | 98.58 |  |  | 17 | < 1 | 124 | 675 | 199 | 33 | 222 | 110 | 20 | 50 | 40 | 120 | 24 | 1 | < 5 | 177 | 14 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 15.5 | 44.8 | 94.2 | 11.1 | 42.3 | 8.3 | 1.36 | 6.8 | 1 | 5.8 | 1.1 | 3.2 | 0.47 | 2.9 | 0.42 | 5.8 | 0.9 | 5 | 1.2 | 15 | < 0.4 | 15.1 | 4.2
CZ08 leuco | 70.77 | 0.293 | 15.57 | 2.13 | 0.029 | 0.8 | 1.22 | 3 | 5.66 | 0.22 | 1.17 | 100.9 |  |  | 6 | 1 | 31 | 669 | 140 | 14 | 101 | 20 | 4 | < 20 | < 10 | 50 | 17 | 2 | < 5 | 208 | 8 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 5.9 | 19 | 39.8 | 4.87 | 18.9 | 4.3 | 0.88 | 3.3 | 0.5 | 2.7 | 0.5 | 1.3 | 0.2 | 1.4 | 0.24 | 2.7 | 0.6 | < 1 | 1.3 | 29 | < 0.4 | 9 | 3.2
CZ08 melano | 67.32 | 0.489 | 15.07 | 3.58 | 0.046 | 1.34 | 1.36 | 2.63 | 4.3 | 0.27 | 1.51 | 97.91 |  |  | 9 | 2 | 55 | 429 | 110 | 19 | 151 | 40 | 7 | < 20 | < 10 | 70 | 21 | 2 | < 5 | 202 | 10 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 7.8 | 25.5 | 54.2 | 6.81 | 25.7 | 5.7 | 0.63 | 4.8 | 0.7 | 3.4 | 0.6 | 1.7 | 0.25 | 1.5 | 0.26 | 4 | 0.8 | 2 | 1.3 | 22 | < 0.4 | 13.7 | 4.5
CZ13 | 62.4 | 0.908 | 14.56 | 8.29 | 0.111 | 2.97 | 2.58 | 2.86 | 2.65 | 0.11 | 0.94 | 98.38 |  |  | 19 | 1 | 127 | 853 | 244 | 37 | 270 | 120 | 22 | 50 | 80 | 80 | 15 | 1 | < 5 | 100 | 11 | < 2 | < 0.5 | < 0.2 | 2 | < 0.5 | 4.6 | 28.2 | 55.5 | 6.6 | 25.7 | 4.9 | 1.43 | 5.5 | 1 | 6.4 | 1.2 | 3.8 | 0.58 | 3.7 | 0.6 | 6.5 | 1 | 4 | 0.8 | 15 | < 0.4 | 8 | 1.2
L10A leuco | 66.07 | 0.734 | 16.14 | 5.59 | 0.054 | 1.86 | 1.05 | 1.93 | 2.72 | 0.06 | 2.25 | 98.45 |  |  | 17 | 2 | 101 | 929 | 216 | 25 | 140 | 80 | 7 | 30 | 20 | 60 | 23 | 1 | < 5 | 104 | 11 | < 2 | < 0.5 | < 0.2 | 2 | < 0.5 | 4.3 | 37.4 | 74.9 | 8.87 | 34.3 | 6.7 | 1.25 | 5.1 | 0.7 | 4.3 | 0.9 | 2.9 | 0.49 | 3.7 | 0.61 | 3.2 | 0.9 | 3 | 0.6 | 18 | < 0.4 | 14.3 | 4.1
L10A melano | 49.19 | 1.567 | 24.85 | 11.06 | 0.111 | 4.06 | 0.28 | 0.39 | 4.02 | 0.05 | 4.13 | 99.71 |  |  | 28 | 4 | 219 | 491 | 50 | 15 | 217 | 200 | 15 | 80 | 40 | 140 | 44 | 2 | < 5 | 200 | 27 | < 2 | < 0.5 | < 0.2 | 4 | < 0.5 | 9.1 | 43.3 | 85.5 | 10.2 | 39.8 | 7.1 | 0.6 | 5.3 | 0.7 | 3.3 | 0.5 | 1.4 | 0.18 | 1.1 | 0.17 | 5.7 | 1.8 | < 1 | 1.2 | 6 | < 0.4 | 16.3 | 4.4
L14c | 62.14 | 0.846 | 16.84 | 5.92 | 0.052 | 2.25 | 3.79 | 2.87 | 2.9 | 0.29 | 0.99 | 98.87 |  |  | 14 | 3 | 113 | 438 | 180 | 14 | 206 | 40 | 13 | < 20 | < 10 | 70 | 26 | 1 | < 5 | 135 | 19 | < 2 | < 0.5 | < 0.2 | 2 | < 0.5 | 5.7 | 18.9 | 39.9 | 4.92 | 19.6 | 4.1 | 1.12 | 3.8 | 0.6 | 3 | 0.5 | 1.2 | 0.16 | 1 | 0.15 | 5.2 | 1.8 | 2 | 0.9 | 16 | < 0.4 | 4.2 | 1.3
L14g | 63.27 | 1.443 | 19.98 | 10.26 | 0.048 | 1.54 | 0.28 | 0.43 | 2.35 | 0.05 | 0.69 | 100.3 |  |  | 19 | 3 | 157 | 626 | 78 | 58 | 458 | 120 | 25 | 30 | 30 | 110 | 30 | 2 | < 5 | 78 | 22 | < 2 | < 0.5 | < 0.2 | 1 | < 0.5 | 2 | 58.7 | 124 | 13.9 | 52.5 | 10 | 1.24 | 8.7 | 1.5 | 9.4 | 1.8 | 5.4 | 0.78 | 5 | 0.76 | 10.3 | 1.4 | < 1 | 0.5 | 18 | < 0.4 | 20.5 | 2.6
N34 | 65.41 | 0.826 | 16.29 | 6.17 | 0.068 | 2.43 | 1.02 | 2.89 | 3.8 | 0.16 | 1.56 | 100.6 |  |  | 15 | 2 | 108 | 565 | 183 | 28 | 208 | 100 | 14 | 40 | 10 | 90 | 24 | 1 | 29 | 151 | 12 | < 2 | < 0.5 | < 0.2 | 3 | < 0.5 | 12.3 | 42.9 | 85 | 9.98 | 37.7 | 7.2 | 1.13 | 5.7 | 0.9 | 5.2 | 1 | 2.9 | 0.42 | 2.8 | 0.44 | 5.2 | 1 | 3 | 0.7 | 16 | 0.5 | 13.1 | 3.6
K5538 leuco | 71.99 | 0.335 | 14.44 | 2.22 | 0.029 | 0.74 | 1.01 | 2.61 | 4.83 | 0.2 | 1.24 | 99.65 |  |  | 5 | 2 | 37 | 659 | 206 | 16 | 92 | 40 | 6 | < 20 | < 10 | 40 | 19 | 2 | < 5 | 118 | 6 | < 2 | < 0.5 | < 0.2 | 4 | < 0.5 | 5.6 | 13.5 | 28 | 3.37 | 12.6 | 2.8 | 0.89 | 2.7 | 0.5 | 2.9 | 0.6 | 1.6 | 0.24 | 1.5 | 0.24 | 2.4 | 1.2 | 1 | 0.6 | 27 | < 0.4 | 4 | 3.6
K5538 melano | 67.58 | 0.992 | 13.32 | 6.51 | 0.067 | 2.13 | 1.41 | 2.46 | 2.87 | 0.22 | 1.55 | 99.1 |  |  | 15 | 1 | 113 | 448 | 176 | 29 | 238 | 100 | 15 | 30 | < 10 | 110 | 21 | 1 | < 5 | 138 | 12 | < 2 | < 0.5 | < 0.2 | 6 | < 0.5 | 10 | 28.3 | 58.6 | 7.33 | 29 | 6 | 0.88 | 5.3 | 0.9 | 5.1 | 1 | 3 | 0.46 | 3 | 0.47 | 5.6 | 1.5 | 2 | 0.8 | 12 | < 0.4 | 8.1 | 4.4
K5533 leuco | 62.82 | 0.618 | 19.71 | 4.07 | 0.033 | 1.86 | 2.51 | 5.3 | 1.99 | 0.12 | 1.3 | 100.3 |  |  | 9 | 1 | 72 | 506 | 554 | 9 | 157 | 60 | 12 | 30 | < 10 | 50 | 23 | 1 | < 5 | 61 | 9 | < 2 | < 0.5 | < 0.2 | 9 | < 0.5 | 4 | 11 | 22.4 | 2.65 | 10.1 | 1.9 | 1.97 | 1.9 | 0.3 | 1.7 | 0.3 | 0.9 | 0.13 | 0.8 | 0.13 | 3.8 | 0.8 | 3 | 0.4 | 25 | < 0.4 | 2.5 | 1.6
K5533 melano | 52.69 | 1.216 | 21.19 | 9.68 | 0.09 | 4.77 | 1.3 | 2.62 | 4.05 | 0.14 | 2.76 | 100.5 |  |  | 18 | 9 | 150 | 750 | 269 | 38 | 303 | 120 | 24 | 60 | < 10 | 130 | 31 | 1 | < 5 | 140 | 17 | < 2 | < 0.5 | < 0.2 | 4 | < 0.5 | 10 | 20.5 | 43.9 | 5.49 | 21.7 | 4.9 | 1.21 | 5.3 | 0.9 | 6 | 1.2 | 3.8 | 0.57 | 3.5 | 0.54 | 7.3 | 1.4 | 2 | 0.8 | 13 | < 0.4 | 5.6 | 3.6
Analyte Symbol |  | Ti | Al | Fe | Mn | Mg | Ca | Na | K | P |  |  | B | Li | Sc | Be | V | Ba | Sr | Y | Zr |  | Co |  | Cu |  |  |  |  | Rb | Nb | Mo |  |  |  |  | Cs | La | Ce | Pr | Nd | Sm | Eu | Gd | Tb | Dy | Ho | Er | Tm | Yb | Lu | Hf | Ta | W |  | Pb |  | Th | U
Unit Symbol |  | % | % | % | % | % | % | % | % | % |  |  | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm |  | ppm |  | ppm |  |  |  |  | ppm | ppm | ppm |  |  |  |  | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm | ppm |  | ppm |  | ppm | ppm
Detection Limit |  | 0.0002 | 0.05 | 0.05 | 0.005 | 0.01 | 0.01 | 0.05 | 0.05 | 0.002 |  |  | 10 | 1 | 0.4 | 0.03 | 1 | 1 | 0.5 | 0.01 | 0.5 |  | 0.2 |  | 2 |  |  |  |  | 0.5 | 0.2 | 0.1 |  |  |  |  | 0.01 | 0.1 | 0.1 | 0.01 | 0.04 | 0.006 | 0.004 | 0.004 | 0.001 | 0.003 | 0.003 | 0.002 | 0.001 | 0.001 | 0.001 | 0.008 | 0.005 | 0.2 |  | 0.2 |  | 0.004 | 0.01
PT22A |  | 0.488 | 8.78 | 3.82 | 0.048 | 1.07 | 1.12 | 1.87 | 3.3 | 0.064 |  |  | 20 | 52 | 12.6 | 2.85 | 80 | 1050 | 270 | 25.4 | 252 |  | 10.4 |  | 16 |  |  |  |  | 141 | 15.65 | 0.1 |  |  |  |  | 5.27 | 41.5 | 83.8 | 9.06 | 34 | 6.54 | 1.7 | 5.27 | 0.81 | 4.57 | 0.88 | 2.62 | 0.385 | 2.55 | 0.393 | 6.43 | 1.09 | 1.6 |  | 33.6 |  | 14.9 | 2.66
PT22B |  | 0.732 | 10.3 | 6.46 | 0.076 | 1.96 | 0.65 | 1.1 | 3.75 | 0.039 |  |  | 40 | 135 | 20.9 | 3.4 | 144 | 505 | 162 | 36.2 | 279 |  | 22.7 |  | 17 |  |  |  |  | 261 | 23.2 | 0.1 |  |  |  |  | 12.3 | 68.6 | 137 | 15.05 | 56.3 | 10.5 | 1.47 | 8.14 | 1.2 | 6.56 | 1.25 | 3.63 | 0.514 | 3.41 | 0.506 | 7.13 | 1.46 | 2.4 |  | 17.3 |  | 23.8 | 4.23
PT03B leuco |  | 0.37 | 9.45 | 3.05 | 0.027 | 1.02 | 0.71 | 1.83 | 4.49 | 0.1 |  |  | 20 | 71 | 12.7 | 1.2 | 83 | 1090 | 181 | 20 | 123.5 |  | 10.4 |  | 6 |  |  |  |  | 166 | 14.75 | 0.2 |  |  |  |  | 5.11 | 22.7 | 46.2 | 5.24 | 20.7 | 4.44 | 1.33 | 3.97 | 0.636 | 3.71 | 0.703 | 1.99 | 0.276 | 1.745 | 0.257 | 3.28 | 1.1 | 1.2 |  | 30.3 |  | 6.66 | 2.71
PT03B melano |  | 0.625 | 10.85 | 5.32 | 0.049 | 1.88 | 0.29 | 0.94 | 4.87 | 0.061 |  |  | 20 | 117 | 22.3 | 1.5 | 148 | 930 | 112.5 | 27.1 | 227 |  | 17 |  | 5 |  |  |  |  | 228 | 25.5 | 0.3 |  |  |  |  | 8.48 | 48.1 | 99.7 | 11.15 | 43.5 | 8.8 | 1.19 | 6.83 | 0.98 | 5.23 | 0.938 | 2.65 | 0.369 | 2.46 | 0.366 | 6.06 | 1.85 | 2.4 |  | 21.7 |  | 16.6 | 5.76
PT01C leuco |  | 0.414 | 8.35 | 3.59 | 0.046 | 0.68 | 1.14 | 2.97 | 1.61 | 0.061 |  |  | 20 | 144 | 11.1 | 2.25 | 91 | 162 | 90.9 | 21.7 | 190 |  | 16.2 |  | 21 |  |  |  |  | 111 | 9.52 | 0.3 |  |  |  |  | 5.6 | 24.1 | 55.3 | 5.89 | 23.5 | 5.02 | 1.205 | 4.36 | 0.674 | 3.99 | 0.778 | 2.29 | 0.337 | 2.27 | 0.347 | 4.91 | 0.748 | 0.7 |  | 22.5 |  | 7.29 | 3.08
PT01C melano |  | 0.495 | 5.71 | 4.05 | 0.057 | 0.88 | 0.54 | 1.52 | 1.83 | 0.04 |  |  | 20 | 165 | 16.45 | 1.39 | 99 | 152 | 42.4 | 27.9 | 256 |  | 13.4 |  | 23 |  |  |  |  | 143.5 | 14.35 | 0.3 |  |  |  |  | 7.54 | 27.5 | 62.1 | 6.68 | 26.4 | 5.61 | 0.753 | 5.16 | 0.811 | 4.76 | 0.978 | 3.05 | 0.473 | 3.32 | 0.507 | 6.46 | 0.934 | 0.8 |  | 12.4 |  | 8.5 | 3.82
CZ03 |  | 0.592 | 9.66 | 5.46 | 0.051 | 1.77 | 0.83 | 1.89 | 3.41 | 0.045 |  |  | 20 | 119 | 17.95 | 0.77 | 135 | 727 | 203 | 43.5 | 249 |  | 19.4 |  | 50 |  |  |  |  | 209 | 16.75 | 1.6 |  |  |  |  | 16.4 | 52.5 | 108.5 | 12.05 | 46.2 | 9.22 | 1.475 | 7.81 | 1.24 | 7.3 | 1.475 | 4.37 | 0.623 | 4.1 | 0.604 | 6.47 | 0.881 | 1.1 |  | 19.2 |  | 17.5 | 4.26
CZ08 leuco |  | 0.1865 | 8.24 | 1.52 | 0.022 | 0.46 | 0.96 | 2.23 | 4.62 | 0.1 |  |  | 10 | 27 | 5.91 | 1.13 | 34 | 646 | 136 | 14.5 | 110.5 |  | 4.4 |  | 2 |  |  |  |  | 214 | 7.97 | 0.1 |  |  |  |  | 5.49 | 19.1 | 41.3 | 4.74 | 18.8 | 4.25 | 0.825 | 3.53 | 0.525 | 2.75 | 0.495 | 1.41 | 0.205 | 1.405 | 0.215 | 2.97 | 0.578 | 0.9 |  | 28.1 |  | 8.78 | 3.06
CZ08 melano |  | 0.321 | 8.36 | 2.53 | 0.036 | 0.79 | 1.04 | 2.12 | 3.83 | 0.116 |  |  | 20 | 45 | 9.93 | 1.58 | 60 | 450 | 111.5 | 20.6 | 195 |  | 7.4 |  | 2 |  |  |  |  | 227 | 13.3 | 0.2 |  |  |  |  | 8.17 | 30.6 | 66.3 | 7.65 | 30 | 6.74 | 0.73 | 5.51 | 0.793 | 4.01 | 0.704 | 1.99 | 0.281 | 1.945 | 0.305 | 5.22 | 0.846 | 1.5 |  | 21.2 |  | 15.35 | 4.46
CZ13 |  | 0.574 | 8.32 | 5.62 | 0.086 | 1.77 | 1.92 | 2.47 | 2.47 | 0.047 |  |  | 20 | 35 | 20 | 1.06 | 138 | 910 | 262 | 41 | 229 |  | 22.1 |  | 107 |  |  |  |  | 118.5 | 15 | 1.1 |  |  |  |  | 4.74 | 30.8 | 61.7 | 6.76 | 26.4 | 5.5 | 1.58 | 6.2 | 1.1 | 6.91 | 1.435 | 4.27 | 0.616 | 4.16 | 0.635 | 5.61 | 0.976 | 1.8 |  | 19.8 |  | 8.01 | 1.08
L10A leuco |  | 0.488 | 9.28 | 3.9 | 0.042 | 1.14 | 0.76 | 1.63 | 2.59 | 0.031 |  |  | 20 | 38 | 18.05 | 1.76 | 110 | 960 | 227 | 37.5 | 90.4 |  | 7.4 |  | 24 |  |  |  |  | 122.5 | 14.1 | 0.5 |  |  |  |  | 4.58 | 44.7 | 90.8 | 10.15 | 39.1 | 7.94 | 1.38 | 6.6 | 1.005 | 6.01 | 1.335 | 4.58 | 0.755 | 5.46 | 0.882 | 2.31 | 0.944 | 0.6 |  | 19.9 |  | 17.15 | 4.42
L10A melano |  | 0.998 | 13.8 | 7.55 | 0.088 | 2.44 | 0.2 | 0.32 | 3.62 | 0.017 |  |  | 30 | 69 | 29.8 | 4.12 | 235 | 525 | 47.6 | 12.25 | 87.9 |  | 14.9 |  | 44 |  |  |  |  | 216 | 28.2 | 0.8 |  |  |  |  | 8.96 | 45.8 | 91.7 | 10.3 | 40 | 7.54 | 0.612 | 5.53 | 0.691 | 3.08 | 0.471 | 1.06 | 0.121 | 0.737 | 0.111 | 2.29 | 1.65 | 1 |  | 6.6 |  | 17.95 | 3.77
L14c |  | 0.531 | 9.48 | 4.23 | 0.041 | 1.37 | 3.05 | 2.41 | 2.4 | 0.125 |  |  | 10 | 48 | 15.2 | 2.68 | 126 | 461 | 187 | 16.55 | 33.1 |  | 12.1 |  | 7 |  |  |  |  | 152 | 22.6 | 0.2 |  |  |  |  | 5.81 | 20.8 | 43.9 | 5.13 | 20.9 | 4.7 | 1.22 | 4.18 | 0.605 | 3.2 | 0.548 | 1.39 | 0.174 | 1.12 | 0.168 | 0.94 | 1.725 | 0.8 |  | 15.9 |  | 4.49 | 0.97
L14g |  | 0.883 | 11.3 | 6.78 | 0.036 | 0.93 | 0.22 | 0.37 | 1.98 | 0.02 |  |  | 20 | 34 | 20.3 | 3.02 | 169 | 632 | 80.4 | 60.2 | 139 |  | 24.6 |  | 28 |  |  |  |  | 89 | 26.3 | 0.3 |  |  |  |  | 2.09 | 67.8 | 138.5 | 15.5 | 56.9 | 10.9 | 1.46 | 10.3 | 1.725 | 10.4 | 2.1 | 6.2 | 0.868 | 5.73 | 0.827 | 3.57 | 1.375 | <0.2 |  | 19.8 |  | 22.6 | 2.24
N34 |  | 0.516 | 9 | 4.47 | 0.055 | 1.47 | 0.83 | 2.36 | 3.13 | 0.068 |  |  | 30 | 82 | 15.65 | 1.81 | 119 | 556 | 184 | 31.3 | 219 |  | 13.2 |  | 12 |  |  |  |  | 164 | 14.8 | 0.6 |  |  |  |  | 12.2 | 45.6 | 92.2 | 10.25 | 38.7 | 7.55 | 1.27 | 6.15 | 0.921 | 5.39 | 1.075 | 3.26 | 0.473 | 3.16 | 0.478 | 5.56 | 0.909 | 1.4 |  | 16.1 |  | 13.1 | 3.2
K5538 leuco |  | 0.212 | 7.89 | 1.56 | 0.023 | 0.45 | 0.83 | 2.15 | 3.89 | 0.088 |  |  | 30 | 37 | 5.57 | 1.66 | 40 | 635 | 209 | 16.6 | 83.9 |  | 5.3 |  | 7 |  |  |  |  | 118.5 | 8.28 | 0.2 |  |  |  |  | 5.08 | 13.3 | 29.2 | 3.31 | 13.05 | 2.88 | 0.854 | 2.7 | 0.469 | 2.85 | 0.562 | 1.66 | 0.239 | 1.55 | 0.233 | 2.27 | 1.1 | 1.1 |  | 24.7 |  | 3.68 | 2.93
K5538 melano |  | 0.62 | 7.48 | 4.41 | 0.052 | 1.26 | 1.12 | 2.07 | 2.39 | 0.1 |  |  | 30 | 65 | 15.55 | 1.16 | 122 | 455 | 183 | 34.6 | 234 |  | 14.8 |  | 8 |  |  |  |  | 149 | 16.65 | 0.3 |  |  |  |  | 10 | 26.2 | 55.6 | 6.39 | 25.8 | 5.56 | 0.913 | 5.33 | 0.891 | 5.65 | 1.19 | 3.66 | 0.541 | 3.63 | 0.548 | 5.86 | 1.335 | 1.7 |  | 13.4 |  | 6.87 | 3.79
K5533 leuco |  | 0.36 | 10.7 | 2.72 | 0.026 | 1.06 | 2.05 | 4.38 | 1.56 | 0.055 |  |  | 30 | 35 | 8.8 | 1.6 | 77 | 504 | 569 | 11.05 | 146 |  | 10.6 |  | <2 |  |  |  |  | 62.2 | 9.84 | 0.2 |  |  |  |  | 3.66 | 11.4 | 24 | 2.7 | 10.85 | 2.3 | 2.12 | 2.1 | 0.326 | 1.86 | 0.377 | 1.12 | 0.162 | 1.06 | 0.166 | 3.79 | 0.702 | 0.9 |  | 24.6 |  | 2.51 | 1.51
K5533 melano |  | 0.747 | 11.8 | 6.62 | 0.073 | 2.95 | 1.02 | 2.21 | 3.4 | 0.061 |  |  | 30 | 121 | 19.8 | 8.6 | 168 | 740 | 279 | 41.4 | 319 |  | 24.4 |  | <2 |  |  |  |  | 161.5 | 18.4 | 0.2 |  |  |  |  | 10.25 | 26.2 | 55.5 | 6.52 | 26.7 | 6.11 | 1.42 | 6.35 | 1.09 | 6.71 | 1.385 | 4.07 | 0.587 | 3.88 | 0.581 | 8.26 | 1.36 | 1.5 |  | 12.9 |  | 6.74 | 3.68