## NOTES
Related to Chapter 2 "Methods" of E.O.C. thesis "Mobilisation of critical elements during partial melting and retrogression"
Appendix B.1 - Quality check of Scanning Electron Microscope (SEM) and Electron Probe Micro Analyser (EPMA) data, and metadata for EPMA analysis at the University of Utrecht
1 | Quality check of SEM standard (GEO MkII standard).
2 | Chart showing quality check of SEM standard (GEO MkII standard) for SiO2, Al2O3, FeO, MgO, CaO.
3 | Chart showing quality check of SEM standard (GEO MkII standard) for MnO.
4 | Comparison between SEM and EPMA data for sample L14G.
5 | Chart showing the comparison between SEM and EPMA data for sample L14G.
6 | Data quality check of standard (R10) during EPMA analysis at the University of Utrecht.
7 | Metadata for EPMA analysis at the University of Utrecht

## 1
Quality check of SEM standard (GEO MkII standard).
| GEO MkII standard |  |  |  |  | Measured GEO MkII standard during the analysis of each sample. Green cells indicate values between maximum and minimum values of the standard.
| Preferred Values | Standard Deviation | Minimum | Maximum |  | Sample | L10 |  |  |  |  | L14G |  | L14C |  |  |  |  | K5534 | [6 empty] | N34 |  | K5538 |  | K5533
[6 empty] | StdPoint | AlmStd1 | AlmStd2 | AlmStd3 | AlmStd4 | AlmStd5 | AlmStd1 | AlmStd2 | AlmStd1 | AlmStd2 | AlmStd3 | AlmStd4 | AlmStd5 | AlmStd1 | AlmStd2 | AlmStd3 | AlmStd4 | AlmStd5 | AlmStd6 | AlmStd7 | AlmStd1 | AlmStd2 | AlmStd1 | AlmStd2 | AlmStd1 | AlmStd2 | AlmStd3 | AlmStd4 | AlmStd5 | AlmStd6 | AlmStd7 | AlmStd8 | AlmStd9 | AlmStd10 | Comments
SiO2 | 37.17 | 0.17 | 36.76 | 37.46 |  | SiO2 | 37.78 | 37.79 | 37.68 | 36.17 | 37.62 | 36.37 | 37.49 | 37.88 | 37.03 | 37.86 | 36.89 | 37.9 | 37.07 | 36.97 | 36.97 | 37.17 | 37.34 | 37.33 | 37.12 | 37.55 | 37.27 | 37.09 | 37.35 | 37.92 | 37.86 | 37.57 | 37 | 37.16 | 36.64 | 37.13 | 37.18 | 36.26 | 37.33
Al2O3 | 21.01 | 0.08 | 20.75 | 21.19 |  | Al2O3 | 21.48 | 21.54 | 21.45 | 20.77 | 21.46 | 20.9 | 21.3 | 21.7 | 21.13 | 21.87 | 21.24 | 21.78 | 21.3 | 21.49 | 21.36 | 21.57 | 21.37 | 21.64 | 21.56 | 21.41 | 21.67 | 21.22 | 21.61 | 21.48 | 21.71 | 21.4 | 21.11 | 21.3 | 20.95 | 21.31 | 21.28 | 20.61 | 21.37
TiO2 | 0.07 | 0.03 | 0 | 0.12 |  | TiO2 | 0 | 0.11 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.12 | 0 | 0 | 0 | 0 | 0.17 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.11 | 0.03 | 0.1 | 0.06 | 0.1 | 0.04 |  | 0.12 | 0.08 |  | TiO2 is between min and max values for Std
FeO | 35.13 | 0.23 | 34.72 | 35.63 |  | FeO | 36.26 | 36.15 | 35.96 | 34.73 | 35.95 | 34.9 | 35.6 | 36.55 | 35.64 | 36.31 | 35.44 | 36.21 | 36.22 | 36.49 | 36.46 | 36.37 | 36.4 | 36.48 | 36.77 | 36.68 | 35.97 | 35.65 | 35.71 | 36.05 | 36.6 | 36.49 | 36.52 | 36.65 | 35.45 | 36.05 | 35.7 | 35.33 | 36.23
MnO | 0.2 | 0.03 | 0.14 | 0.26 |  | MnO | 0.27 | 0.27 | 0.26 | 0.21 | 0.23 | 0.2 | 0.2 | 0.18 | 0.19 | 0.2 | 0.14 | 0.26 | 0.24 |  | 0.27 | 0.2 | 0.19 | 0.23 | 0.2 | 0.26 | 0.22 |  | 0.39 | 0.27 | 0.17 | 0.25 | 0.17 | 0.11 | 0.2 | 0.22 | 0.27 | 0.25 | 0.19
MgO | 2.35 | 0.04 | 2.24 | 2.43 |  | MgO | 2.39 | 2.28 | 2.31 | 2.25 | 2.31 | 2.28 | 2.24 | 2.38 | 2.35 | 2.39 | 2.29 | 2.41 | 2.24 | 2.28 | 2.27 | 2.23 | 2.22 | 2.26 | 2.29 | 2.23 | 2.21 | 2.21 | 2.38 | 2.29 | 2.18 | 2.45 | 2.31 | 2.36 | 2.3 | 2.37 | 2.39 | 2.46 | 2.18
CaO | 3.94 | 0.2 | 3.54 | 4.29 |  | CaO | 4.23 | 4.12 | 4.12 | 4.04 | 4.16 | 3.8 | 4.1 | 3.89 | 3.81 | 3.99 | 4.03 | 4.05 | 4.16 | 4.17 | 4.01 | 4.23 | 4.02 | 4.1 | 3.99 | 3.9 | 4.28 | 4.47 | 4.24 | 4.16 | 3.82 | 3.69 | 3.48 | 3.84 | 3.95 | 3.71 | 3.82 | 3.9 | 3.95
Cr2O3 | 0.02 | 0.02 | 0 | 0.07 |  | Total | 102.41 | 102.26 | 101.78 | 98.17 | 101.73 | 98.45 | 100.93 | 102.58 | 100.15 | 102.74 | 100.03 | 102.61 | 101.23 | 101.4 | 101.51 | 101.77 | 101.54 | 102.04 | 101.93 | 102.03 | 101.62 | 100.64 | 101.68 | 102.28 | 102.37 | 101.95 | 100.65 | 101.52 | 99.53 | 100.79 | 100.76 | 98.89 | 101.25
Fe2O3 | 0.14 | 0.14 | 0 | 0.52
Analysis/Preferred values. Green cells indicate values are within 10% of the preffered value.
[7 empty] | AlmStd1 | AlmStd2 | AlmStd3 | AlmStd4 | AlmStd5 | AlmStd1 | AlmStd2 | AlmStd1 | AlmStd2 | AlmStd3 | AlmStd4 | AlmStd5 | AlmStd1 | AlmStd2 | AlmStd3 | AlmStd4 | AlmStd5 | AlmStd6 | AlmStd7 | AlmStd1 | AlmStd2 | AlmStd1 | AlmStd2 | AlmStd1 | AlmStd2 | AlmStd3 | AlmStd4 | AlmStd5 | AlmStd6 | AlmStd7 | AlmStd8 | AlmStd9 | AlmStd10
[6 empty] | SiO2 | 1.0164 | 1.0167 | 1.0137 | 0.9731 | 1.0121 | 0.97848 | 1.0086 | 1.0191 | 0.99623 | 1.0186 | 0.99247 | 1.0196 | 0.99731 | 0.99462 | 0.99462 | 1 | 1.0046 | 1.0043 | 0.99865 | 1.0102 | 1.0027 | 0.99785 | 1.0048 | 1.0202 | 1.0186 | 1.0108 | 0.99543 | 0.99973 | 0.98574 | 0.99892 | 1.0003 | 0.97552 | 1.0043 | Mostly within 10% difference
[6 empty] | Al2O3 | 1.0224 | 1.0252 | 1.0209 | 0.98858 | 1.0214 | 0.99476 | 1.0138 | 1.0328 | 1.0057 | 1.0409 | 1.0109 | 1.0366 | 1.0138 | 1.0228 | 1.0167 | 1.0267 | 1.0171 | 1.03 | 1.0262 | 1.019 | 1.0314 | 1.01 | 1.0286 | 1.0224 | 1.0333 | 1.0186 | 1.0048 | 1.0138 | 0.99714 | 1.0143 | 1.0129 | 0.98096 | 1.0171
[6 empty] | TiO2 | 1.0276 | 1.0245 | 1.0191 | 0.98426 | 1.0188 | 0.98907 | 1.0089 | 1.0358 | 1.01 | 1.029 | 1.0044 | 1.0262 | 1.0265 | 1.0341 | 1.0333 | 1.0307 | 1.0316 | 1.0339 | 1.0421 | 1.0395 | 1.0194 | 1.0103 | 1.012 | 1.0217 | 1.0373 | 1.0341 | 1.035 | 1.0387 | 1.0047 | 1.0217 | 1.0117 | 1.0013 | 1.0268
FeO | 35.13 | 0.23 | 34.72 | 35.63 |  | MgO | 1.017 | 0.97021 | 0.98298 | 0.95745 | 0.98298 | 0.97021 | 0.95319 | 1.0128 | 1 | 1.017 | 0.97447 | 1.0255 | 0.95319 | 0.97021 | 0.96596 | 0.94894 | 0.94468 | 0.9617 | 0.97447 | 0.94894 | 0.94043 | 0.94043 | 1.0128 | 0.97447 | 0.92766 | 1.0426 | 0.98298 | 1.0043 | 0.97872 | 1.0085 | 1.017 | 1.0468 | 0.92766
Fe2O3 in FeO | 0.15555 | 0.15555 | 0 | 0.57777 |  | CaO | 1.0736 | 1.0457 | 1.0457 | 1.0254 | 1.0558 | 0.96447 | 1.0406 | 0.98731 | 0.96701 | 1.0127 | 1.0228 | 1.0279 | 1.0558 | 1.0584 | 1.0178 | 1.0736 | 1.0203 | 1.0406 | 1.0127 | 0.98985 | 1.0863 | 1.1345 | 1.0761 | 1.0558 | 0.96954 | 0.93655 | 0.88325 | 0.97462 | 1.0025 | 0.94162 | 0.96954 | 0.98985 | 1.0025
FeOTotal* | 35.2856 | 0.38555 | 34.72 | 36.2078 | *FeOTotal was used for data quality check
[6 empty] | Analysis/Maximum values. Green cells indicate values are within 10% of the preffered value. | [33 empty] | MnO results are sometimes closer to the preferred values of the standard and sometimes closer to the maximum value
[6 empty] | MnO | 1.0385 | 1.0385 | 1 | 0.80769 | 0.88462 | 0.76923 | 0.76923 | 0.69231 | 0.73077 | 0.76923 | 0.53846 | 1 | 0.92308 | 0 | 1.0385 | 0.76923 | 0.73077 | 0.88462 | 0.76923 | 1 | 0.84615 | 0 | 1.5 | 1.0385 | 0.65385 | 0.96154 | 0.65385 | 0.42308 | 0.76923 | 0.84615 | 1.0385 | 0.96154 | 0.73077
Analysis/Preferred values. Green cells indicate values are within 10% of the preffered value.
[6 empty] | MnO | 1.35 | 1.35 | 1.3 | 1.05 | 1.15 | 1 | 1 | 0.9 | 0.95 | 1 | 0.7 | 1.3 | 1.2 | 0 | 1.35 | 1 | 0.95 | 1.15 | 1 | 1.3 | 1.1 | 0 | 1.95 | 1.35 | 0.85 | 1.25 | 0.85 | 0.55 | 1 | 1.1 | 1.35 | 1.25 | 0.95

## 4
Comparison between SEM and EPMA data for sample L14G.
SEM and EPMA results for sample L14G. | [11 empty] | Comparison of SEM and EPMA results for sample L14G.
Cordierite | [11 empty] | Between 0.98-1.02 | Cordierite |  | Between 0.95-1.05 | Garnet |  | Between 0.95-1.05 | Biotite
Technique | Label | SiO2 | TiO2 | Al2O3 | FeO | MnO | MgO | CaO | Na2O | K2O | Total | SEM/EPMA | SEM | EPMA | SEM/EPMA | SEM | EPMA | SEM/EPMA | SEM | EPMA
SEM | Cd12 | 48.49 |  | 33.4 | 9.55 |  | 7.71 |  |  |  | 99.15 | 0.9906 | 48.5 | 48.96 | 0.99947 | 37.5 | 37.52 | 0.98787 | 34.2 | 34.62
EPMA | Cd_12 | 48.96 | 0.0245 | 33.0725 | 9.5237 | 0.0236 | 7.8602 | 0.0037 | 0.0808 | 0.0028 | 99.5518 | 1.01 | 33.4 | 33.07 | 1.0227 | 21.6 | 21.12 | 1.0317 | 20.5 | 19.87
SEM | Cd6 | 48.92 |  | 33.6 | 9.34 |  | 7.96 |  |  |  | 99.82 | 0 | 0 | 0.02 | 0 | 0 | 0.04 | 0.85106 | 1.2 | 1.41
EPMA | Cd_6 | 48.6749 | 0.0343 | 32.8103 | 9.3367 | 0.0219 | 8.0761 | 0.015 | 0.0602 | 0.0031 | 99.0325 | 1.0084 | 9.6 | 9.52 | 0.99974 | 38.2 | 38.21 | 0.97511 | 19.2 | 19.69
SEM | Cd5 | 48.38 |  | 33.3 | 9.17 |  | 8.09 |  |  |  | 98.94 | 0 | 0 | 0.02 | 1.0345 | 0.3 | 0.29 |  | 0 | 0
EPMA | Cd_5 | 48.2372 | 0.0255 | 32.7867 | 9.5733 | 0.02 | 7.8444 | 0.005 | 0.0782 | 0.0064 | 98.5767 | 0.97964 | 7.7 | 7.86 | 1.0511 | 3.5 | 3.33 | 0.96375 | 10.9 | 11.31
SEM | Cd4 | 48.31 |  | 33.5 | 9.07 |  | 8.11 |  |  |  | 98.99 |  | 0 | 0 | 1.0417 | 1 | 0.96 | 0 | 0 | 0.01
EPMA | Cd_4 | 48.7189 | 0.0485 | 32.7778 | 9.1064 | 0.0321 | 7.9194 |  | 0.0692 |  | 98.6723 | 0 | 0 | 0.08 | 0 | 0 | 0.01 | 0 | 0 | 0.1
SEM | Cd3 | 48.28 |  | 33.3 | 8 |  | 8.55 |  |  |  | 98.13 |  | 0 | 0 | 1.0059 | 102.1 | 101.5 | 1.0094 | 9.7 | 9.61
EPMA | Cd_3 | 48.8917 | 0.0172 | 33.0034 | 8.1085 | 0.0254 | 8.7056 | 0.0016 | 0.114 | 0.0165 | 98.8839 | 0.99598 | 99.2 | 99.6 | 0.99078 | 37.6 | 37.95 | 0.99141 | 95.8 | 96.63
SEM | Cd2 | 48.13 |  | 33.2 | 8.31 |  | 8.32 |  |  |  | 97.96 | 1.0047 | 48.9 | 48.67 | 1.0229 | 21.9 | 21.41 | 0.97686 | 34.2 | 35.01
EPMA | Cd_2 | 48.8218 | 0.0138 | 32.9324 | 8.4979 | -0.0015 | 8.1503 | 0.0212 | 0.2177 | 0.0144 | 98.668 | 1.0241 | 33.6 | 32.81 | 0 | 0 | 0.03 | 0.99591 | 19.5 | 19.58
SEM | Cd1 | 48.25 |  | 33.4 | 8.77 |  | 8.1 |  |  |  | 98.52 | 0 | 0 | 0.03 | 0.99029 | 36.7 | 37.06 | 0.93333 | 1.4 | 1.5
EPMA | Cd_1 | 49.327 | 0.0423 | 33.3175 | 8.5639 | 0.0141 | 8.5107 | -0.004 | 0.0877 | 0.0052 | 99.8644 | 0.99572 | 9.3 | 9.34 | 1.1538 | 0.3 | 0.26 | 0.981 | 19.1 | 19.47
[12 empty] | 0 | 0 | 0.02 | 1.0886 | 4.3 | 3.95 |  | 0 | 0
Garnet | [11 empty] | 0.9901 | 8 | 8.08 | 0.90909 | 0.9 | 0.99 | 0.92415 | 10.6 | 11.47
Technique | Label | SiO2 | TiO2 | Al2O3 | FeO | MnO | MgO | CaO | Na2O | K2O | Total | 0 | 0 | 0.02 | 0 | 0 | 0.01 | 0 | 0 | 0.03
SEM | Gt1_7_rim | 37.5 |  | 21.6 | 38.2 | 0.3 | 3.49 | 1 |  |  | 102.09 | 0 | 0 | 0.06 |  | 0 | 0 | 0 | 0 | 0.07
EPMA | Gt1_7_rim | 37.5234 | 0.0421 | 21.1214 | 38.205 | 0.2892 | 3.3284 | 0.9597 |  | 0.0084 | 101.496 |  | 0 | 0 | 1.0003 | 101.7 | 101.67 | 0.99894 | 9.4 | 9.41
SEM | Gt1_6_rim | 37.59 |  | 21.9 | 36.7 | 0.3 | 4.31 | 0.9 |  |  | 101.7 | 1.0081 | 99.8 | 99 | 0.97561 | 36.8 | 37.72 | 0.97659 | 94.3 | 96.56
EPMA | Gt1_6_rim | 37.9452 | 0.0312 | 21.4109 | 37.0603 | 0.2602 | 3.9482 | 0.9876 | 0.012 | -0.0011 | 101.6734 | 1.0033 | 48.4 | 48.24 | 1.006 | 21.7 | 21.57 | 1.0142 | 35.7 | 35.2
SEM | Gt1_4_near rim | 36.84 |  | 21.7 | 36.5 | 0.3 | 4.21 | 1 |  |  | 100.55 | 1.0156 | 33.3 | 32.79 | 0 | 0 | 0.04 | 0.88152 | 18.6 | 21.1
EPMA | Gt1_4_near_rim | 37.7233 | 0.0359 | 21.57 | 36.7941 | 0.2538 | 4.3205 | 1.0054 | 0.0047 | 0.002 | 101.7362 | 0 | 0 | 0.03 | 0.99212 | 36.5 | 36.79 | 1.3333 | 3.2 | 2.4
SEM | Gt1_1 | 37.38 |  | 21.8 | 36.4 | 0.3 | 4.47 | 0.9 |  |  | 101.25 | 0.96134 | 9.2 | 9.57 | 1.2 | 0.3 | 0.25 | 1.1061 | 19.8 | 17.9
EPMA | Gt1_1 | 37.8142 | 0.0473 | 21.3975 | 37.5015 | 0.2707 | 3.4439 | 0.9713 | 0.0182 | -0.001 | 101.4795 | 0 | 0 | 0.02 | 0.97222 | 4.2 | 4.32 |  | 0 | 0
[12 empty] | 1.0332 | 8.1 | 7.84 | 0.9901 | 1 | 1.01 | 1.0769 | 9.8 | 9.1
Biotite | [11 empty] | 0 | 0 | 0.01 |  | 0 | 0 |  | 0 | 0
Technique | Label | SiO2 | TiO2 | Al2O3 | FeO | MnO | MgO | CaO | Na2O | K2O | Total | 0 | 0 | 0.08 |  | 0 | 0 |  | 0 | 0
SEM | Bt9 | 34.24 | 1.22 | 20.5 | 19.2 |  | 10.9 |  |  | 9.71 | 95.77 | 0 | 0 | 0.01 | 0.98879 | 100.6 | 101.74 | 1 | 9.6 | 9.6
EPMA | Bt_9 | 34.616 | 1.4106 | 19.8702 | 19.6901 |  | 11.3088 | 0.0137 | 0.0964 | 9.6078 | 96.6296 | 1.003 | 98.9 | 98.6 | 0.98916 | 37.4 | 37.81 | 1.0136 | 96.6 | 95.3
SEM | Bt7 | 34.19 | 1.44 | 19.5 | 19.1 |  | 10.6 |  |  | 9.44 | 94.27 | 0.99138 | 48.3 | 48.72 | 1.0187 | 21.8 | 21.4 | 0.99291 | 35 | 35.25
EPMA | Bt_7 | 35.0135 | 1.4988 | 19.5766 | 19.4693 |  | 11.4689 | 0.032 | 0.0736 | 9.4144 | 96.5598 | 1.022 | 33.5 | 32.78 | 0 | 0 | 0.05 | 1.0084 | 18 | 17.85
SEM | Bt6 | 35.68 | 3.23 | 18.6 | 19.8 |  | 9.75 |  |  | 9.56 | 96.62 | 0 | 0 | 0.05 | 0.97067 | 36.4 | 37.5 | 1.0706 | 4.4 | 4.11
SEM | Bt6 | 35.19 | 2.35 | 21.1 | 17.9 |  | 9.11 |  |  | 9.62 | 95.27 | 0.9989 | 9.1 | 9.11 | 1.1111 | 0.3 | 0.27 | 1.001 | 19.6 | 19.58
SEM | Bt5 | 35.03 | 4.36 | 18 | 19.6 |  | 9.52 |  |  | 9.67 | 96.18 | 0 | 0 | 0.03 | 1.3081 | 4.5 | 3.44 |  | 0 | 0
EPMA | Bt_5 | 35.2501 | 4.1064 | 17.8454 | 19.5838 | 0.004 | 9.5631 | 0.0067 | 0.0872 | 9.6233 | 96.1114 | 1.0227 | 8.1 | 7.92 | 0.92784 | 0.9 | 0.97 | 0.99372 | 9.5 | 9.56
SEM | Bt4_3 | 34.58 | 4.34 | 18.2 | 18.4 |  | 9.9 |  |  | 9.51 | 94.93 |  | 0 | 0 | 0 | 0 | 0.02 | 0 | 0 | 0.01
EPMA | Bt_4_3 | 35.4008 | 4.3724 | 18.6748 | 18.6749 | 0.0199 | 9.9012 | 0.0174 | 0.1584 | 9.5046 | 96.7498 | 0 | 0 | 0.07 |  | 0 | 0 | 0 | 0 | 0.09
SEM | Bt4_2 | 33.94 | 3.36 | 20.7 | 19.1 |  | 10.1 |  |  | 9.62 | 96.82 |  | 0 | 0 | 0.99823 | 101.3 | 101.48 | 1.0083 | 9.7 | 9.62
EPMA | Bt_4_2 | 35.8523 | 3.9016 | 18.5407 | 18.3249 | 0.0018 | 10.9271 | 0.0008 | 0.1351 | 9.5199 | 97.2284 | 1.003 | 99 | 98.7 |  |  |  | 1.0009 | 96.2 | 96.11
SEM | Bt4 | 35.87 | 4.34 | 19.2 | 19 |  | 10.1 |  |  | 9.6 | 98.11 | 0.98793 | 48.3 | 48.89 |  |  |  | 0.9774 | 34.6 | 35.4
EPMA | Bt_4 | 36.1926 | 4.4234 | 18.3598 | 18.6877 |  | 10.3396 | 0.0067 | 0.1316 | 9.4121 | 97.5848 | 1.0091 | 33.3 | 33 |  |  |  | 0.97483 | 18.2 | 18.67
[12 empty] | 0 | 0 | 0.02 |  |  |  | 0.98398 | 4.3 | 4.37
[12 empty] | 0.98644 | 8 | 8.11 |  |  |  | 0.98554 | 18.4 | 18.67
[12 empty] | 0 | 0 | 0.03 |  |  |  | 0 | 0 | 0.02
[12 empty] | 0.98737 | 8.6 | 8.71 |  |  |  | 1 | 9.9 | 9.9
[13 empty] | 0 | 0 |  |  |  | 0 | 0 | 0.02
[12 empty] | 0 | 0 | 0.11 |  |  |  | 0 | 0 | 0.16
[12 empty] | 0 | 0 | 0.02 |  |  |  | 1 | 9.5 | 9.5
[12 empty] | 0.99191 | 98.1 | 98.9 |  |  |  | 0.98088 | 94.9 | 96.75
[12 empty] | 0.98525 | 48.1 | 48.82 |  |  |  | 0.94561 | 33.9 | 35.85
[12 empty] | 1.0082 | 33.2 | 32.93 |  |  |  | 1.1165 | 20.7 | 18.54
[12 empty] | 0 | 0 | 0.01 |  |  |  | 0.87179 | 3.4 | 3.9
[12 empty] | 0.97647 | 8.3 | 8.5 |  |  |  | 1.0426 | 19.1 | 18.32
[13 empty] | 0 | 0 |  |  |  |  | 0 | 0
[12 empty] | 1.0184 | 8.3 | 8.15 |  |  |  | 0.92406 | 10.1 | 10.93
[12 empty] | 0 | 0 | 0.02 |  |  |  |  | 0 | 0
[12 empty] | 0 | 0 | 0.22 |  |  |  | 0 | 0 | 0.14
[12 empty] | 0 | 0 | 0.01 |  |  |  | 1.0084 | 9.6 | 9.52
[12 empty] | 0.99291 | 98 | 98.7 |  |  |  | 0.99558 | 96.8 | 97.23
[12 empty] | 0.97912 | 48.3 | 49.33 |  |  |  | 0.99199 | 35.9 | 36.19
[12 empty] | 1.0024 | 33.4 | 33.32 |  |  |  | 1.0458 | 19.2 | 18.36
[12 empty] | 0 | 0 | 0.04 |  |  |  | 0.97285 | 4.3 | 4.42
[12 empty] | 1.028 | 8.8 | 8.56 |  |  |  | 1.0166 | 19 | 18.69
[12 empty] | 0 | 0 | 0.01 |  |  |  |  | 0 | 0
[12 empty] | 0.95182 | 8.1 | 8.51 |  |  |  | 0.97679 | 10.1 | 10.34
[13 empty] | 0 | 0 |  |  |  | 0 | 0 | 0.01
[12 empty] | 0 | 0 | 0.09 |  |  |  | 0 | 0 | 0.13
[12 empty] | 0 | 0 | 0.01 |  |  |  | 1.0202 | 9.6 | 9.41
[12 empty] | 0.98599 | 98.5 | 99.9 |  |  |  | 1.0053 | 98.1 | 97.58

## 6
Data quality check of standard (R10) during EPMA analysis at the University of Utrecht.
SAMPLE | NUMBER | TAKEOFF | KILOVOLT | CURRENT | BEAMSIZE | LINE | Si WT% | Ti WT% | Al WT% | Cr WT% | Fe WT% | Mn WT% | Mg WT% | Ca WT% | Na WT% | K WT% | Zr WT% | Nb WT% | Ta WT% | O WT% | TOTAL | SiO2 | TiO2 | Al2O3 | Cr2O3 | FeO | MnO | MgO | CaO | Na2O | K2O | ZrO2 | Nb2O5 | Ta2O5 | O | TOTAL | Si AT% | Ti AT% | Al AT% | Cr AT% | Fe AT% | Mn AT% | Mg AT% | Ca AT% | Na AT% | K AT% | Zr AT% | Nb AT% | Ta AT% | O AT% | TOTAL | FORMULA | BASIS | Si FORMULA | Ti FORMULA | Al FORMULA | Cr FORMULA | Fe FORMULA | Mn FORMULA | Mg FORMULA | Ca FORMULA | Na FORMULA | K FORMULA | Zr FORMULA | Nb FORMULA | Ta FORMULA | O FORMULA | Si CDL99 | Ti CDL99 | Al CDL99 | Cr CDL99 | Fe CDL99 | Mn CDL99 | Mg CDL99 | Ca CDL99 | Na CDL99 | K CDL99 | Zr CDL99 | Nb CDL99 | Ta CDL99 | Si %ERR | Ti %ERR | Al %ERR | Cr %ERR | Fe %ERR | Mn %ERR | Mg %ERR | Ca %ERR | Na %ERR | K %ERR | Zr %ERR | Nb %ERR | Ta %ERR | X-POS | Y-POS | Z-POS | RELDIST | BEAMCURR | ABSCURR | Si ka (1,TAP) ONTIM | Ti ka (2,PETL) ONTIM | Al ka (1,TAP) ONTIM | Cr ka (2,PETL) ONTIM | Fe ka (5,LIFH) ONTIM | Mn ka (5,LIFH) ONTIM | Mg ka (4,TAPH) ONTIM | Ca ka (3,PETH) ONTIM | Na ka (4,TAPH) ONTIM | K ka (3,PETH) ONTIM | Zr la (3,PETH) ONTIM | Nb la (2,PETL) ONTIM | Ta la (5,LIFH) ONTIM | DATETIME | Si STD_NUM | Ti STD_NUM | Al STD_NUM | Cr STD_NUM | Fe STD_NUM | Mn STD_NUM | Mg STD_NUM | Ca STD_NUM | Na STD_NUM | K STD_NUM | Zr STD_NUM | Nb STD_NUM | Ta STD_NUM | Si STD_NAM | Ti STD_NAM | Al STD_NAM | Cr STD_NAM | Fe STD_NAM | Mn STD_NAM | Mg STD_NAM | Ca STD_NAM | Na STD_NAM | K STD_NAM | Zr STD_NAM | Nb STD_NAM | Ta STD_NAM | TOTAL-WT% | TOTAL-CATIONS
R10-1_20nA | 8 | 40 | 20 | 20 | 10 | 103 | -0.001 | 59.051 | -0.001 | 0.076 | 0.449 | 0.005 | -0.003 | 0.009 | 0 | 0 | 0.089 | 0.281 | 0.049 | 39.777 | 99.779 | -0.002 | 98.5 | -0.001 | 0.111 | 0.578 | 0.006 | -0.006 | 0.012 | 0 | 0 | 0.12 | 0.402 | 0.06 | 0 | 99.779 | -0.001 | 33.027 | -0.001 | 0.039 | 0.216 | 0.002 | -0.004 | 0.006 | 0 | 0 | 0.026 | 0.081 | 0.007 | 66.602 | 100 | 6 | O | 0 | 2.975 | 0 | 0.004 | 0.019 | 0 | 0 | 0.001 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.006 | 0.007 | 0.004 | 0.006 | 0.011 | 0.01 | 0.006 | 0.004 | 0 | 0 | 0.009 | 0.01 | 0.017 | -238.97 | 0.075 | -238.39 | 3.761 | 1.788 | 101.833 | -84.003 | 22.034 | 0 | 0 | 5.119 | 2.532 | 16.346 | 31.1701 | 3.0723 | 10.905 | 0 | 20.1 | 15.888 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45232.69 | 1 | 16 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | KTiPO5 (U) | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 99.779 | 3.0088
R10-1_20nA | 8 | 40 | 20 | 20 | 10 | 104 | 0.003 | 59.313 | 0.006 | 0.08 | 0.448 | 0.004 | 0 | 0.002 | 0 | 0 | 0.086 | 0.266 | 0.037 | 39.954 | 100.199 | 0.006 | 98.938 | 0.011 | 0.117 | 0.577 | 0.005 | 0 | 0.003 | 0 | 0 | 0.116 | 0.381 | 0.045 | 0 | 100.199 | 0.003 | 33.026 | 0.006 | 0.041 | 0.214 | 0.002 | 0 | 0.001 | 0 | 0 | 0.025 | 0.076 | 0.005 | 66.6 | 100 | 6 | O | 0 | 2.975 | 0.001 | 0.004 | 0.019 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.007 | 0 | 6 | 0.006 | 0.008 | 0.004 | 0.006 | 0.011 | 0.011 | 0.006 | 0.004 | 0 | 0 | 0.009 | 0.01 | 0.017 | 90.107 | 0.074 | 31.567 | 3.589 | 1.791 | 123.632 | 2954.24 | 92.887 | 0 | 0 | 5.346 | 2.669 | 21.739 | 31.195 | 3.0769 | 10.905 | 25.3236 | 20.1 | 15.97 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45232.7 | 1 | 16 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | KTiPO5 (U) | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 100.199 | 3.009
R10-1_20nA | 8 | 40 | 20 | 20 | 10 | 105 | 0.006 | 59.092 | 0 | 0.078 | 0.43 | -0.014 | -0.003 | 0.006 | 0 | 0 | 0.085 | 0.264 | 0.047 | 39.793 | 99.785 | 0.012 | 98.569 | 0 | 0.114 | 0.553 | -0.018 | -0.004 | 0.009 | 0 | 0 | 0.114 | 0.378 | 0.058 | 0 | 99.785 | 0.005 | 33.039 | 0 | 0.04 | 0.206 | -0.007 | -0.003 | 0.004 | 0 | 0 | 0.025 | 0.076 | 0.007 | 66.607 | 100 | 6 | O | 0 | 2.976 | 0 | 0.004 | 0.019 | -0.001 | 0 | 0 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.006 | 0.007 | 0.004 | 0.006 | 0.011 | 0.011 | 0.006 | 0.004 | 0 | 0 | 0.009 | 0.01 | 0.017 | 46.411 | 0.075 | -1371.9 | 3.679 | 1.857 | -36.316 | -109.23 | 29.01 | 0 | 0 | 5.488 | 2.686 | 16.912 | 31.2369 | 3.073 | 10.905 | 67.4158 | 20.1 | 15.95 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45232.7 | 1 | 16 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | KTiPO5 (U) | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 99.7852 | 3.0081
R10-3_20nA | 49 | 40 | 20 | 20 | 10 | 182 | 0.007 | 59.397 | 0.004 | 0.083 | 0.45 | 0.005 | -0.001 | 0.007 | 0 | 0 | 0.08 | 0.285 | 0.052 | 40.026 | 100.396 | 0.014 | 99.078 | 0.008 | 0.121 | 0.579 | 0.007 | -0.001 | 0.01 | 0 | 0 | 0.108 | 0.408 | 0.064 | 0 | 100.396 | 0.006 | 33.013 | 0.004 | 0.042 | 0.215 | 0.003 | -0.001 | 0.005 | 0 | 0 | 0.023 | 0.082 | 0.008 | 66.6 | 100 | 6 | O | 0.001 | 2.974 | 0 | 0.004 | 0.019 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.006 | 0.008 | 0.004 | 0.006 | 0.011 | 0.01 | 0.006 | 0.004 | 0 | 0 | 0.009 | 0.01 | 0.017 | 41.015 | 0.075 | 41.327 | 3.469 | 1.784 | 94.282 | -484.7 | 27.969 | 0 | 0 | 5.775 | 2.518 | 15.254 | 31.1552 | 3.148 | 10.884 | 0 | 19.97 | 15.75 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.83 | 1 | 16 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | KTiPO5 (U) | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 100.396 | 3.009
R10-3_20nA | 49 | 40 | 20 | 20 | 10 | 183 | 0.006 | 59.348 | 0.006 | 0.077 | 0.449 | -0.001 | 0.005 | 0.008 | 0 | 0 | 0.09 | 0.282 | 0.04 | 39.992 | 100.301 | 0.012 | 98.996 | 0.012 | 0.113 | 0.578 | -0.001 | 0.007 | 0.011 | 0 | 0 | 0.122 | 0.403 | 0.049 | 0 | 100.301 | 0.005 | 33.013 | 0.006 | 0.039 | 0.214 | -0.001 | 0.005 | 0.005 | 0 | 0 | 0.026 | 0.081 | 0.006 | 66.599 | 100 | 6 | O | 0 | 2.974 | 0.001 | 0.004 | 0.019 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.006 | 0.008 | 0.004 | 0.006 | 0.011 | 0.011 | 0.006 | 0.004 | 0 | 0 | 0.009 | 0.01 | 0.017 | 48.633 | 0.075 | 29.757 | 3.717 | 1.793 | -486.76 | 66.21 | 24.965 | 0 | 0 | 5.244 | 2.565 | 20.214 | 31.1771 | 3.1249 | 10.884 | 31.8312 | 19.97 | 15.85 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.84 | 1 | 16 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | KTiPO5 (U) | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 100.301 | 3.0092
R10-3_20nA | 49 | 40 | 20 | 20 | 10 | 184 | 0 | 59.394 | 0.003 | 0.081 | 0.437 | 0.003 | 0.006 | 0.006 | 0 | 0 | 0.084 | 0.276 | 0.052 | 40.012 | 100.356 | 0.001 | 99.073 | 0.006 | 0.118 | 0.562 | 0.005 | 0.01 | 0.009 | 0 | 0 | 0.113 | 0.395 | 0.064 | 0 | 100.356 | 0 | 33.023 | 0.003 | 0.041 | 0.208 | 0.002 | 0.006 | 0.004 | 0 | 0 | 0.025 | 0.079 | 0.008 | 66.6 | 100 | 6 | O | 0 | 2.975 | 0 | 0.004 | 0.019 | 0 | 0.001 | 0 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.006 | 0.007 | 0.004 | 0.006 | 0.011 | 0.011 | 0.006 | 0.004 | 0 | 0 | 0.009 | 0.01 | 0.017 | 560.034 | 0.075 | 55.862 | 3.584 | 1.827 | 144.525 | 50.49 | 30.542 | 0 | 0 | 5.596 | 2.59 | 15.379 | 31.2209 | 3.0848 | 10.8865 | 91.2154 | 19.98 | 15.83 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.85 | 1 | 16 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | KTiPO5 (U) | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 100.356 | 3.009
R10-test_20nA | 5 | 40 | 20 | 20 | 10 | 91 | 0.003 | 59.067 | 0.006 | 0.074 | 0.444 | 0.006 | -0.004 | 0.002 | 0 | 0 | 0.077 | 0.284 | 0.033 | 39.786 | 99.778 | 0.006 | 98.527 | 0.012 | 0.108 | 0.572 | 0.007 | -0.007 | 0.002 | 0 | 0 | 0.104 | 0.406 | 0.041 | 0 | 99.778 | 0.003 | 33.029 | 0.006 | 0.038 | 0.213 | 0.003 | -0.004 | 0.001 | 0 | 0 | 0.023 | 0.082 | 0.005 | 66.603 | 100 | 6 | O | 0 | 2.975 | 0.001 | 0.003 | 0.019 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.007 | 0 | 6 | 0.006 | 0.008 | 0.004 | 0.006 | 0.011 | 0.011 | 0.006 | 0.004 | 0 | 0 | 0.009 | 0.01 | 0.017 | 92.463 | 0.075 | 29.59 | 3.891 | 1.811 | 91.003 | -74.146 | 107.787 | 0 | 0 | 5.986 | 2.536 | 24.22 | 31.2271 | 3.0017 | 10.9285 | 0 | 19.99 | 15.89 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45232.38 | 1 | 16 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | KTiPO5 (U) | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 99.7777 | 3.0086
avg | [6 empty] | 0.003 | 59.238 | 0.004 | 0.078 | 0.444 | 0.001 | 0 | 0.006 | 0 | 0 | 0.084 | 0.277 | 0.044 | 39.906 | 100.085
stdev | [6 empty] | 0.003 | 0.16 | 0.003 | 0.003 | 0.008 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.005 | 0.008 | 0.008 | 0.115 | 0.291
rsd% | [6 empty] | 87.6 | 0.3 | 82.3 | 3.9 | 1.7 | 586.1 | -9167.9 | 47.5 | #DIV/0! | #DIV/0! | 5.5 | 3 | 17.3 | 0.3 | 0.3
published epma avg | [9 empty] | 0.071 | 0.425 | [5 empty] | 0.081 | 0.265 | 0.047
R10-1_50nA | 9 | 40 | 20 | 50 | 10 | 106 | 0.003 | 57.798 | 0.005 | 0.079 | 0.454 | 0.003 | -0.007 | 0.006 | 0 | 0 | 0.093 | 0.278 | 0.057 | 38.949 | 97.716 | 0.006 | 96.411 | 0.009 | 0.115 | 0.584 | 0.004 | -0.012 | 0.008 | 0 | 0 | 0.125 | 0.398 | 0.069 | 0 | 97.716 | 0.003 | 33.013 | 0.005 | 0.041 | 0.222 | 0.002 | -0.008 | 0.004 | 0 | 0 | 0.028 | 0.082 | 0.009 | 66.601 | 100 | 6 | O | 0 | 2.974 | 0 | 0.004 | 0.02 | 0 | -0.001 | 0 | 0 | 0 | 0.003 | 0.007 | 0.001 | 6 | 0.004 | 0.005 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.005 | 0.006 | 0.011 | 65.887 | 0.046 | 24.942 | 2.308 | 1.125 | 96.777 | -25.334 | 21.385 | 0 | 0 | 3.134 | 1.632 | 8.998 | 31.1394 | 3.402 | 10.9005 | 0 | 50.08 | 39.84 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45232.71 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 97.7162 | 3.0089
R10-1_50nA | 9 | 40 | 20 | 50 | 10 | 107 | 0.005 | 57.783 | 0.003 | 0.078 | 0.45 | 0 | -0.004 | 0.006 | 0 | 0 | 0.09 | 0.277 | 0.061 | 38.94 | 97.69 | 0.011 | 96.385 | 0.007 | 0.114 | 0.579 | 0 | -0.007 | 0.009 | 0 | 0 | 0.122 | 0.396 | 0.075 | 0 | 97.69 | 0.005 | 33.012 | 0.004 | 0.041 | 0.221 | 0 | -0.005 | 0.004 | 0 | 0 | 0.027 | 0.082 | 0.009 | 66.601 | 100 | 6 | O | 0 | 2.974 | 0 | 0.004 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.005 | 0.006 | 0.011 | 33.639 | 0.046 | 32.931 | 2.34 | 1.134 | 1881.7 | -44.92 | 19.41 | 0 | 0 | 3.222 | 1.623 | 8.305 | 31.1695 | 3.417 | 10.9005 | 33.6349 | 50.07 | 40.76 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45232.72 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 97.6902 | 3.0089
R10-1_50nA | 9 | 40 | 20 | 50 | 10 | 108 | 0.003 | 57.752 | 0.006 | 0.082 | 0.462 | -0.002 | -0.002 | 0.009 | 0 | 0 | 0.094 | 0.284 | 0.052 | 38.929 | 97.669 | 0.007 | 96.333 | 0.011 | 0.12 | 0.594 | -0.003 | -0.004 | 0.013 | 0 | 0 | 0.127 | 0.407 | 0.064 | 0 | 97.669 | 0.003 | 33.001 | 0.006 | 0.043 | 0.226 | -0.001 | -0.003 | 0.006 | 0 | 0 | 0.028 | 0.084 | 0.008 | 66.598 | 100 | 6 | O | 0 | 2.973 | 0.001 | 0.004 | 0.02 | 0 | 0 | 0.001 | 0 | 0 | 0.003 | 0.008 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.005 | 0.006 | 0.011 | 49.334 | 0.046 | 19.685 | 2.221 | 1.106 | -163.77 | -80.369 | 13.102 | 0 | 0 | 3.099 | 1.593 | 9.716 | 31.214 | 3.4484 | 10.9005 | 88.0981 | 50.09 | 40.93 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45232.73 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 97.6688 | 3.0093
R10-2_50nA | 47 | 40 | 20 | 50 | 2 | 146 | 0.002 | 58.435 | 0.001 | 0.082 | 0.438 | 0.002 | -0.001 | 0.003 | 0 | 0 | 0.089 | 0.282 | 0.048 | 39.369 | 98.75 | 0.005 | 97.473 | 0.002 | 0.12 | 0.564 | 0.002 | -0.002 | 0.005 | 0 | 0 | 0.12 | 0.404 | 0.058 | 0 | 98.75 | 0.002 | 33.022 | 0.001 | 0.043 | 0.212 | 0.001 | -0.001 | 0.002 | 0 | 0 | 0.026 | 0.082 | 0.007 | 66.603 | 100 | 6 | O | 0 | 2.975 | 0 | 0.004 | 0.019 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 79.446 | 0.046 | 115.847 | 2.231 | 1.152 | 201.525 | -165.05 | 35.752 | 0 | 0 | 3.315 | 1.609 | 10.67 | 31.1152 | 3.1613 | 10.905 | 0 | 50.13 | 40.47 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.03 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 98.7502 | 3.0086
R10-2_50nA | 47 | 40 | 20 | 50 | 2 | 147 | 0.002 | 58.494 | 0.004 | 0.082 | 0.444 | 0.003 | 0.004 | 0.008 | 0 | 0 | 0.09 | 0.281 | 0.04 | 39.417 | 98.869 | 0.005 | 97.571 | 0.007 | 0.12 | 0.571 | 0.004 | 0.007 | 0.012 | 0 | 0 | 0.122 | 0.402 | 0.049 | 0 | 98.869 | 0.002 | 33.012 | 0.004 | 0.043 | 0.215 | 0.002 | 0.004 | 0.006 | 0 | 0 | 0.027 | 0.082 | 0.006 | 66.598 | 100 | 6 | O | 0 | 2.974 | 0 | 0.004 | 0.019 | 0 | 0 | 0.001 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 79.647 | 0.046 | 30.165 | 2.228 | 1.144 | 92.866 | 46.09 | 14.398 | 0 | 0 | 3.261 | 1.617 | 12.679 | 31.1401 | 3.1665 | 10.905 | 25.4397 | 50.12 | 40.81 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.04 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 98.8694 | 3.0093
R10-2_50nA | 47 | 40 | 20 | 50 | 2 | 148 | 0.001 | 58.639 | 0.002 | 0.079 | 0.448 | 0 | -0.001 | 0.003 | 0 | 0 | 0.089 | 0.293 | 0.047 | 39.511 | 99.111 | 0.003 | 97.814 | 0.003 | 0.116 | 0.576 | 0 | -0.001 | 0.004 | 0 | 0 | 0.12 | 0.42 | 0.057 | 0 | 99.111 | 0.001 | 33.018 | 0.002 | 0.041 | 0.216 | 0 | -0.001 | 0.002 | 0 | 0 | 0.026 | 0.085 | 0.007 | 66.603 | 100 | 6 | O | 0 | 2.974 | 0 | 0.004 | 0.019 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.008 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 137.916 | 0.046 | 66.087 | 2.286 | 1.137 | 7278.86 | -220.08 | 45.204 | 0 | 0 | 3.337 | 1.556 | 10.824 | 31.0877 | 3.1992 | 10.905 | 87.209 | 50.12 | 40.95 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.04 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 99.1113 | 3.0087
R10-2_50nA | 48 | 40 | 20 | 50 | 2 | 149 | 0.003 | 58.597 | 0.005 | 0.079 | 0.44 | 0.005 | 0.002 | 0.013 | 0 | 0 | 0.091 | 0.28 | 0.046 | 39.487 | 99.048 | 0.007 | 97.743 | 0.01 | 0.116 | 0.566 | 0.006 | 0.003 | 0.019 | 0 | 0 | 0.123 | 0.4 | 0.056 | 0 | 99.048 | 0.003 | 33.012 | 0.005 | 0.041 | 0.213 | 0.002 | 0.002 | 0.009 | 0 | 0 | 0.027 | 0.081 | 0.007 | 66.598 | 100 | 6 | O | 0 | 2.974 | 0 | 0.004 | 0.019 | 0 | 0 | 0.001 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 56.086 | 0.046 | 21.821 | 2.296 | 1.157 | 68.393 | 113.212 | 9.153 | 0 | 0 | 3.255 | 1.631 | 11.13 | 31.1348 | 3.2286 | 10.905 | 142.737 | 50.13 | 40.99 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.05 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 99.0475 | 3.0092
R10-2_50nA | 48 | 40 | 20 | 50 | 2 | 150 | 0.005 | 58.69 | 0.003 | 0.08 | 0.432 | 0.001 | 0 | 0.004 | 0 | 0 | 0.091 | 0.285 | 0.053 | 39.545 | 99.189 | 0.01 | 97.898 | 0.006 | 0.117 | 0.556 | 0.001 | 0 | 0.005 | 0 | 0 | 0.123 | 0.408 | 0.065 | 0 | 99.189 | 0.005 | 33.018 | 0.003 | 0.041 | 0.208 | 0 | 0 | 0.003 | 0 | 0 | 0.027 | 0.083 | 0.008 | 66.604 | 100 | 6 | O | 0 | 2.974 | 0 | 0.004 | 0.019 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 35.421 | 0.046 | 39.484 | 2.275 | 1.176 | 378.353 | 859.289 | 31.082 | 0 | 0 | 3.251 | 1.611 | 9.563 | 31.1512 | 3.2973 | 10.903 | 213.367 | 50.09 | 41.09 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.06 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 99.1889 | 3.0085
R10-2_50nA | 48 | 40 | 20 | 50 | 2 | 151 | 0.003 | 58.752 | 0.003 | 0.08 | 0.445 | 0 | -0.002 | 0.007 | 0 | 0 | 0.087 | 0.285 | 0.047 | 39.585 | 99.291 | 0.007 | 98.003 | 0.005 | 0.116 | 0.573 | 0 | -0.004 | 0.01 | 0 | 0 | 0.117 | 0.408 | 0.057 | 0 | 99.291 | 0.003 | 33.019 | 0.003 | 0.041 | 0.215 | 0 | -0.002 | 0.005 | 0 | 0 | 0.026 | 0.083 | 0.007 | 66.602 | 100 | 6 | O | 0 | 2.975 | 0 | 0.004 | 0.019 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 55.963 | 0.046 | 40.243 | 2.286 | 1.142 | -4074.7 | -83.869 | 17.161 | 0 | 0 | 3.421 | 1.604 | 10.882 | 31.1787 | 3.3104 | 10.903 | 243.828 | 50.09 | 41.25 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.07 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 99.2911 | 3.0087
R10-3_50nA | 50 | 40 | 20 | 50 | 10 | 185 | 0.004 | 57.695 | 0.006 | 0.076 | 0.445 | -0.005 | -0.001 | 0.004 | 0 | 0 | 0.089 | 0.277 | 0.044 | 38.876 | 97.509 | 0.009 | 96.238 | 0.011 | 0.111 | 0.572 | -0.007 | -0.001 | 0.006 | 0 | 0 | 0.121 | 0.396 | 0.053 | 0 | 97.509 | 0.004 | 33.016 | 0.006 | 0.04 | 0.218 | -0.003 | -0.001 | 0.003 | 0 | 0 | 0.027 | 0.082 | 0.007 | 66.601 | 100 | 6 | O | 0 | 2.974 | 0.001 | 0.004 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 42.607 | 0.046 | 20.201 | 2.389 | 1.147 | -61.426 | -223.34 | 28.486 | 0 | 0 | 3.336 | 1.642 | 11.619 | 31.2404 | 3.0252 | 10.8865 | 0 | 50.06 | 39.65 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.86 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 97.5088 | 3.0088
R10-3_50nA | 50 | 40 | 20 | 50 | 10 | 186 | 0.006 | 57.546 | 0.004 | 0.077 | 0.45 | 0.002 | -0.001 | 0.006 | 0 | 0 | 0.093 | 0.278 | 0.054 | 38.786 | 97.302 | 0.014 | 95.99 | 0.007 | 0.113 | 0.579 | 0.002 | -0.001 | 0.009 | 0 | 0 | 0.126 | 0.398 | 0.066 | 0 | 97.302 | 0.006 | 33.006 | 0.004 | 0.041 | 0.221 | 0.001 | -0.001 | 0.004 | 0 | 0 | 0.028 | 0.082 | 0.008 | 66.599 | 100 | 6 | O | 0.001 | 2.974 | 0 | 0.004 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0.003 | 0.007 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 27.001 | 0.046 | 30.299 | 2.366 | 1.131 | 194.151 | -237.07 | 19.147 | 0 | 0 | 3.18 | 1.622 | 9.431 | 31.2749 | 3.0288 | 10.8865 | 34.6885 | 50.02 | 39.71 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.86 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 97.3018 | 3.0091
R10-3_50nA | 50 | 40 | 20 | 50 | 10 | 187 | 0.005 | 57.421 | 0.003 | 0.075 | 0.439 | 0.002 | -0.001 | 0.004 | 0 | 0 | 0.09 | 0.278 | 0.05 | 38.693 | 97.059 | 0.01 | 95.782 | 0.005 | 0.11 | 0.564 | 0.003 | -0.001 | 0.005 | 0 | 0 | 0.122 | 0.398 | 0.061 | 0 | 97.059 | 0.005 | 33.015 | 0.003 | 0.04 | 0.216 | 0.001 | -0.001 | 0.003 | 0 | 0 | 0.027 | 0.083 | 0.008 | 66.602 | 100 | 6 | O | 0 | 2.974 | 0 | 0.004 | 0.019 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.007 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 35.894 | 0.047 | 45.629 | 2.423 | 1.155 | 146.845 | -226.19 | 31.271 | 0 | 0 | 3.297 | 1.628 | 10.258 | 31.3057 | 3.0341 | 10.8865 | 65.941 | 50.02 | 39.78 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45233.87 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 97.0591 | 3.0088
R10-4_50nA | 66 | 40 | 20 | 50 | 10 | 203 | 0.004 | 57.423 | 0.003 | 0.079 | 0.444 | -0.003 | 0 | 0.008 | 0 | 0 | 0.093 | 0.283 | 0.048 | 38.7 | 97.081 | 0.008 | 95.785 | 0.005 | 0.115 | 0.571 | -0.003 | 0.001 | 0.011 | 0 | 0 | 0.125 | 0.405 | 0.058 | 0 | 97.081 | 0.004 | 33.009 | 0.003 | 0.042 | 0.219 | -0.001 | 0.001 | 0.005 | 0 | 0 | 0.028 | 0.084 | 0.007 | 66.6 | 100 | 6 | O | 0 | 2.974 | 0 | 0.004 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0.003 | 0.008 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 45.344 | 0.047 | 44.954 | 2.319 | 1.148 | -122.08 | 395.254 | 15.857 | 0 | 0 | 3.197 | 1.608 | 10.687 | 31.3543 | 3.041 | 10.8865 | 0 | 49.97 | 39.6 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45234 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 97.0807 | 3.009
R10-4_50nA | 66 | 40 | 20 | 50 | 10 | 204 | 0.003 | 57.432 | 0.003 | 0.077 | 0.44 | 0 | -0.002 | 0.007 | 0 | 0 | 0.09 | 0.287 | 0.037 | 38.7 | 97.074 | 0.006 | 95.799 | 0.006 | 0.113 | 0.567 | 0 | -0.003 | 0.009 | 0 | 0 | 0.121 | 0.411 | 0.045 | 0 | 97.074 | 0.003 | 33.015 | 0.003 | 0.041 | 0.217 | 0 | -0.002 | 0.005 | 0 | 0 | 0.027 | 0.085 | 0.006 | 66.601 | 100 | 6 | O | 0 | 2.974 | 0 | 0.004 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.008 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 63.457 | 0.047 | 38.584 | 2.352 | 1.157 | -1020.8 | -96.262 | 18.288 | 0 | 0 | 3.337 | 1.588 | 13.65 | 31.3762 | 3.0617 | 10.8865 | 30.1417 | 50.04 | 39.76 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45234.01 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 97.0735 | 3.0088
R10-4_50nA | 66 | 40 | 20 | 50 | 10 | 205 | 0.001 | 57.278 | 0.004 | 0.079 | 0.447 | -0.001 | 0 | 0.013 | 0 | 0 | 0.093 | 0.274 | 0.055 | 38.602 | 96.844 | 0.002 | 95.543 | 0.008 | 0.115 | 0.575 | -0.002 | 0 | 0.019 | 0 | 0 | 0.125 | 0.393 | 0.067 | 0 | 96.844 | 0.001 | 33.008 | 0.004 | 0.042 | 0.221 | -0.001 | 0 | 0.009 | 0 | 0 | 0.028 | 0.082 | 0.008 | 66.598 | 100 | 6 | O | 0 | 2.974 | 0 | 0.004 | 0.02 | 0 | 0 | 0.001 | 0 | 0 | 0.003 | 0.007 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 214.397 | 0.047 | 27.603 | 2.317 | 1.138 | -272.33 | -797.06 | 9.294 | 0 | 0 | 3.235 | 1.638 | 9.209 | 31.4257 | 3.1087 | 10.8865 | 98.4 | 50.03 | 39.76 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45234.01 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 96.8444 | 3.0093
R10-test_50nA | 6 | 40 | 20 | 50 | 10 | 92 | 0.003 | 57.827 | 0.005 | 0.077 | 0.451 | -0.001 | -0.001 | 0.004 | 0 | 0 | 0.087 | 0.29 | 0.043 | 38.969 | 97.753 | 0.005 | 96.458 | 0.01 | 0.113 | 0.581 | -0.001 | -0.002 | 0.005 | 0 | 0 | 0.117 | 0.415 | 0.052 | 0 | 97.753 | 0.002 | 33.012 | 0.005 | 0.041 | 0.221 | 0 | -0.002 | 0.002 | 0 | 0 | 0.026 | 0.085 | 0.006 | 66.601 | 100 | 6 | O | 0 | 2.974 | 0 | 0.004 | 0.02 | 0 | 0 | 0 | 0 | 0 | 0.002 | 0.008 | 0.001 | 6 | 0.004 | 0.004 | 0.002 | 0.004 | 0.007 | 0.007 | 0.004 | 0.003 | 0 | 0 | 0.006 | 0.006 | 0.011 | 66.462 | 0.047 | 21.364 | 2.345 | 1.129 | -422.38 | -130.4 | 34.279 | 0 | 0 | 3.385 | 1.575 | 11.943 | 31.2232 | 3.041 | 10.929 | 0 | 49.79 | 39.61 | 40 | 40 | 100 | 80 | 40 | 40 | 100 | 40 | 20 | 20 | 240 | 160 | 200 | 45232.39 | 1 | 41 | 42 | 21 | 14 | 38 | 1 | 1 | 6 | 16 | 67 | 86 | 87 | Diopside (U) | TiO | Almandine (MAC-U) | Chromium Metal (U) | Pyrite (U) | Tephroite (A-U) | Diopside (U) | Diopside (U) | Jadeiete (U) | KTiPO5 (U) | Zircon | Nyobium | Tantalum | 97.7529 | 3.009
avg | [6 empty] | 0.003 | 57.973 | 0.004 | 0.079 | 0.446 | 0 | -0.001 | 0.007 | 0 | 0 | 0.09 | 0.282 | 0.049 | 39.066 | 97.997
stdev | [6 empty] | 0.001 | 0.53 | 0.001 | 0.002 | 0.007 | 0.002 | 0.002 | 0.003 | 0 | 0 | 0.002 | 0.005 | 0.006 | 0.354 | 0.884
rsd% | [6 empty] | 45 | 0.9 | 38.9 | 2.5 | 1.6 | 687.7 | -221.5 | 49.5 | #DIV/0! | #DIV/0! | 2.5 | 1.8 | 13 | 0.9 | 0.9
published epma avg | [9 empty] | 0.071 | 0.425 | [5 empty] | 0.081 | 0.265 | 0.047

## 7
Metadata for EPMA analysis at the University of Utrecht.
C:\Userdata\23-054\23-054D\23-054.MDB
your name
Utrecht
Probe for EPMA Analysis
Nominal Beam: 1
Un 66 R10-4_50nA (TKCS): | 40 | 20 | 50 | 10
Element/Line | Crystal | OnPeak Time | OffPeak Time | Standard | Analytical Error(rel%) | Detection Limit(99%) | Spectrometer | On-Peak Position | Background Type | Off-Peak Correction | Hi-Off Position | Lo-Off Position | Baseline | Window | Gain | Bias | Inte/Diff | Deadtime (usec) | Takeoff | Kilovolts | Beam Current (nA) | Beam Size (um) | Spot/Scan | X Image Shift | Y Image Shift
Si ka | TAP | 40 | 40 | Diopside (U) | 107.733 | 0.003674 | 1 | 78.0804 | OFF | Exponential | 84.0804 | 73.3804 | 1.2 | 8.8 | 32 | 1680 | DIFF | 1.45 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Ti ka | PETL | 40 | 40 | TiO | 0.046552 | 0.004442 | 2 | 88.108 | OFF | Linear | 92.108 | 84.108 | 1.5 | 6 | 64 | 1644 | DIFF | 1.8 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Al ka | TAP | 100 | 100 | Almandine (MAC-U) | 37.0469 | 0.002427 | 1 | 90.9598 | OFF | Exponential | 94.9598 | 84.9598 | 1.2 | 8.8 | 32 | 1699 | DIFF | 1.45 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Cr ka | PETL | 80 | 80 | Chromium Metal (U) | 2.3295 | 0.003575 | 2 | 73.3985 | OFF | Exponential | 77.8985 | 70.9985 | 1.5 | 6 | 32 | 1735 | DIFF | 1.8 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Fe ka | LIFH | 40 | 40 | Pyrite (U) | 1.1474 | 0.006859 | 5 | 134.609 | OFF | Linear | 138.609 | 130.609 | 2 | 5 | 32 | 1690 | DIFF | 1.64 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Mn ka | LIFH | 40 | 40 | Tephroite (A-U) | -471.74 | 0.006771 | 5 | 146.139 | OFF | Linear | 150.139 | 142.139 | 1.5 | 6 | 32 | 1700 | DIFF | 1.64 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Mg ka | TAPH | 100 | 100 | Diopside (U) | -166.02 | 0.003999 | 4 | 107.732 | OFF | Exponential | 113.732 | 94.732 | 1.2 | 8.8 | 32 | 1700 | DIFF | 1.45 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Ca ka | PETH | 40 | 40 | Diopside (U) | 14.4795 | 0.002552 | 3 | 107.682 | OFF | Exponential | 116.182 | 103.182 | 1.2 | 8.8 | 16 | 1638 | DIFF | 1.43 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Na ka | TAPH | 20 | 20 | Jadeiete (U) | 0 | 0 | 4 | 129.596 | OFF | Linear | 136.596 | 123.596 | 1.2 | 8.8 | 32 | 1724 | DIFF | 1.45 | 40 | 20 | 50 | 10 | Spot | 0 | 0
K ka | PETH | 20 | 20 | KTiPO5 (U) | 0 | 0 | 3 | 119.935 | OFF | Linear | 123.435 | 116.935 | 1.2 | 8.8 | 16 | 1648 | DIFF | 1.43 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Zr la | PETH | 240 | 240 | Zircon | 3.2564 | 0.005645 | 3 | 194.69 | OFF | Exponential | 203.69 | 189.69 | 1.2 | 8.8 | 16 | 1674 | DIFF | 1.43 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Nb la | PETL | 160 | 160 | Nyobium | 1.6113 | 0.006232 | 2 | 183.132 | OFF | Exponential | 189.132 | 163.132 | 1.5 | 6 | 64 | 1710 | DIFF | 1.8 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Ta la | LIFH | 200 | 200 | Tantalum | 11.1817 | 0.010595 | 5 | 105.746 | OFF | Exponential | 112.746 | 97.746 | 1.5 | 7 | 32 | 1650 | DIFF | 1.64 | 40 | 20 | 50 | 10 | Spot | 0 | 0
Compositional analyses were acquired on an electron microprobe (JEOL JXA-8530F) equipped with 5 tunable wavelength dispersive spectrometers.
Operating conditions were 40 degrees takeoff angle, and a beam energy of 20 keV.
The beam current was 50 nA, and the beam diameter was 2 microns.
Elements were acquired using analyzing crystals LIFH for Fe ka, Mn ka, Ta la, PETL for Cr ka, Nb la, Ti ka, PETH for Ca ka, K ka, Zr la, PETL for Cr ka, Nb la, Ti ka, TAP for Si ka, Al ka, TAPH for Mg ka, Na ka, TAP for Si ka, Al ka, and TAPH for Mg ka, Na ka.
The standards were in-house diopside for Ca ka, Si ka, Mg ka, pyrite for Fe ka, chromium metal for Cr ka, tephroite for Mn ka, TiO for Ti ka, almandine (MAC) for Al ka, zircon for Zr la, nyobium metal for Nb la, and tantalum metal for Ta la.
The counting time was 40 seconds for Si ka, Ti ka, Fe ka, Mn ka, Ca ka, Na ka, K ka, 80 seconds for Cr ka, 100 seconds for Mg ka, Al ka, 160 seconds for Nb la, 200 seconds for Ta la, and 240 seconds for Zr la.
The off peak counting time was 40 seconds for Si ka, Ti ka, Fe ka, Mn ka, Ca ka, Na ka, K ka, 80 seconds for Cr ka, 100 seconds for Mg ka, Al ka, 160 seconds for Nb la, 200 seconds for Ta la, and 240 seconds for Zr la.
Off Peak correction method was Linear for Ti ka, Fe ka, Mn ka, Na ka, K ka, and Exponential for Al ka, Mg ka, Ca ka, Cr ka, Si ka, Zr la, Nb la, Ta la.
Unknown and standard intensities were corrected for deadtime.
Interference corrections were applied to Si for interference by Ta, Nb, and to Mn for interference by Cr.
See J.J. Donovan, D.A. Snyder and M.L. Rivers, An Improved Interference Correction for Trace Element Analysis in Microbeam Analysis, 2: 23-28, 1993
Results are the average of 3 points and detection limits ranged from .002 weight percent for Al ka to .002 weight percent for Al ka to .004 weight percent for Si ka to .006 weight percent for Nb la to .011 weight percent for Ta la.
Analytical sensitivity (at the 99% confidence level) ranged from .047 percent relative for Ti ka to .047 percent relative for Ti ka to 2.330 percent relative for Cr ka to 37.047 percent relative for Al ka to 471.735 percent relative for Mn ka.
Oxygen was calculated by cation stoichiometry and included in the matrix correction.
The exponential or polynomial background fit was utilized.
See John J. Donovan, Heather A. Lowers and Brian G. Rusk, Improved electron probe microanalysis of trace elements in quartz, American Mineralogist, 96, 274­282, 2011
The matrix correction method was ZAF or Phi-Rho-Z Calculations and the mass absorption coefficients dataset was LINEMU Henke (LBL, 1985) < 10KeV / CITZMU > 10KeV.
The ZAF or Phi-Rho-Z algorithm utilized was Bastin PROZA Phi(pz) (EPQ-91).
See J. T. Armstrong, Quantitative analysis of silicates and oxide minerals: Comparison of Monte-Carlo, ZAF and Phi-Rho-Z procedures, Microbeam Analysis--1988, p 239-246