## Standards
Cleaning Experiment solution ICP-MS Standards 3.1.2003
Element | Stock Std sol ppm conc. | g stock | Plus 2% HNO3 (g) | Dil. Factor | Inter. Std sol ppm conc. | g Inter. Std.
Li | 1000 | 0.10116 | 101.059 | 0.001001 | 1.001
Mg | 1000
Ca | 10000
Mn | 1000 | 1.0179 | 100.3154 | 0.010147 | 10.1473
Zn | 1000 | 0.10289 | 99.9534 | 0.0010294 | 1.0294
Sr | 1000
Cd | 1000 | 1.0127 | 99.9496 | 0.010132 | 10.1319 | 1.0094
Ba | 1000 | 0.10463 | 100.3996 | 0.0010421 | 1.0421
Pb | 0.23 | 5.1311 | 10.2181 | 0.50215 | 0.1155
Tl | 0.2 | 5.1311 | 10.2181 | 0.50215 | 0.10043
Element | Conc. (ppm) Std. used | ppm conc. Std sol1 | ppm conc. Std sol2 | ppm conc. Std sol3 | ppm conc. Std sol4 | ppm conc. Std sol5
Li | 1.001 | 0.00024671 | 0.00049623 | 0.00073997 | 0.00099514 | 0.001489
Mg | 1000 | 0.24756 | 0.40773 | 0.98998 | 2.3494 | 4.9962
Ca | 10000 | 423.5266 | 422.2933 | 422.4049 | 419.1948 | 418.7571
Mn | 10.1473 | 0.0049643 | 0.02543 | 0.050687 | 0.1262 | 0.25229
Zn | 1.0294 | 0.00024959 | 0.00050273 | 0.0010195 | 0.0020424 | 0.0030699
Sr | 1000 | 0.23927 | 0.49514 | 0.73048 | 0.99524 | 1.4848
Cd | 0.10195 | 2.5055e-05 | 5.0753e-05 | 0.00010121 | 0.00020267 | 0.00030263
Ba | 1.0421 | 0.00052192 | 0.0013038 | 0.002597 | 0.0038819 | 0.0051732
Pb | 0.1155 | 2.7853e-05 | 5.7106e-05 | 0.00011456 | 0.00022849 | 0.00034478
Tl | 0.10043 | 2.422e-05 | 4.9658e-05 | 9.9614e-05 | 0.00019869 | 0.00029981
Li/Ca |  |  |  | 1.7518e-06 | 2.3739e-06
Mg/Ca |  |  |  | 0.0023437 | 0.0056045
|  |  |  | 1 | 1
Mn/Ca |  |  |  | 0.00012 | 0.00030106
Zn/Ca |  |  |  | 2.4135e-06 | 4.8723e-06
Sr/Ca |  |  |  | 0.0017293 | 0.0023742
Cd/Ca |  |  |  | 2.3961e-07 | 4.8348e-07
Ba/Ca |  |  |  | 6.1481e-06 | 9.2604e-06
Pb/Ca |  |  |  | 2.712e-07 | 5.4508e-07
To 200ppm
Element | Conc. (ppm) Std. used | ppm conc. Std sol1 | ppm conc. Std sol2 | ppm conc. Std sol3 | ppm conc. Std sol4 | ppm conc. Std sol5
Li |  | 0.00012335 | 0.00024812 | 0.00036998 | 0.00049757 | 0.0007445
Mg |  | 0.12378 | 0.20386 | 0.49499 | 1.1747 | 2.4981
Ca |  | 211.7633 | 211.1467 | 211.2025 | 209.5974 | 209.3785
Mn |  | 0.0024822 | 0.012715 | 0.025343 | 0.0631 | 0.12615
Zn |  | 0.00012479 | 0.00025136 | 0.00050974 | 0.0010212 | 0.0015349
Sr |  | 0.11963 | 0.24757 | 0.36524 | 0.49762 | 0.74242
Cd |  | 1.2528e-05 | 2.5376e-05 | 5.0605e-05 | 0.00010134 | 0.00015132
Ba |  | 0.00026096 | 0.00065192 | 0.0012985 | 0.0019409 | 0.0025866
Pb |  | 1.3927e-05 | 2.8553e-05 | 5.7278e-05 | 0.00011425 | 0.00017239
Tl |  | 1.211e-05 | 2.4829e-05 | 4.9807e-05 | 9.9345e-05 | 0.00014991

## Summary
| Li/Ca | Mg/Ca | Mn/Ca | Zn/Ca | Sr/Ca | Cd/Ca | Ba/Ca | Pb/Ca
BC01.D | 14.1408 | 2.2064 | 32.4006 | 0.50091 | 1.4019 | 0.018986 | 4.8315 | 0.14321
BC02.D | 13.4821 | 4.3993 | 3.4738 | 0.73187 | 1.3751 | 0.019016 | 0.92881 | 0.031857
BC03.D | 13.5659 | 3.0568 | 15.6843 | 0.61522 | 1.3877 | 0.0093417 | 27.8655 | 0.048803
BC04.D | 11.331 | 2.1207 | 28.5424 | 0.30559 | 1.3273 | 0.0083385 | 34.4125 | 0.044992
BC05.D | 11.6126 | 2.6318 | 18.6595 | 0.26198 | 1.2712 | 0.0059306 | 19.3482 | 0.12085
BC06.D | 12.2614 | 2.8844 | 19.3793 | 0.66792 | 1.3004 | 0.0058363 | 23.0618 | 0.057536
BC07.D | 10.66 | 8.469 | 1.1116 | 0.80414 | 1.2815 | 0.006573 | 0.64985 | 0.019065
BC08.D | 10.4163 | 8.5019 | 1.9661 | 0.8547 | 1.3213 | 0.0083696 | 0.63194 | 0.030011
OD1.D | 7.05 | 3.7991 | 3.9175 | 1.8412 | 1.1822 | 0.077621 | 0.6896 | 0.028028
OD2.D | 12.104 | 3.3494 | 40.1271 | 5.897 | 1.3632 | 0.19845 | 2.9619 | 0.08013
AV Blank | 1.3872e-06 | 0.00010757 | 2.4287e-05 | 9.249e-05 | 4.0984e-06 | 2.0198e-06 | 1.5045e-05 | 7.4213e-06
STDev x3 | 1.096e-06 | 0.00013098 | 9.6652e-06 | 7.4708e-05 | 2.7694e-06 | 2.1458e-07 | 2.4463e-06 | 2.1062e-06
Detection Limit | 2.4831e-06 | 0.00023854 | 3.3952e-05 | 0.0001672 | 6.8678e-06 | 2.2344e-06 | 1.7492e-05 | 9.5275e-06
AV Sample | 0.00089507 | 1.0982 | 0.010116 | 0.0010795 | 1.2701 | 4.0488e-05 | 0.017602 | 0.00013105
MIN Sample | 0.00052979 | 0.60752 | 0.00063871 | 0.00024575 | 1.0861 | 6.0097e-06 | 0.00089704 | 3.5828e-05
AV ACC | 1.7343 | 2.0806 | 2.9449 | 17.7679 | 2.2032 | 4.903 | 0.8842 | 2.9718
STDev ACC% | 0.75813 | 0.22505 | 4.6813 | 6.1561 | 1.3354 | 5.6912 | 0.60784 | 2.3043

## Acc & Det
|  |  | 7 Li | [10 empty] | 24 Mg | [10 empty] | 43 Ca |  |  | 46 Ca |  |  | 55 Mn | [10 empty] | 66 Zn | [10 empty] | 88 Sr | [10 empty] | 111 Cd | [10 empty] | 137 Ba | [10 empty] | 208 Pb
Data File Name | Sample Name | Mins from start | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Li/Ca STANDARD | umol/mol | Li/Ca Measured | Cfactor @ Time | Li/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Mg/Ca STANDARD | mmol/mol | Mg/Ca Measured | Cfactor @ Time | Mg/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Blank@ Time | 43Ca blank sub | Raw Counts/CPS Mean | Blank @ Time | 46Ca blank sub | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Mn/Ca STANDARD | umol/mol | Mn/Ca Measured | Cfactor @ Time | Mn/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Zn/Ca STANDARD | umol/mol | Zn/Ca Measured | Cfactor @ Time | Zn/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Sr/Ca STANDARD | mmol/mol | Sr/Ca Measured | Cfactor @ Time | Sr/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Cd/Ca STANDARD | umol/mol | Cd/Ca Measured | Cfactor @ Time | Cd/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Ba/Ca STANDARD | umol/mol | Ba/Ca Measured | Cfactor @ Time | Ba/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Pb/Ca STANDARD | umol/mol | Pb/Ca Measured | Cfactor @ Time | Pb/Ca umol/mol measure | Accuracy %
STD1.D | std sol.1 in 1ml tube with parafilm | 14 | 13713.33 | 228.0176 | 13485.3124 | 0.00024671 | 5.8251e-07 | 3.3636 | 0.0078653 | 7.3506e-05 | 3.3384 | 0.74911 | 0.74911 | 14041870 | 2719504.17 | 11322365.83 | 0.24756 | 0.00058452 | 0.9639 | 0.1864 | 0.0032061 | 0.98549 | -2.2397 | 2.2397 | 60743552 | 1259.0156 | 60742292.9844 | 1741724 | 27192.5036 | 1714531.4964 | 594077.38 | 12067.1532 | 582010.2268 | 0.0049643 | 1.1721e-05 | 8.5513 | 0.33946 | 3.9136e-05 | 9.6921 | -13.3408 | 13.3408 | 5041.481 | 2500.2932 | 2541.1878 | 0.00024959 | 5.8931e-07 | 0.3611 | 0.0014821 | 0.00030393 | 0.27603 | 23.5602 | 23.5602 | 41353768 | 8690866.52 | 32662901.48 | 0.23927 | 0.00056494 |  | 0.53773 | 0.0011326 |  |  |  | 1450 | 1161.4502 | 288.5498 | 2.5055e-05 | 5.9158e-08 | 0.021093 | 0.0001683 | 0.00029062 | 0.017439 | 17.3219 | 17.3219 | 17818.891 | 6704.3264 | 11114.5646 | 0.00052192 | 1.2323e-06 | 0.35966 | 0.0064826 | 0.0001922 | 0.36364 | -1.1057 | 1.1057 | 28707.41 | 25985.81 | 2721.6 | 2.7853e-05 | 6.5766e-08 | 0.012721 | 0.0015874 | 3.9528e-05 | 0.012137 | 4.5914 | 4.5914
STD2.D | std sol.2 in 1ml tube with parafilm | 19 | 26444.439 | 225.3846 | 26219.0544 | 0.00049623 | 1.1751e-06 | 6.7854 | 0.015511 | 7.3729e-05 | 6.6036 | 2.6802 | 2.6802 | 24269010 | 2705488.67 | 21563521.33 | 0.40773 | 0.00096551 |  | 0.35752 | 0.0032065 |  |  |  | 60315272 | 1197.7171 | 60314074.2829 | 1717081 | 26704.2051 | 1690376.7949 | 2639598 | 12025.4222 | 2627572.5778 | 0.02543 | 6.0218e-05 | 43.9317 | 1.5544 | 3.9029e-05 | 44.26 | -0.74726 | 0.74726 | 8557.7773 | 2486.1122 | 6071.6651 | 0.00050273 | 1.1905e-06 | 0.72947 | 0.0035919 | 0.00030035 | 0.66106 | 9.3781 | 9.3781 | 73477280 | 8629078.32 | 64848201.68 | 0.49514 | 0.0011725 | 0.53634 | 1.0752 | 0.0011333 | 0.55735 | -3.9178 | 3.9178 | 1844.074 | 1152.1467 | 691.9273 | 5.0753e-05 | 1.2018e-07 | 0.042851 | 0.00040933 | 0.00029662 | 0.04329 | -1.025 | 1.025 | 33690 | 6605.3649 | 27084.6351 | 0.0013038 | 3.0875e-06 | 0.90112 | 0.016023 | 0.00019294 | 0.90226 | -0.12655 | 0.12655 | 31317.41 | 25747.885 | 5569.525 | 5.7106e-05 | 1.3523e-07 | 0.026158 | 0.0032948 | 4.118e-05 | 0.026246 | -0.3338 | 0.3338
STD3.D | std sol.3 in 1ml tube with parafilm | 25 | 39046.672 | 222.225 | 38824.447 | 0.00073997 | 1.7518e-06 | 10.1156 | 0.023278 | 7.3971e-05 | 9.943 | 1.7057 | 1.7057 | 46838072 | 2688670.07 | 44149401.93 | 0.98998 | 0.0023437 |  | 0.73756 | 0.0032068 |  |  |  | 59860032 | 1128.5875 | 59858903.4125 | 1694035 | 26200.6875 | 1667834.3125 | 5155407 | 11975.345 | 5143431.655 | 0.050687 | 0.00012 |  |  | 3.891e-05 |  |  |  | 16054.81 | 2469.095 | 13585.715 | 0.0010195 | 2.4135e-06 |  | 0.0081457 | 0.00029629 |  |  |  | 102507900 | 8554932.48 | 93952967.52 | 0.73048 | 0.0017293 | 0.79105 | 1.5696 | 0.0011341 | 0.81427 | -2.9353 | 2.9353 | 2458.1479 | 1140.9825 | 1317.1654 | 0.00010121 | 2.3961e-07 |  | 0.00078975 | 0.0003034 |  |  |  | 60362.219 | 6492.4125 | 53869.8065 | 0.002597 | 6.1481e-06 | 1.7944 | 0.032299 | 0.00019383 | 1.8272 | -1.8278 | 1.8278 | 36072.961 | 25462.375 | 10610.586 | 0.00011456 | 2.712e-07 |  | 0.0063619 | 4.304e-05
STD3M2.D | std sol.3 monitor 2 in 1ml tube with parafilm | 88 | 34584.441 | 189.0492 | 34395.3918 | 0.00073997 | 1.7518e-06 | 10.1156 | 0.023209 | 7.477e-05 | 10.0205 | 0.93993 | 0.93993 | 42337048 | 2512074.77 | 39824973.23 | 0.98998 | 0.0023437 |  | 0.73627 | 0.0031983 |  |  |  | 54091032 | 694.4104 | 54090337.5896 | 1508325 | 26343.5904 | 1481981.4096 | 4647884 | 11449.5344 | 4636434.4656 | 0.050687 | 0.00012 |  |  | 3.8352e-05 |  |  |  | 15577.78 | 2290.4144 | 13287.3656 | 0.0010195 | 2.4135e-06 |  | 0.0089659 | 0.0002692 |  |  |  | 88443344 | 7776401.16 | 80666942.84 | 0.73048 | 0.0017293 | 0.79105 | 1.4913 | 0.0011498 | 0.78438 | 0.84366 | 0.84366 | 2046.296 | 1023.7584 | 1022.5376 | 0.00010121 | 2.3961e-07 |  | 0.00068998 | 0.00034726 |  |  |  | 50350 | 5688.5136 | 44661.4864 | 0.002597 | 6.1481e-06 | 1.7944 | 0.030136 | 0.00020315 | 1.7868 | 0.42076 | 0.42076 | 29623.699 | 22464.52 | 7159.179 | 0.00011456 | 2.712e-07 |  | 0.0048308 | 5.4573e-05
STD3M3.D | Std sol.3 monitor 3 in 1ml tube with parafilm | 145 | 33094.441 | 159.033 | 32935.408 | 0.00073997 | 1.7518e-06 | 10.1156 | 0.023568 | 7.2756e-05 | 9.9014 | 2.1172 | 2.1172 | 40165368 | 2352298.07 | 37813069.93 | 0.98998 | 0.0023437 |  | 0.75027 | 0.0031719 |  |  |  | 50399900 | 760.5475 | 50399139.4525 | 1432491 | 35016.7275 | 1397474.2725 | 4317784 | 10973.801 | 4306810.199 | 0.050687 | 0.00012 |  |  | 3.8928e-05 |  |  |  | 14664.07 | 2128.751 | 12535.319 | 0.0010195 | 2.4135e-06 |  | 0.00897 | 0.00026911 |  |  |  | 83119960 | 7072015.68 | 76047944.32 | 0.73048 | 0.0017293 | 0.79105 | 1.5089 | 0.0011741 | 0.81036 | -2.4399 | 2.4399 | 1891.111 | 917.6985 | 973.4125 | 0.00010121 | 2.3961e-07 |  | 0.00069655 | 0.00034398 |  |  |  | 46637.77 | 5562.4125 | 41075.3575 | 0.002597 | 6.1481e-06 | 1.7944 | 0.029393 | 0.00021159 | 1.8151 | -1.1546 | 1.1546 | 27059.26 | 19752.175 | 7307.085 | 0.00011456 | 2.712e-07 |  | 0.0052288 | 5.2423e-05
STD4.D | std sol.4 in 1ml tube with parafilm | 31 | 53773.328 | 219.0654 | 53554.2626 | 0.00099514 | 2.3739e-06 |  | 0.031999 | 7.4184e-05 |  |  |  | 106086700 | 2671851.47 | 103414848.53 | 2.3494 | 0.0056045 |  | 1.7308 | 0.003207 |  |  |  | 59751992 | 1064.2891 | 59750927.7109 | 1699430 | 25787.1051 | 1673642.8949 | 12708630 | 11925.2678 | 12696704.7322 | 0.1262 | 0.00030106 | 219.6347 | 7.5863 | 3.8803e-05 | 214.7581 | 2.2203 | 2.2203 | 27362.961 | 2452.0778 | 24910.8832 | 0.0020424 | 4.8723e-06 | 2.9855 | 0.014884 | 0.00029249 | 2.6677 | 10.6471 | 10.6471 | 133468800 | 8480786.64 | 124988013.36 | 0.99524 | 0.0023742 |  | 2.0918 | 0.0011351 |  |  |  | 3690.3701 | 1129.8183 | 2560.5518 | 0.00020267 | 4.8348e-07 | 0.17239 | 0.0015299 | 0.00030972 | 0.16895 | 1.9921 | 1.9921 | 85666.656 | 6385.7889 | 79280.8671 | 0.0038819 | 9.2604e-06 |  | 0.04737 | 0.00019472 |  |  |  | 45374.809 | 25176.865 | 20197.944 | 0.00022849 | 5.4508e-07 |  | 0.012068 | 4.4768e-05
STD4M2.D | std sol.4 monitor 2 in 1ml tube with parafilm | 94 | 45631.109 | 185.8896 | 45445.2194 | 0.00099514 | 2.3739e-06 |  | 0.031794 | 7.468e-05 |  |  |  | 92815776 | 2495256.17 | 90320519.83 | 2.3494 | 0.0056045 |  | 1.7408 | 0.0031964 |  |  |  | 51886352 | 680.8396 | 51885671.1604 | 1456220 | 26874.3276 | 1429345.6724 | 11126160 | 11399.4572 | 11114760.5428 | 0.1262 | 0.00030106 | 219.6347 | 7.7761 | 3.8365e-05 | 217.6449 | 0.90594 | 0.90594 | 23962.221 | 2273.3972 | 21688.8238 | 0.0020424 | 4.8723e-06 | 2.9855 | 0.015174 | 0.0002681 | 2.4928 | 16.5037 | 16.5037 | 114583100 | 7702255.32 | 106880844.68 | 0.99524 | 0.0023742 |  | 2.0599 | 0.0011519 |  |  |  | 3045.1851 | 1012.5942 | 2032.5909 | 0.00020267 | 4.8348e-07 | 0.17239 | 0.001422 | 0.00034884 | 0.17687 | -2.6022 | 2.6022 | 71016.656 | 5648.3424 | 65368.3136 | 0.0038819 | 9.2604e-06 |  | 0.045733 | 0.00020404 |  |  |  | 36778.52 | 22179.01 | 14599.51 | 0.00022849 | 5.4508e-07 |  | 0.010214 | 5.491e-05
STD4M3.D | Std sol.4 monitor 3 in 1ml tube with parafilm | 154 | 46176.66 | 154.2936 | 46022.3664 | 0.00099514 | 2.3739e-06 |  | 0.032818 | 7.2201e-05 |  |  |  | 91068224 | 2327070.17 | 88741153.83 | 2.3494 | 0.0056045 |  | 1.7528 | 0.0031661 |  |  |  | 50627820 | 810.8476 | 50627009.1524 | 1439487 | 37128.1356 | 1402358.8644 | 10783800 | 10898.6852 | 10772901.3148 | 0.1262 | 0.00030106 | 219.6347 | 7.682 | 3.9113e-05 | 219.2048 | 0.19571 | 0.19571 | 22947.41 | 2103.2252 | 20844.1848 | 0.0020424 | 4.8723e-06 | 2.9855 | 0.014864 | 0.00027122 | 2.4702 | 17.2599 | 17.2599 | 109265600 | 6960796.92 | 102304803.08 | 0.99524 | 0.0023742 |  | 2.0208 | 0.0011788 |  |  |  | 2780 | 900.9522 | 1879.0478 | 0.00020267 | 4.8348e-07 | 0.17239 | 0.0013399 | 0.00033973 | 0.16231 | 5.8469 | 5.8469 | 66334.438 | 5594.7144 | 60739.7236 | 0.0038819 | 9.2604e-06 |  | 0.043313 | 0.00021292 |  |  |  | 33836.672 | 19323.91 | 14512.762 | 0.00022849 | 5.4508e-07 |  | 0.010349 | 5.099e-05
STD4M4.D | Std sol.4 monitor 4 in 1ml tube with parafilm | 159 | 45364.441 | 151.6606 | 45212.7804 | 0.00099514 | 2.3739e-06 |  | 0.03308 | 7.1864e-05 |  |  |  | 90254352 | 2313054.67 | 87941297.33 | 2.3494 | 0.0056045 |  | 1.7684 | 0.0031626 |  |  |  | 49729152 | 843.4891 | 49728308.5109 | 1405176 | 38388.5771 | 1366787.4229 | 10545930 | 10856.9542 | 10535073.0458 | 0.1262 | 0.00030106 | 219.6347 | 7.7079 | 3.9227e-05 | 220.584 | -0.43224 | 0.43224 | 20390.369 | 2089.0442 | 18301.3248 | 0.0020424 | 4.8723e-06 | 2.9855 | 0.01339 | 0.00027264 | 2.237 | 25.0727 | 25.0727 | 106522000 | 6899008.72 | 99622991.28 | 0.99524 | 0.0023742 |  | 2.0033 | 0.0011815 |  |  |  | 2782.9629 | 891.6487 | 1891.3142 | 0.00020267 | 4.8348e-07 | 0.17239 | 0.0013838 | 0.00033693 | 0.16624 | 3.5674 | 3.5674 | 64858.879 | 5618.8129 | 59240.0661 | 0.0038819 | 9.2604e-06 |  | 0.043343 | 0.00021366 |  |  |  | 34195.551 | 19085.985 | 15109.566 | 0.00022849 | 5.4508e-07 |  | 0.011055 | 5.0065e-05
STD5.D | std sol.5 in 1ml tube with parafilm | 37 | 76886.656 | 215.9058 | 76670.7502 | 0.001489 | 3.5558e-06 | 20.5323 | 0.046755 | 7.4368e-05 | 20.0778 | 2.2138 | 2.2138 | 216643810 | 2655032.87 | 213988777.13 | 4.9962 | 0.011931 | 19.675 | 3.649 | 0.0032069 | 19.2969 | 1.9214 | 1.9214 | 58644340 | 1004.8219 | 58643335.1781 | 1665318 | 25463.4579 | 1639854.5421 | 24828850 | 11875.1906 | 24816974.8094 | 0.25229 | 0.00060248 | 439.5405 | 15.1336 | 3.8707e-05 | 427.3574 | 2.7718 | 2.7718 | 34906.289 | 2435.0606 | 32471.2284 | 0.0030699 | 7.3309e-06 | 4.4921 | 0.019801 | 0.00028895 | 3.5059 | 21.9536 | 21.9536 | 193024500 | 8406640.8 | 184617859.2 | 1.4848 | 0.0035458 | 1.622 | 3.1481 | 0.0011362 | 1.6362 | -0.87922 | 0.87922 | 4800 | 1118.6541 | 3681.3459 | 0.00030263 | 7.2269e-07 | 0.25767 | 0.0022449 | 0.0003156 | 0.25261 | 1.9652 | 1.9652 | 110546.7 | 6285.4941 | 104261.2059 | 0.0051732 | 1.2354e-05 | 3.6055 | 0.06358 | 0.0001956 | 3.6297 | -0.66973 | 0.66973 | 52851.109 | 24891.355 | 27959.754 | 0.00034478 | 8.2335e-07 | 0.15926 | 0.01705 | 4.6363e-05 | 0.15291 | 3.9904 | 3.9904
[8 empty] | 10.1713 |  |  | 9.9808 | -1.8736 | [6 empty] | 10.3194 |  |  | 10.1412 | -1.7271 | [12 empty] | 195.7946 |  |  | 193.3573 | -1.2448 | [6 empty] | 2.5035 |  |  | 2.0444 | -18.3404 | [6 empty] | 0.90629 |  |  | 0.92052 | 1.5695 | [6 empty] | 0.14445 |  |  | 0.1411 | -2.3197 | [6 empty] | 1.7082 |  |  | 1.7208 | 0.734 | [6 empty] | 0.066048 |  |  | 0.063764 | -3.4581
DETECTION LIMITS |  |  | Counts | PPM | [9 empty] | DETECTION LIMITS | Counts | PPM | [14 empty] | DETECTION LIMITS | Counts | PPM | [8 empty] | DETECTION LIMITS | Counts | PPM | [8 empty] | DETECTION LIMITS | Counts | PPM | [8 empty] | DETECTION LIMITS | Counts | PPM | [8 empty] | DETECTION LIMITS | Counts | PPM | [8 empty] | DETECTION LIMITS | Counts | PPM
AV Blank |  |  | 68.3333 | 1.3872e-06 | [7 empty] | AV ACC | 1.7343 |  | 4463.3333 | 0.00010757 | [6 empty] | AV ACC | 2.0806 | [7 empty] | 2291.2035 | 2.4287e-05 | [6 empty] | AV ACC | 2.9449 |  | 1008.611 | 9.249e-05 | [6 empty] | AV ACC | 17.7679 |  | 476.1111 | 4.0984e-06 | [6 empty] | AV ACC | 2.2032 |  | 22.5926 | 2.0198e-06 | [6 empty] | AV ACC | 4.903 |  | 275.5555 | 1.5045e-05 | [6 empty] | AV ACC | 0.8842 |  | 562.2222 | 7.4213e-06 | [6 empty] | AV ACC | 2.9718
STDev x3 |  |  | 53.9891 | 1.096e-06 | [7 empty] | STDev ACC% | 0.75813 |  | 5434.7627 | 0.00013098 | [6 empty] | STDev ACC% | 0.22505 | [7 empty] | 911.8119 | 9.6652e-06 | [6 empty] | STDev ACC% | 4.6813 |  | 814.7036 | 7.4708e-05 | [6 empty] | STDev ACC% | 6.1561 |  | 321.7256 | 2.7694e-06 | [6 empty] | STDev ACC% | 1.3354 |  | 2.4002 | 2.1458e-07 | [6 empty] | STDev ACC% | 5.6912 |  | 44.8041 | 2.4463e-06 | [6 empty] | STDev ACC% | 0.60784 |  | 159.5595 | 2.1062e-06 | [6 empty] | STDev ACC% | 2.3043
Detection Limit |  |  | 122.3224 | 2.4831e-06 | [10 empty] | 9898.096 | 0.00023854 | [15 empty] | 3203.0154 | 3.3952e-05 | [9 empty] | 1823.3146 | 0.0001672 | [9 empty] | 797.8367 | 6.8678e-06 | [9 empty] | 24.9928 | 2.2344e-06 | [9 empty] | 320.3596 | 1.7492e-05 | [9 empty] | 721.7817 | 9.5275e-06
AV Sample |  |  | 44092.0164 | 0.00089507 | [10 empty] | 45567825.8365 | 1.0982 | [15 empty] | 954339.1419 | 0.010116 | [9 empty] | 11772.0865 | 0.0010795 | [9 empty] | 147545968.8442 | 1.2701 | [9 empty] | 452.8899 | 4.0488e-05 | [9 empty] | 322383.8195 | 0.017602 | [9 empty] | 9927.7739 | 0.00013105
MIN Sample |  |  | 26098.14 | 0.00052979 | [10 empty] | 25208369.088 | 0.60752 | [15 empty] | 60255.3799 | 0.00063871 | [9 empty] | 2679.9453 | 0.00024575 | [9 empty] | 126168668.8513 | 1.0861 | [9 empty] | 67.2221 | 6.0097e-06 | [9 empty] | 16429.2461 | 0.00089704 | [9 empty] | 2714.226 | 3.5828e-05
|  |  | 7 Li | [10 empty] | 24 Mg | [10 empty] | 43 Ca |  |  | 46 Ca |  |  | 55 Mn | [10 empty] | 66 Zn | [10 empty] | 88 Sr | [10 empty] | 111 Cd | [10 empty] | 137 Ba | [10 empty] | 208 Pb
Data File Name | Sample Name | Mins from start | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Li/Ca STANDARD | umol/mol | Li/Ca Measured | Cfactor @ Time | Li/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Mg/Ca STANDARD | mmol/mol | Mg/Ca Measured | Cfactor @ Time | Mg/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Blank@ Time | 43Ca blank sub | Raw Counts/CPS Mean | Blank @ Time | 46Ca blank sub | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Mn/Ca STANDARD | umol/mol | Mn/Ca Measured | Cfactor @ Time | Mn/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Zn/Ca STANDARD | umol/mol | Zn/Ca Measured | Cfactor @ Time | Zn/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Sr/Ca STANDARD | mmol/mol | Sr/Ca Measured | Cfactor @ Time | Sr/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Cd/Ca STANDARD | umol/mol | Cd/Ca Measured | Cfactor @ Time | Cd/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Ba/Ca STANDARD | umol/mol | Ba/Ca Measured | Cfactor @ Time | Ba/Ca umol/mol measure | Accuracy % |  | Raw Counts/CPS Mean | Ca Std Blank | Blank Sub Counts | PPM IN STD | Pb/Ca STANDARD | umol/mol | Pb/Ca Measured | Cfactor @ Time | Pb/Ca umol/mol measure | Accuracy %
STD01E.D | Standard 01 end 1ml tube with parafilm | 270 | 8897.7773 | 132.608 | 8765.1693 | 0.00024671 | 5.8251e-07 | 3.3636 | 0.0058486 | 0.00010425 | 3.5208 | -4.6721 | 4.6721 | 10634920 | 1993709.4378 | 8641210.5622 | 0.24756 | 0.00058452 | 0.9639 | 0.15983 | 0.0036704 | 0.96738 | -0.36091 | 0.36091 | 54066872 | 1512.953 | 54065359.047 | 1557873 | 59187.23 | 1498685.77 | 512012.59 | 9570.68 | 502441.91 | 0.0049643 | 1.1721e-05 | 8.5513 | 0.33526 | 3.8232e-05 | 9.351 | -9.3513 | 9.3513 | 4387.7778 | 1644.619 | 2743.1588 | 0.00024959 | 5.8931e-07 | 0.3611 | 0.0018304 | 0.00036398 | 0.40824 | -13.0522 | 13.0522 | 44275020 | 8619215.3936 | 35655804.6064 | 0.23927 | 0.00056494 | 0.25842 | 0.65949 | 0.00094069 | 0.28378 | -9.8142 | 9.8142 | 1481.481 | 1075.067 | 406.414 | 2.5055e-05 | 5.9158e-08 | 0.021093 | 0.00027118 | 0.00028234 | 0.027299 | -29.4239 | 29.4239 | 18468.891 | 6499.675 | 11969.216 | 0.00052192 | 1.2323e-06 | 0.35966 | 0.0079865 | 0.0001739 | 0.40534 | 6.9768e-05 | 6.9768e-05 | 28867.779 | 24450.91 | 4416.869 | 2.7853e-05 | 6.5766e-08 | 0.012721 | 0.0029472 | 3.9227e-05 | 0.022363 | 6.9768e-05 | 6.9768e-05
STD02E.D | Standard 02 end 1ml tube with parafilm | 276 | 17312.221 | 129.9524 | 17182.2686 | 0.00049623 | 1.1751e-06 | 6.7854 | 0.011571 | 0.00010366 | 6.9266 | -2.0799 | 2.0799 | 18413070 | 1976167.0525 | 16436902.9475 | 0.40773 | 0.00096551 | 1.5922 | 0.31234 | 0.0036478 | 1.8789 |  |  | 52626180 | 1489.346 | 52624690.654 | 1544152 | 59244.3872 | 1484907.6128 | 2419598 | 9352.5968 | 2410245.4032 | 0.02543 | 6.0218e-05 | 43.9317 | 1.6232 | 3.8213e-05 | 45.2509 | -3.0028 | 3.0028 | 7237.0371 | 1511.95 | 5725.0871 | 0.00050273 | 1.1905e-06 | 0.72947 | 0.0038555 | 0.00036456 | 0.86127 | -18.0679 | 18.0679 | 77304552 | 8459891.6108 | 68844660.3892 | 0.49514 | 0.0011725 | 0.53634 | 1.3082 | 0.00093958 | 0.56226 | -4.8337 | 4.8337 | 1878.1479 | 1050.9812 | 827.1667 | 5.0753e-05 | 1.2018e-07 | 0.042851 | 0.00055705 | 0.0002818 | 0.055969 | -30.6132 | 30.6132 | 35597.781 | 6347.5564 | 29250.2246 | 0.0013038 | 3.0875e-06 | 0.90112 | 0.019698 | 0.00017456 | 1.0036 | -11.3691 | 11.3691 | 31631.48 | 23825.536 | 7805.944 | 5.7106e-05 | 1.3523e-07 | 0.026158 | 0.0052569 | 3.7331e-05 | 0.037961 | -45.1204 | 45.1204
STD03E.D | Standard 03 end 1ml tube with parafilm | 281 | 25356.67 | 127.7394 | 25228.9306 | 0.00073997 | 1.7518e-06 | 10.1156 | 0.016903 | 0.00010317 | 10.0695 |  |  | 35836020 | 1960863.3605 | 33875156.6395 | 0.98998 | 0.0023437 | 3.8648 | 0.63954 | 0.003629 | 3.8273 |  |  | 52969288 | 1468.524 | 52967819.476 | 1551834 | 59278.8017 | 1492555.1983 | 4725628 | 9165.2948 | 4716462.7052 | 0.050687 | 0.00012 | 87.5431 | 3.16 | 3.8194e-05 | 88.0518 |  |  | 11954.81 | 1398.5765 | 10556.2335 | 0.0010195 | 2.4135e-06 | 1.4789 | 0.0070726 | 0.00036504 | 1.582 |  |  | 108675000 | 8323169.3543 | 100351830.6457 | 0.73048 | 0.0017293 | 0.79105 | 1.8946 | 0.00093859 | 0.81342 | -2.8268 | 2.8268 | 2389.6299 | 1030.4202 | 1359.2097 | 0.00010121 | 2.3961e-07 | 0.085431 | 0.00091066 | 0.00028128 | 0.09133 |  |  | 62164.441 | 6217.3204 | 55947.1206 | 0.002597 | 6.1481e-06 | 1.7944 | 0.037484 | 0.00017512 | 1.9158 | -6.7673 | 6.7673 | 35911.852 | 23292.0435 | 12619.8085 | 0.00011456 | 2.712e-07 | 0.05246 | 0.0084552 | 3.5707e-05 | 0.058401
STD3M04.D | Std3 monitor 04 in 1ml tube with parafilm | 174 | 25664.439 | 175.0976 | 25489.3414 | 0.00073997 | 1.7518e-06 | 10.1156 | 0.01573 | 0.00011194 | 10.1677 |  |  | 34794400 | 2152426.0104 | 32641973.9896 | 0.98998 | 0.0023437 | 3.8648 | 0.56188 | 0.0040313 | 3.7353 |  |  | 58096380 | 1686.0122 | 58094693.9878 | 1676394 | 55919.6972 | 1620474.3028 | 5228783 | 12069.0608 | 5216713.9392 | 0.050687 | 0.00012 | 87.5431 | 3.2193 | 3.8034e-05 | 89.3266 |  |  | 14766.3 | 3265.9726 | 11500.3274 | 0.0010195 | 2.4135e-06 | 1.4789 | 0.0070969 | 0.00035477 | 1.5428 |  |  | 121484200 | 10464718.3184 | 111019481.6816 | 0.73048 | 0.0017293 | 0.79105 | 1.911 | 0.00094599 | 0.82694 | -4.5359 | 4.5359 | 2881.8521 | 1373.291 | 1508.5611 | 0.00010121 | 2.3961e-07 | 0.085431 | 0.00093094 | 0.00027906 | 0.092626 |  |  | 71507.781 | 8315.6974 | 63192.0836 | 0.002597 | 6.1481e-06 | 1.7944 | 0.038996 | 0.00016438 | 1.8708 | -4.2612 | 4.2612 | 39888.891 | 32258.59 | 7630.301 | 0.00011456 | 2.712e-07 | 0.05246 | 0.0047087 | 6.1802e-05 | 0.056291
STD3M05.D | Std 3 monitor 05 1ml tube with parafilm | 217 | 25865.551 | 156.0658 | 25709.4852 | 0.00073997 | 1.7518e-06 | 10.1156 | 0.015668 | 0.0001089 | 9.8521 |  |  | 36667312 | 2109719.6769 | 34557592.3231 | 0.98998 | 0.0023437 | 3.8648 | 0.60712 | 0.0038697 | 3.8742 |  |  | 56922340 | 1656.1272 | 56920683.8728 | 1698823 | 57930.9233 | 1640892.0767 | 5054856 | 11180.6292 | 5043675.3708 | 0.050687 | 0.00012 | 87.5431 | 3.0737 | 3.824e-05 | 85.7507 |  |  | 13174.81 | 2656.4261 | 10518.3839 | 0.0010195 | 2.4135e-06 | 1.4789 | 0.0064102 | 0.0003589 | 1.4097 |  |  | 114647700 | 9801861.4375 | 104845838.5625 | 0.73048 | 0.0017293 | 0.79105 | 1.842 | 0.00094651 | 0.7975 | -0.81517 | 0.81517 | 2568.1479 | 1259.9946 | 1308.1533 | 0.00010121 | 2.3961e-07 | 0.085431 | 0.00079722 | 0.00028331 | 0.08053 |  |  | 64764.441 | 7646.0756 | 57118.3654 | 0.002597 | 6.1481e-06 | 1.7944 | 0.034809 | 0.00016839 | 1.7108 | 4.6601 | 4.6601 | 37040.371 | 29273.0355 | 7767.3355 | 0.00011456 | 2.712e-07 | 0.05246 | 0.0047336 | 5.3498e-05 | 0.048985
STD4M02.D | Std4 monitor 2 in 1ml tube with parafilm | 123 | 33691.109 | 197.6702 | 33493.4388 | 0.00099514 | 2.3739e-06 | 13.708 | 0.020208 | 0.00011473 | 13.387 |  |  | 79005824 | 2143367.3452 | 76862456.6548 | 2.3494 | 0.0056045 | 9.2421 | 1.2966 | 0.0042231 | 9.0299 | 2.2954 | 2.2954 | 59279620 | 1621.2626 | 59277998.7374 | 1709837 | 52382.2913 | 1657454.7087 | 13551420 | 12637.6292 | 13538782.3708 | 0.1262 | 0.00030106 | 219.6347 | 8.1684 | 3.7543e-05 | 223.7307 | -1.8649 | 1.8649 | 27576.289 | 3743.4703 | 23832.8187 | 0.0020424 | 4.8723e-06 | 2.9855 | 0.014379 | 0.00034987 | 3.0827 | -3.2549 | 3.2549 | 162598800 | 10906388.5847 | 151692411.4153 | 0.99524 | 0.0023742 | 1.086 | 2.559 | 0.00093926 | 1.0995 |  |  | 4670 | 1464.9992 | 3205.0008 | 0.00020267 | 4.8348e-07 | 0.17239 | 0.0019337 | 0.00026817 | 0.18489 | -7.2532 | 7.2532 | 105788.9 | 8807.3986 | 96981.5014 | 0.0038819 | 9.2604e-06 | 2.7027 | 0.058512 | 0.00016015 | 2.7349 |  |  | 50604.809 | 34723.3435 | 15881.4655 | 0.00022849 | 5.4508e-07 | 0.10544 | 0.0095818 | 6.7849e-05 | 0.12576
STD4M03.D | Std4 monitor 03 in 1ml tube with parafilm | 180 | 36053.328 | 172.442 | 35880.886 | 0.00099514 | 2.3739e-06 | 13.708 | 0.022009 | 0.00011156 | 14.1777 |  |  | 79222448 | 2149232.0477 | 77073215.9523 | 2.3494 | 0.0056045 | 9.2421 | 1.2936 | 0.0040088 | 8.5517 | 7.4698 | 7.4698 | 59580960 | 1686.482 | 59579273.518 | 1686527 | 56253.68 | 1630273.32 | 13223130 | 11967.56 | 13211162.44 | 0.1262 | 0.00030106 | 219.6347 | 8.1036 | 3.8074e-05 | 225.0944 | -2.4858 | 2.4858 | 26848.52 | 3192.286 | 23656.234 | 0.0020424 | 4.8723e-06 | 2.9855 | 0.014511 | 0.00035534 | 3.1595 | -5.8284 | 5.8284 | 160842400 | 10388180.1356 | 150454219.8644 | 0.99524 | 0.0023742 | 1.086 | 2.5253 | 0.00094634 | 1.0932 |  |  | 4392.5918 | 1359.458 | 3033.1338 | 0.00020267 | 4.8348e-07 | 0.17239 | 0.0018605 | 0.00027992 | 0.18569 | -7.7172 | 7.7172 | 103883.3 | 8236.27 | 95647.03 | 0.0038819 | 9.2604e-06 | 2.7027 | 0.058669 | 0.00016491 | 2.8238 |  |  | 50388.141 | 31891.84 | 18496.301 | 0.00022849 | 5.4508e-07 | 0.10544 | 0.011346 | 6.0819e-05 | 0.13348
STD4M04.D | Std 4 monitor 04 1ml tube with parafilm | 223 | 34744.441 | 153.4102 | 34591.0308 | 0.00099514 | 2.3739e-06 | 13.708 | 0.021696 | 0.00010842 | 13.5826 |  |  | 82971632 | 2100098.8165 | 80871533.1835 | 2.3494 | 0.0056045 | 9.2421 | 1.4318 | 0.0038471 | 9.0835 | 1.7156 | 1.7156 | 56483352 | 1645.8126 | 56481706.1874 | 1652515 | 58140.9113 | 1594374.0887 | 12467880 | 11026.9092 | 12456853.0908 | 0.1262 | 0.00030106 | 219.6347 | 7.813 | 3.8253e-05 | 218.0435 | 0.72449 | 0.72449 | 24186.289 | 2556.3203 | 21629.9687 | 0.0020424 | 4.8723e-06 | 2.9855 | 0.013566 | 0.00035947 | 2.9883 | -0.091835 | 0.091835 | 149273100 | 9688242.2047 | 139584857.7953 | 0.99524 | 0.0023742 | 1.086 | 2.4713 | 0.00094621 | 1.0697 |  |  | 3973.333 | 1241.5692 | 2731.7638 | 0.00020267 | 4.8348e-07 | 0.17239 | 0.0017134 | 0.00028354 | 0.17322 | -0.4821 | 0.4821 | 91720 | 7534.0886 | 84185.9114 | 0.0038819 | 9.2604e-06 | 2.7027 | 0.052802 | 0.00016898 | 2.6042 |  |  | 45576.66 | 28790.4435 | 16786.2165 | 0.00022849 | 5.4508e-07 | 0.10544 | 0.010528 | 5.2106e-05 | 0.10612
STD4.D | standard solution 4 run 1 | 42 | 34388.891 | 233.5208 | 34155.3702 | 0.00099514 | 2.3739e-06 | 13.708 | 0.020018 | 0.00011728 | 13.5569 |  |  | 75577984 | 1995808.7558 | 73582175.2442 | 2.3494 | 0.0056045 | 9.2421 | 1.224 | 0.0045277 | 9.139 | 1.115 | 1.115 | 60115792 | 1294.9622 | 60114497.0378 | 1750433 | 44194.7708 | 1706238.2292 | 14006040 | 12458.6192 | 13993581.3808 | 0.1262 | 0.00030106 | 219.6347 | 8.2014 | 3.6215e-05 | 216.6845 | 1.3432 | 1.3432 | 28685.18 | 3954.4186 | 24730.7614 | 0.0020424 | 4.8723e-06 | 2.9855 | 0.014494 | 0.00034209 | 3.0383 | -1.7686 | 1.7686 | 166963200 | 10839511.04 | 156123688.96 | 0.99524 | 0.0023742 | 1.086 | 2.5971 | 0.00091498 | 1.087 |  |  | 4829.6289 | 1515.4946 | 3314.1343 | 0.00020267 | 4.8348e-07 | 0.17239 | 0.0019424 | 0.00023783 | 0.16471 | 4.4546 | 4.4546 | 111033.3 | 8913.6706 | 102119.6294 | 0.0038819 | 9.2604e-06 | 2.7027 | 0.059851 | 0.0001546 | 2.7005 |  |  | 52794.07 | 36237.598 | 16556.472 | 0.00022849 | 5.4508e-07 | 0.10544 | 0.0097035 | 6.8975e-05 | 0.12947
STD05.D | standard solution 5 run 1 | 48 | 50056.66 | 230.8652 | 49825.7948 | 0.001489 | 3.5558e-06 | 20.5323 | 0.029335 | 0.00011717 | 19.8477 | 3.3342 | 3.3342 | 154702400 | 2012343.8743 | 152690056.1257 | 4.9962 | 0.011931 | 19.675 | 2.5786 | 0.0045051 | 19.157 | 2.6326 | 2.6326 | 59214700 | 1328.5376 | 59213371.4624 | 1743443 | 44909.3888 | 1698533.6112 | 27598370 | 12517.4192 | 27585852.5808 | 0.25229 | 0.00060248 | 439.5405 | 16.241 | 3.6336e-05 | 430.5327 | 2.0494 | 2.0494 | 42414.07 | 3961.8328 | 38452.2372 | 0.0030699 | 7.3309e-06 | 4.4921 | 0.022638 | 0.00034267 | 4.7535 | -5.8194 | 5.8194 | 243262900 | 10876803.0572 | 232386096.9428 | 1.4848 | 0.0035458 | 1.622 | 3.9246 | 0.00091735 | 1.6468 | -1.5338 | 1.5338 | 6487.7778 | 1515.7592 | 4972.0186 | 0.00030263 | 7.2269e-07 | 0.25767 | 0.0029272 | 0.00024062 | 0.25114 | 2.5361 | 2.5361 | 145152.2 | 8934.1936 | 136218.0064 | 0.0051732 | 1.2354e-05 | 3.6055 | 0.080197 | 0.00015496 | 3.627 | -0.59665 | 0.59665 | 64008.52 | 36226.456 | 27782.064 | 0.00034478 | 8.2335e-07 | 0.15926 | 0.016356 | 6.9249e-05 | 0.2191 | -37.5687 | 37.5687

## Samples
Ion Name | [7 empty] | MINS from Start | 7 Li | [6 empty] | 24 Mg | [6 empty] | 43 Ca |  |  | 44 Ca | 44 Ca | 44 Ca | 46 Ca |  |  | 55 Mn | [6 empty] | 66 Zn | [6 empty] | 88 Sr | [6 empty] | 110 Cd | 110 Cd | 110 Cd | 111 Cd | [6 empty] | 137 Ba | [6 empty] | 208 Pb | [6 empty] | 208 Pb | 208 Pb
Labels | Date Acquired | Data File Name | Sample Name | Date Acquired |  | hours | mins |  | Raw Counts/CPS Mean | [6 empty] | Raw Counts/CPS Mean | [6 empty] | Raw Counts/CPS Mean |  |  | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean |  |  | Raw Counts/CPS Mean | [6 empty] | Raw Counts/CPS Mean | [6 empty] | Raw Counts/CPS Mean | [6 empty] | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | [6 empty] | Raw Counts/CPS Mean | [6 empty] | Raw Counts/CPS Mean | [6 empty] | Raw Counts/CPS SD | Concentration Mean
|  |  |  | 13:39 | [5 empty] | blank @time | blank sub | 7Li/46Ca measured | 7Li/46Ca C factor @t | Li/Ca | Li/Ca umol/mol |  | Blank @ T | Blank Sub | 24Mg/43Ca | C factor @ T | Mg/Ca | mmol/mol |  | Blank @ T | Blank Sub |  |  |  |  | blank @time | blank subtracted |  | Blank @ T | Blank Sub | 55Mn/46Ca | C factor @ T | Mn/Ca | umol/mol |  | Blank @ T | Blank Sub | 66Zn/46Ca | C factor @ T | Zn/Ca | umol/mol |  | Blank @ T | Blank Sub | 88Sr/43Ca | C factor @ T | Sr/Ca | mmol/mol |  |  |  |  | Blank @ T | Blank Sub | 111Cd/46Ca | C factor @ T | Cd/Ca | umol/mol |  | Blank @ T | Blank Sub | 137Ba/46Ca | C factor @ T | Ba/Ca | umol/mol |  | Blank @ T | Blank Sub | 208Pb/46Ca | C factor @ T | Pb/Ca | umol/mol
| Feb 14 2003 02:22 pm | BC01.D | SAMPLE BC1 in 1ml tube with parafilm | 14:22 | 0:43 | 0 | 43 | 43 | 57128.879 | 71.323 | 57057.556 | 0.032861 | 7.4523e-05 | 2.4489e-06 | 14.1408 | 26394460 | 3873.1885 | 26390586.8115 | 0.41726 | 0.0032066 | 0.001338 | 2.2064 | 63248500 | 950.1859 | 63247549.8141 | 964616320 | 8197000 | -------- | 1761577 | 25229.7459 | 1736347.2541 | 1998834 | 2241.2759 | 1996592.7241 | 1.1499 | 3.8623e-05 | 4.4412e-05 | 32.4006 | 6095.5552 | 1126.7144 | 4968.8408 | 0.0028617 | 0.00028566 | 8.1746e-07 | 0.50091 | 170413900 | 438.9403 | 170413461.0597 | 2.6944 | 0.0011374 | 0.0030647 | 1.4019 | 282.5926 | 13.89 | -0.0531 | 310.7407 | 22.7216 | 288.0191 | 0.00016588 | 0.00032102 | 5.3249e-08 | 0.018986 | 146571.09 | 286.3701 | 146284.7199 | 0.084249 | 0.00019649 | 1.6554e-05 | 4.8315 | 27450 | 571.8391 | 26878.1609 | 0.01548 | 4.7825e-05 | 7.4032e-07 | 0.14321 | 247.6 | 0.0406
| Feb 14 2003 02:28 pm | BC02.D | SAMPLE BC2 in 1ml tube with parafilm | 14:28 | 0:49 | 0 | 49 | 49 | 54932.219 | 69.655 | 54862.564 | 0.031277 | 7.465e-05 | 2.3348e-06 | 13.4821 | 53240820 | 3936.9445 | 53236883.0555 | 0.83208 | 0.0032062 | 0.0026678 | 4.3993 | 63981180 | 900.3811 | 63980279.6189 | 973524100 | 1745000 | -------- | 1779171 | 25085.9691 | 1754085.0309 | 218927 | 2269.1237 | 216657.8763 | 0.12352 | 3.855e-05 | 4.7615e-06 | 3.4738 | 8552.2217 | 1139.5868 | 7412.6349 | 0.0042259 | 0.00028263 | 1.1944e-06 | 0.73187 | 168901790 | 446.0767 | 168901343.9233 | 2.6399 | 0.0011387 | 0.0030061 | 1.3751 | 350.7407 | 14.07 | -0.0477 | 309.6296 | 22.6508 | 286.9788 | 0.00016361 | 0.00032599 | 5.3333e-08 | 0.019016 | 28566.67 | 285.1143 | 28281.5557 | 0.016123 | 0.00019738 | 3.1824e-06 | 0.92881 | 6441.481 | 564.5953 | 5876.8857 | 0.0033504 | 4.9156e-05 | 1.6469e-07 | 0.031857 | 41.12 | -0.1633
| Feb 14 2003 02:35 pm | BC03.D | SAMPLE BC3 in 1ml tube with parafilm | 14:35 | 0:56 | 0 | 56 | 56 | 51867.77 | 67.709 | 51800.061 | 0.031425 | 7.4761e-05 | 2.3493e-06 | 13.5659 | 33795480 | 4035.76 | 33791444.24 | 0.57831 | 0.0032054 | 0.0018537 | 3.0568 | 58432360 | 848.3816 | 58431511.6184 | 896200190 | 1118000 | -------- | 1673428 | 25031.8976 | 1648396.1024 | 923274.31 | 2301.6128 | 920972.6972 | 0.55871 | 3.8479e-05 | 2.1499e-05 | 15.6843 | 7076.2959 | 1153.276 | 5923.0199 | 0.0035932 | 0.00027942 | 1.004e-06 | 0.61522 | 155442300 | 455.1032 | 155441844.8968 | 2.6602 | 0.0011404 | 0.0030337 | 1.3877 | 136.2963 | 18.4 | -0.0647 | 152.963 | 22.5682 | 130.3948 | 7.9104e-05 | 0.00033121 | 2.62e-08 | 0.0093417 | 793480 | 283.6492 | 793196.3508 | 0.48119 | 0.00019842 | 9.5476e-05 | 27.8655 | 8785.9258 | 557.1452 | 8228.7806 | 0.004992 | 5.054e-05 | 2.523e-07 | 0.048803 | 82.07 | -0.1405
| Feb 14 2003 02:43 pm | BC04.D | SAMPLE BC4 in 1ml tube with parafilm | 14:43 | 1:04 | 1 | 4 | 64 | 45093.328 | 65.485 | 45027.843 | 0.02622 | 7.484e-05 | 1.9623e-06 | 11.331 | 25212550 | 4180.912 | 25208369.088 | 0.40136 | 0.0032041 | 0.001286 | 2.1207 | 62808420 | 797.0056 | 62807622.9944 | 958886720 | 5472000 | -------- | 1742437 | 25119.9936 | 1717317.0064 | 1751232 | 2338.7432 | 1748893.2568 | 1.0184 | 3.8417e-05 | 3.9123e-05 | 28.5424 | 4268.1479 | 1167.1688 | 3100.9791 | 0.0018057 | 0.00027618 | 4.987e-07 | 0.30559 | 159516190 | 466.3432 | 159515723.6568 | 2.5398 | 0.0011425 | 0.0029016 | 1.3273 | 129.6296 | 26.07 | -0.0652 | 141.8518 | 22.4738 | 119.378 | 6.9514e-05 | 0.00033643 | 2.3387e-08 | 0.0083385 | 1014742 | 281.9748 | 1014460.0252 | 0.59072 | 0.0001996 | 0.00011791 | 34.4125 | 8245.9258 | 549.9508 | 7695.975 | 0.0044814 | 5.1902e-05 | 2.3259e-07 | 0.044992 | 25.68 | -0.1457
| Feb 14 2003 02:53 pm | BC05.D | SAMPLE BC5 in 1ml tube with parafilm | 14:53 | 1:14 | 1 | 14 | 74 | 45991.109 | 62.705 | 45928.404 | 0.026862 | 7.4867e-05 | 2.0111e-06 | 11.6126 | 31076990 | 4410.682 | 31072579.318 | 0.49841 | 0.0032021 | 0.001596 | 2.6318 | 62343808 | 744.8636 | 62343063.1364 | 951948420 | 5901000 | -------- | 1735252 | 25454.9516 | 1709797.0484 | 1142167 | 2385.1562 | 1139781.8438 | 0.66662 | 3.8368e-05 | 2.5577e-05 | 18.6595 | 3861.8521 | 1181.9068 | 2679.9453 | 0.0015674 | 0.00027277 | 4.2755e-07 | 0.26198 | 151269500 | 481.7792 | 151269018.2208 | 2.4264 | 0.0011453 | 0.002779 | 1.2712 | 112.963 | 14.07 | -0.0665 | 105.5556 | 22.3558 | 83.1998 | 4.8661e-05 | 0.00034182 | 1.6633e-08 | 0.0059306 | 563975.63 | 279.8818 | 563695.7482 | 0.32969 | 0.00020108 | 6.6293e-05 | 19.3482 | 20595.18 | 542.9378 | 20052.2422 | 0.011728 | 5.3272e-05 | 6.2477e-07 | 0.12085 | 127 | -0.026
| Feb 14 2003 03:20 pm | BC06.D | sample BC6 in 1ml tube with parafilm | 15:20 | 1:41 | 1 | 41 | 101 | 41013.328 | 55.199 | 40958.129 | 0.028487 | 7.4539e-05 | 2.1234e-06 | 12.2614 | 28065410 | 5299.2925 | 28060110.7075 | 0.54765 | 0.0031938 | 0.0017491 | 2.8844 | 51237808 | 671.1131 | 51237136.8869 | 794357500 | 5035000 | -------- | 1465382 | 27607.1891 | 1437774.8109 | 997270.88 | 2510.4713 | 994760.4087 | 0.69187 | 3.8393e-05 | 2.6563e-05 | 19.3793 | 7073.7041 | 1207.114 | 5866.5901 | 0.0040803 | 0.00026714 | 1.09e-06 | 0.66792 | 126169200 | 531.1487 | 126168668.8513 | 2.4624 | 0.0011545 | 0.0028429 | 1.3004 | 87.7778 | 9.686 | -0.0685 | 89.2593 | 22.0372 | 67.2221 | 4.6754e-05 | 0.00035011 | 1.6369e-08 | 0.0058363 | 554258.88 | 274.2307 | 553984.6493 | 0.38531 | 0.00020508 | 7.9017e-05 | 23.0618 | 8291.4814 | 534.9917 | 7756.4897 | 0.0053948 | 5.5135e-05 | 2.9744e-07 | 0.057536 | 66.98 | -0.1453
| Feb 14 2003 03:26 pm | BC07.D | sample BC7 in 1ml tube with parafilm | 15:26 | 1:47 | 1 | 47 | 107 | 37768.891 | 53.531 | 37715.36 | 0.024817 | 7.4387e-05 | 1.8461e-06 | 10.66 | 86972576 | 5549.9245 | 86967026.0755 | 1.6092 | 0.0031915 | 0.0051357 | 8.469 | 54044632 | 668.0099 | 54043963.9901 | 834523580 | 7101000 | -------- | 1548061 | 28332.7859 | 1519728.2141 | 62793.699 | 2538.3191 | 60255.3799 | 0.039649 | 3.843e-05 | 1.5237e-06 | 1.1116 | 8690.7402 | 1209.8248 | 7480.9154 | 0.0049225 | 0.0002666 | 1.3123e-06 | 0.80414 | 130880500 | 543.6443 | 130879956.3557 | 2.4217 | 0.0011568 | 0.0028015 | 1.2815 | 93.7037 | 19.57 | -0.068 | 101.8518 | 21.9664 | 79.8854 | 5.2566e-05 | 0.0003507 | 1.8435e-08 | 0.006573 | 16702.221 | 272.9749 | 16429.2461 | 0.010811 | 0.00020596 | 2.2266e-06 | 0.64985 | 3249.6299 | 535.4039 | 2714.226 | 0.001786 | 5.5185e-05 | 9.856e-08 | 0.019065 | 115.1 | -0.1942
| Feb 14 2003 03:32 pm | BC08.D | sample BC8 in 1ml tube with parafilm | 15:32 | 1:53 | 1 | 53 | 113 | 38925.559 | 51.863 | 38873.696 | 0.024309 | 7.4207e-05 | 1.8039e-06 | 10.4163 | 94559792 | 5819.8885 | 94553972.1115 | 1.6167 | 0.0031889 | 0.0051556 | 8.5019 | 58484832 | 669.7379 | 58484162.2621 | 893333890 | 7452000 | -------- | 1628309 | 29148.3179 | 1599160.6821 | 114570 | 2566.1669 | 112003.8331 | 0.070039 | 3.8479e-05 | 2.695e-06 | 1.9661 | 9587.4072 | 1211.4844 | 8375.9228 | 0.0052377 | 0.00026631 | 1.3948e-06 | 0.8547 | 145721790 | 556.6943 | 145721233.3057 | 2.4916 | 0.0011593 | 0.0028885 | 1.3213 | 135.9259 | 21.78 | -0.0647 | 128.8889 | 21.8956 | 106.9933 | 6.6906e-05 | 0.00035085 | 2.3474e-08 | 0.0083696 | 17011.109 | 271.7191 | 16739.3899 | 0.010468 | 0.00020685 | 2.1652e-06 | 0.63194 | 5039.2588 | 536.6081 | 4502.6507 | 0.0028156 | 5.5102e-05 | 1.5515e-07 | 0.030011 | 151.9 | -0.1769
| Feb 14 2003 03:40 pm | OD1.D | sample OD1 in 1ml tube with parafilm | 15:40 | 2:01 | 2 | 1 | 121 | 26147.779 | 49.639 | 26098.14 | 0.016516 | 7.3921e-05 | 1.2209e-06 | 7.05 | 41812640 | 6209.9125 | 41806430.0875 | 0.7233 | 0.0031852 | 0.0023038 | 3.7991 | 57800120 | 679.5571 | 57799440.4429 | 895134590 | 9849000 | -------- | 1610516 | 30375.5931 | 1580140.4069 | 222645.2 | 2603.2973 | 220041.9027 | 0.13925 | 3.8561e-05 | 5.3698e-06 | 3.9175 | 19039.631 | 1212.062 | 17827.569 | 0.011282 | 0.00026632 | 3.0047e-06 | 1.8412 | 128482700 | 574.9567 | 128482125.0433 | 2.2229 | 0.0011627 | 0.0025845 | 1.1822 | 930 | 28.87 | -0.0018 | 1003.704 | 21.8012 | 981.9028 | 0.0006214 | 0.00035034 | 2.177e-07 | 0.077621 | 18216.67 | 270.0447 | 17946.6253 | 0.011358 | 0.00020804 | 2.3628e-06 | 0.6896 | 4718.5181 | 539.4457 | 4179.0724 | 0.0026447 | 5.4785e-05 | 1.4489e-07 | 0.028028 | 61.33 | -0.18
| Feb 14 2003 03:45 pm | OD2.D | sample OD2 in 1ml tube with parafilm | 15:45 | 2:06 | 2 | 6 | 126 | 42646.66 | 48.249 | 42598.411 | 0.028435 | 7.3716e-05 | 2.0962e-06 | 12.104 | 34597328 | 6471.13 | 34590856.87 | 0.63818 | 0.0031827 | 0.0020311 | 3.3494 | 54202700 | 690.0556 | 54202009.9444 | 833082180 | 12610000 | -------- | 1529298 | 31223.8316 | 1498074.1684 | 2136058 | 2626.5038 | 2133431.4962 | 1.4241 | 3.8622e-05 | 5.5003e-05 | 40.1271 | 55295.922 | 1211.474 | 54084.448 | 0.036103 | 0.00026657 | 9.6237e-06 | 5.897 | 138666900 | 586.8712 | 138666313.1288 | 2.5583 | 0.0011649 | 0.0029802 | 1.3632 | 2290.3701 | 20.01 | 0.1058 | 2406.667 | 21.7422 | 2384.9248 | 0.001592 | 0.00034961 | 5.5658e-07 | 0.19845 | 73088.883 | 268.9982 | 72819.8848 | 0.048609 | 0.00020878 | 1.0148e-05 | 2.9619 | 11935.19 | 541.9342 | 11393.2558 | 0.0076053 | 5.4468e-05 | 4.1424e-07 | 0.08013 | 131.7 | -0.1099
[11 empty] | 44092.0164 | [6 empty] | 45567825.8365 | [15 empty] | 954339.1419 | [6 empty] | 11772.0865 | [6 empty] | 147545968.8442 | [9 empty] | 452.8899 | [6 empty] | 322383.8195 | [6 empty] | 9927.7739
[11 empty] | 26098.14 | [6 empty] | 25208369.088 | [15 empty] | 60255.3799 | [6 empty] | 2679.9453 | [6 empty] | 126168668.8513 | [9 empty] | 67.2221 | [6 empty] | 16429.2461 | [6 empty] | 2714.226

## C factor drift
Ion Name | [5 empty] | hours | mins | MINS from Start | 7 Li |  |  |  | 1.7518e-06 | 24 Mg |  |  |  | 0.0023437 | 43 Ca |  |  | 44 Ca | 44 Ca | 44 Ca | 46 Ca |  |  | 46 Ca | 46 Ca | 48 Ca | 48 Ca | 48 Ca | 55 Mn |  |  |  | 0.00012 | 55 Mn | 55 Mn | 66 Zn |  |  |  | 2.4135e-06 | 66 Zn | 66 Zn | 68 Zn | 68 Zn | 68 Zn | 88 Sr |  |  |  | 0.0017293 | 88 Sr | 88 Sr | 110 Cd | 110 Cd | 110 Cd | 111 Cd |  |  |  | 2.3961e-07 | 111 Cd | 111 Cd | 137 Ba |  |  |  | 6.1481e-06 | 137 Ba | 137 Ba | 208 Pb |  |  |  | 2.712e-07 | 208 Pb | 208 Pb
[13 empty] | 2.3739e-06 |  |  |  |  | 0.0056045 | [18 empty] | 0.00030106 | [6 empty] | 4.8723e-06 | [9 empty] | 0.0023742 | [9 empty] | 4.8348e-07 | [6 empty] | 9.2604e-06 | [6 empty] | 5.4508e-07
Labels | Date Acquired | Data File Name | Sample Name | Date Acquired |  |  |  |  | Raw Counts/CPS Mean | Blank @ T | Blank Sub | LI/Ca measured | C factor | Raw Counts/CPS Mean | Blank @ T | Blank Sub | Mg/Ca measured | C factor | Raw Counts/CPS Mean | Blank @ T | Blank Sub | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean |  |  | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Blank @ T | Blank Sub | Mn/Ca measured | C factor | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Blank @ T | Blank Sub | Zn/Ca measured | C factor | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Blank @ T | Blank Sub | Sr/Ca measured | C factor | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Blank @ T | Blank Sub | Cd/Ca measured | C factor | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Blank @ T | Blank Sub | Ba/Ca measured | C factor | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Blank @ T | Blank Sub | Pb/Ca measured | C factor | Raw Counts/CPS SD | Concentration Mean
| Feb 14 2003 02:04 pm | STD3.D | std sol.3 in 1ml tube with parafilm | 14:04 | 0:25 | 0 | 25 | 25 | 39046.672 | 222.225 | 38824.447 | 0.023278 | 7.5254e-05 | 46838072 | 2688670.0932 | 44149401.9068 | 0.73756 | 0.0031776 | 59860032 | 1128.5875 | 59858903.4125 | 918883520 | 6317000 | -------- | 1694035 | 26200.625 | 1667834.375 | 40190 | -------- | 99875160 | 531100 | -------- | 5155407 | 11975.345 | 5143431.655 | 3.0839 | 3.8911e-05 | 21580 | 51.93 | 16054.81 | 2469.095 | 13585.715 | 0.0081457 | 0.00029629 | 559.2 | 1.215 | 12749.63 | 281.7 | 1.275 | 102507900 | 8554932.4959 | 93952967.5041 | 1.5696 | 0.0011018 | 475800 | 0.7476 | 2341.1111 | 33.63 | 0.1098 | 2458.1479 | 1140.9825 | 1317.1654 | 0.00078975 | 0.0003034 | 15.13 | 0.1127 | 60362.219 | 6492.4125 | 53869.8065 | 0.032299 | 0.00019035 | 163.6 | 2.661 | 36072.961 | 25462.375 | 10610.586 | 0.0063619 | 4.2629e-05 | 233.3 | 0.1242
| Feb 14 2003 03:07 pm | STD3M2.D | std sol.3 monitor 2 in 1ml tube with parafilm | 15:07 | 1:28 | 1 | 28 | 88 | 34584.441 | 189.0492 | 34395.3918 | 0.023209 | 7.5479e-05 | 42337048 | 2512074.8425 | 39824973.1575 | 0.73627 | 0.0031832 | 54091032 | 694.4104 | 54090337.5896 | 834173310 | 10110000 | -------- | 1508325 | 26342.816 | 1481982.184 | 23350 | -------- | 90369800 | 854500 | -------- | 4647884 | 11449.5344 | 4636434.4656 | 3.1285 | 3.8355e-05 | 42540 | 46.8 | 15577.78 | 2290.4144 | 13287.3656 | 0.0089659 | 0.00026919 | 144.7 | 1.172 | 12035.93 | 133.8 | 1.187 | 88443344 | 7776401.2055 | 80666942.7945 | 1.4913 | 0.0011596 | 705400 | 0.6368 | 1975.1851 | 24.45 | 0.0809 | 2046.296 | 1023.7584 | 1022.5376 | 0.00068998 | 0.00034726 | 15.96 | 0.0811 | 50350 | 5688.5136 | 44661.4864 | 0.030136 | 0.00020401 | 499.5 | 2.174 | 29623.699 | 22464.52 | 7159.179 | 0.0048308 | 5.614e-05 | 319.8 | 0.0616
| Feb 14 2003 04:04 pm | STD3M3.D | Std sol.3 monitor 3 in 1ml tube with parafilm | 16:04 | 2:25 | 2 | 25 | 145 | 33094.441 | 159.033 | 32935.408 | 0.023568 | 7.433e-05 | 40165368 | 2352298.1871 | 37813069.8129 | 0.75027 | 0.0031238 | 50399900 | 760.5475 | 50399139.4525 | 779638400 | 7666000 | -------- | 1432491 | 35014.625 | 1397476.375 | 53350 | -------- | 84542592 | 679800 | -------- | 4317784 | 10973.801 | 4306810.199 | 3.0818 | 3.8936e-05 | 7553 | 43.47 | 14664.07 | 2128.751 | 12535.319 | 0.00897 | 0.00026906 | 279.1 | 1.092 | 11414.44 | 163.9 | 1.111 | 83119960 | 7072015.7523 | 76047944.2477 | 1.5089 | 0.0011461 | 294100 | 0.5948 | 1831.481 | 13.98 | 0.0695 | 1891.111 | 917.6985 | 973.4125 | 0.00069655 | 0.00034399 | 32.45 | 0.0691 | 46637.77 | 5562.4125 | 41075.3575 | 0.029393 | 0.00020917 | 87.58 | 1.993 | 27059.26 | 19752.175 | 7307.085 | 0.0052288 | 5.1867e-05 | 136.5 | 0.0368
[11 empty] | 35385.0823 |  |  |  |  | 40595814.9591 | [18 empty] | 4695558.7732 | [6 empty] | 13136.1332 | [9 empty] | 83555951.5155 | [9 empty] | 1104.3718 | [6 empty] | 46535.5501 | [6 empty] | 8358.95
| Feb 14 2003 02:10 pm | STD4.D | std sol.4 in 1ml tube with parafilm | 14:10 | 0:31 | 0 | 31 | 31 | 53773.328 | 219.0654 | 53554.2626 | 0.031999 | 7.4189e-05 | 106086700 | 2671851.4978 | 103414848.5022 | 1.7308 | 0.0032382 | 59751992 | 1064.2891 | 59750927.7109 | 907530180 | 2318000 | -------- | 1699430 | 25787.009 | 1673642.991 | 28370 | -------- | 99033264 | 575500 | -------- | 12708630 | 11925.2678 | 12696704.7322 | 7.5863 | 3.9684e-05 | 38430 | 128.2 | 27362.961 | 2452.0778 | 24910.8832 | 0.014884 | 0.00032734 | 103.1 | 2.215 | 20631.85 | 218.1 | 2.243 | 133468800 | 8480786.6587 | 124988013.3413 | 2.0918 | 0.001135 | 210600 | 0.9917 | 3526.2959 | 44.75 | 0.2036 | 3690.3701 | 1129.8183 | 2560.5518 | 0.0015299 | 0.00031602 | 98.13 | 0.2075 | 85666.656 | 6385.7889 | 79280.8671 | 0.04737 | 0.00019549 | 485.1 | 3.894 | 45374.809 | 25176.865 | 20197.944 | 0.012068 | 4.5166e-05 | 356.5 | 0.2145
| Feb 14 2003 03:13 pm | STD4M2.D | std sol.4 monitor 2 in 1ml tube with parafilm | 15:13 | 1:34 | 1 | 34 | 94 | 45631.109 | 185.8896 | 45445.2194 | 0.031794 | 7.4665e-05 | 92815776 | 2495256.2472 | 90320519.7528 | 1.7408 | 0.0032196 | 51886352 | 680.8396 | 51885671.1604 | 801889280 | 6527000 | -------- | 1456220 | 26873.444 | 1429346.556 | 24600 | -------- | 86842496 | 436500 | -------- | 11126160 | 11399.4572 | 11114760.5428 | 7.7761 | 3.8715e-05 | 105200 | 112.2 | 23962.221 | 2273.3972 | 21688.8238 | 0.015174 | 0.00032109 | 222.5 | 1.914 | 18046.67 | 86.61 | 1.925 | 114583100 | 7702255.3683 | 106880844.6317 | 2.0599 | 0.0011526 | 631000 | 0.8428 | 3024.4441 | 42 | 0.1639 | 3045.1851 | 1012.5942 | 2032.5909 | 0.001422 | 0.00033999 | 41.04 | 0.1579 | 71016.656 | 5648.3424 | 65368.3136 | 0.045733 | 0.00020249 | 840.4 | 3.18 | 36778.52 | 22179.01 | 14599.51 | 0.010214 | 5.3365e-05 | 83.45 | 0.1311
| Feb 14 2003 04:13 pm | STD4M3.D | Std sol.4 monitor 3 in 1ml tube with parafilm | 16:13 | 2:34 | 2 | 34 | 154 | 46176.66 | 154.2936 | 46022.3664 | 0.032818 | 7.2337e-05 | 91068224 | 2327070.2941 | 88741153.7059 | 1.7528 | 0.0031974 | 50627820 | 810.8476 | 50627009.1524 | 782071810 | 5022000 | -------- | 1439487 | 37125.764 | 1402361.236 | 35470 | -------- | 84539800 | 631200 | -------- | 10783800 | 10898.6852 | 10772901.3148 | 7.682 | 3.919e-05 | 98670 | 108.7 | 22947.41 | 2103.2252 | 20844.1848 | 0.014864 | 0.0003278 | 94.45 | 1.824 | 17197.41 | 133.1 | 1.821 | 109265600 | 6960796.9965 | 102304803.0035 | 2.0208 | 0.0011749 | 588300 | 0.8009 | 2736.2959 | 45.71 | 0.1411 | 2780 | 900.9522 | 1879.0478 | 0.0013399 | 0.00036083 | 54.19 | 0.1375 | 66334.438 | 5594.7144 | 60739.7236 | 0.043312 | 0.0002138 | 642.1 | 2.952 | 33836.672 | 19323.91 | 14512.762 | 0.010349 | 5.2671e-05 | 140 | 0.1025
| Feb 14 2003 04:18 pm | STD4M4.D | Std sol.4 monitor 4 in 1ml tube with parafilm | 16:18 | 2:39 | 2 | 39 | 159 | 45364.441 | 151.6606 | 45212.7804 | 0.03308 | 7.1765e-05 | 90254352 | 2313054.798 | 87941297.202 | 1.7684 | 0.0031692 | 49729152 | 843.4891 | 49728308.5109 | 769679620 | 6685000 | -------- | 1405176 | 38386.049 | 1366789.951 | 12050 | -------- | 82854784 | 473800 | -------- | 10545930 | 10856.9542 | 10535073.0458 | 7.7079 | 3.9058e-05 | 14000 | 106.3 | 20390.369 | 2089.0442 | 18301.3248 | 0.01339 | 0.00036387 | 307.2 | 1.598 | 15332.59 | 179.1 | 1.592 | 106522000 | 6899008.7988 | 99622991.2012 | 2.0033 | 0.0011851 | 1316000 | 0.7793 | 2714.4441 | 40.79 | 0.1394 | 2782.9629 | 891.6487 | 1891.3142 | 0.0013838 | 0.0003494 | 52.94 | 0.1377 | 64858.879 | 5618.8129 | 59240.0661 | 0.043342 | 0.00021366 | 217.2 | 2.881 | 34195.551 | 19085.985 | 15109.566 | 0.011055 | 4.9307e-05 | 361.1 | 0.106
[11 empty] | 47558.6572 |  |  |  |  | 92604454.7907 | [18 empty] | 11279859.9089 | [6 empty] | 21436.3041 | [9 empty] | 108449163.0444 | [9 empty] | 2090.8762 | [6 empty] | 66157.2426 | [6 empty] | 16104.9455
What C factor to use?
|  |  | Element | Li | Mg | Mn | Zn | Sr | Cd | Ba | Pb
|  |  | Av blankSub Counts STD3 | 35385.0823 | 40595814.9591 | 4695558.7732 | 13136.1332 | 83555951.5155 |  | 46535.5501 | 8358.95
|  |  | Av blankSub Counts STD4 | 47558.6572 | 92604454.7907 | 11279859.9089 | 21436.3041 | 108449163.0444 |  | 66157.2426 | 16104.9455
|  |  | Av blankSub Counts Samples | 44092.0164 | 45567825.8365 | 954339.1419 | 11772.0865 | 147545968.8442 |  | 322383.8195 | 9927.7739
|  |  | C factor adjusts | std4 | both | std3 | std3 | std4 | std3 | Std4 | Both

## Blank Drift
[5 empty] | hours | mins | MINS from Start | 7 Li | 24 Mg | 43 Ca | 44 Ca | 44 Ca | 44 Ca | 46 Ca | 55 Mn | 66 Zn | 68 Zn | 68 Zn | 68 Zn | 88 Sr | 110 Cd | 110 Cd | 110 Cd | 111 Cd | 137 Ba | 208 Pb | 208 Pb | 208 Pb
Date Acquired | Data File Name | Sample Name | Date Acquired |  |  |  |  | Raw Counts/CPS Mean | Raw Counts/CPS Mean | Raw Counts/CPS Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS Mean | Raw Counts/CPS Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean
Feb 14 2003 01:39 pm | BLANK01.D | 2% nitric blank from bottle | 13:39 | 0:00 | 0 | 0 | 0 | 82.2222 | 2506.667 | 1407.778 | 39178.891 | 444.1 | -------- | 47620.578 | 2059.259 | 622.963 | 1161.8521 | 49.02 | -0.1491 | 344.4444 | 14.4444 | 4.444 | -0.0743 | 23.3333 | 261.1111 | 521.4815 | 28.38 | -0.2207
Feb 14 2003 01:42 pm | BLANK02.D | 2% nitric blank 2 in 1ml tube with parafilm | 13:42 | 0:03 | 0 | 3 | 3 | 82.2222 | 3942.2219 | 1448.889 | 40392.219 | 508.4 | -------- | 28486.711 | 2006.296 | 1014.074 | 1491.481 | 47.3 | -0.1086 | 468.8889 | 16.2963 | 4.491 | -0.0742 | 22.963 | 293.3333 | 640.3703 | 34.54 | -0.2195
Feb 14 2003 02:58 pm | BLANK03.D | 2% nitric blank 3 in 1ml tube with parafilm | 14:58 | 1:19 | 1 | 19 | 79 | 64.4444 | 4545.5552 | 720 | 22612.221 | 305.9 | -------- | 25716.4 | 2484.074 | 1188.1479 | 1515.5551 | 49.04 | -0.1057 | 484.4444 | 14.0741 | 2.566 | -0.0743 | 22.5926 | 282.2222 | 540.3704 | 14.92 | -0.2205
Feb 14 2003 03:52 pm | BLANK04.D | nitic blank 4 in 1ml tube with parafilm | 15:52 | 2:13 | 2 | 13 | 133 | 44.4444 | 6858.8892 | 712.2222 | 21487.779 | 128.4 | -------- | 32516.551 | 2615.1851 | 1209.259 | 1517.778 | 37.17 | -0.1054 | 606.6666 | 13.7037 | 1.697 | -0.0744 | 21.4815 | 265.5555 | 546.6666 | 15.56 | -0.2205
AV Blank | [7 empty] | 68.3333 | 4463.3333 | [5 empty] | 2291.2035 | 1008.611 |  |  |  | 476.1111 |  |  |  | 22.5926 | 275.5555 | 562.2222
STDev x3 | [7 empty] | 53.9891 | 5434.7627 | [5 empty] | 911.8119 | 814.7036 |  |  |  | 321.7256 |  |  |  | 2.4002 | 44.8041 | 159.5595
Detect Lim Counts | [7 empty] | 122.3224 | 9898.096 | [5 empty] | 3203.0154 | 1823.3146 |  |  |  | 797.8367 |  |  |  | 24.9928 | 320.3596 | 721.7817
Feb 14 2003 01:47 pm | CABLNK01.D | Ca std blank 1 in 1ml tube with parafilm | 13:47 | 0:08 | 0 | 8 | 8 | 230 | 2737769 | 59410700 | 918728510 | 8698000 | -------- | 1671537 | 12121.48 | 2509.6299 | 2712.592 | 67.15 | 0.0414 | 8834354 | 1136.296 | 43.04 | 0.0145 | 1190 | 6828.8892 | 26679.631 | 83.17 | 0.0331
Feb 14 2003 03:02 pm | CABLNK02.D | Ca std sol blank 2 in 1ml tube with parafilm | 15:02 | 1:23 | 1 | 23 | 83 | 194.4444 | 2522672 | 54272200 | 837019390 | 7328000 | -------- | 1531287 | 11480 | 2322.592 | 2375.926 | 31.43 | 6.18e-09 | 7674291 | 953.3333 | 64.75 | -1.39e-09 | 991.8518 | 5726.666 | 21735.93 | 52.88 | -0.0149
Feb 14 2003 03:57 pm | CABLNK03.D | Ca std sol blank 3 in 1ml tube with parafilm | 15:57 | 2:18 | 2 | 18 | 138 | 161.1111 | 2373892 | 50661900 | 784659330 | 8345000 | -------- | 1419506 | 11038.15 | 2138.1479 | 2250.3701 | 24.7 | -0.0154 | 7253076 | 925.9259 | 10.79 | -0.0022 | 954.4444 | 5546.666 | 20642.221 | 192.1 | -0.0255

## Raw Data
Ion Name | [8 empty] | 7 Li | 7 Li | 7 Li | 24 Mg | 24 Mg | 24 Mg | 26 Mg | 26 Mg | 26 Mg | 43 Ca | 43 Ca | 43 Ca | 44 Ca | 44 Ca | 44 Ca | 46 Ca | 46 Ca | 46 Ca | 48 Ca | 48 Ca | 48 Ca | 55 Mn | 55 Mn | 55 Mn | 66 Zn | 66 Zn | 66 Zn | 68 Zn | 68 Zn | 68 Zn | 88 Sr | 88 Sr | 88 Sr | 110 Cd | 110 Cd | 110 Cd | 111 Cd | 111 Cd | 111 Cd | 137 Ba | 137 Ba | 137 Ba | 208 Pb | 208 Pb | 208 Pb
Labels | Date Acquired | Data File Name | Sample Name | Time Acquired |  | hours | mins | MINS from Start | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean | Raw Counts/CPS Mean | Raw Counts/CPS SD | Concentration Mean
| Feb 14 2003 02:22 pm | BC01.D | SAMPLE BC1 in 1ml tube with parafilm | 14:22 | 0:43 | 0 | 43 | 43 | 57128.879 | 735 | 1.086 | 26394460 | 229300 | 0.5331 | 4048227 | 37490 | 0.5237 | 63248500 | 743300 | -------- | 964616320 | 8197000 | -------- | 1761577 | 17780 | -------- | 104662900 | 572000 | -------- | 1998834 | 17310 | 20.06 | 6095.5552 | 111.7 | 0.3337 | 7261.481 | 70.91 | 0.6003 | 170413900 | 847100 | 1.283 | 282.5926 | 13.89 | -0.0531 | 310.7407 | 8.19 | -0.0524 | 146571.09 | 396.5 | 6.861 | 27450 | 247.6 | 0.0406
| Feb 14 2003 02:28 pm | BC02.D | SAMPLE BC2 in 1ml tube with parafilm | 14:28 | 0:49 | 0 | 49 | 49 | 54932.219 | 1203 | 1.044 | 53240820 | 137100 | 1.133 | 8163377 | 43300 | 1.114 | 63981180 | 245700 | -------- | 973524100 | 1745000 | -------- | 1779171 | 12270 | -------- | 106222300 | 312800 | -------- | 218927 | 673.9 | 2.094 | 8552.2217 | 86.29 | 0.551 | 6876.666 | 95.63 | 0.553 | 168901790 | 469700 | 1.271 | 350.7407 | 14.07 | -0.0477 | 309.6296 | 23.42 | -0.0525 | 28566.67 | 355.9 | 1.113 | 6441.481 | 41.12 | -0.1633
| Feb 14 2003 02:35 pm | BC03.D | SAMPLE BC3 in 1ml tube with parafilm | 14:35 | 0:56 | 0 | 56 | 56 | 51867.77 | 495 | 0.986 | 33795480 | 41710 | 0.6985 | 5176774 | 35100 | 0.6855 | 58432360 | 290500 | -------- | 896200190 | 1118000 | -------- | 1673428 | 88310 | -------- | 96858624 | 389200 | -------- | 923274.31 | 3750 | 9.204 | 7076.2959 | 21.67 | 0.4205 | 18010.369 | 160.2 | 1.921 | 155442300 | 462000 | 1.165 | 136.2963 | 18.4 | -0.0647 | 152.963 | 19.95 | -0.0645 | 793480 | 6456 | 38.37 | 8785.9258 | 82.07 | -0.1405
| Feb 14 2003 02:43 pm | BC04.D | SAMPLE BC4 in 1ml tube with parafilm | 14:43 | 1:04 | 1 | 4 | 64 | 45093.328 | 1095 | 0.8567 | 25212550 | 211500 | 0.5067 | 3847254 | 14040 | 0.4949 | 62808420 | 276800 | -------- | 958886720 | 5472000 | -------- | 1742437 | 20200 | -------- | 104141200 | 590600 | -------- | 1751232 | 3022 | 17.56 | 4268.1479 | 61.1 | 0.1721 | 20300 | 60.83 | 2.202 | 159516190 | 229700 | 1.197 | 129.6296 | 26.07 | -0.0652 | 141.8518 | 16.19 | -0.0654 | 1014742 | 8486 | 49.15 | 8245.9258 | 25.68 | -0.1457
| Feb 14 2003 02:53 pm | BC05.D | SAMPLE BC5 in 1ml tube with parafilm | 14:53 | 1:14 | 1 | 14 | 74 | 45991.109 | 535 | 0.8738 | 31076990 | 320100 | 0.6378 | 4720800 | 22500 | 0.6202 | 62343808 | 340700 | -------- | 951948420 | 5901000 | -------- | 1735252 | 15000 | -------- | 103822400 | 655300 | -------- | 1142167 | 10840 | 11.41 | 3861.8521 | 34.43 | 0.1361 | 12463.33 | 139 | 1.239 | 151269500 | 364900 | 1.132 | 112.963 | 14.07 | -0.0665 | 105.5556 | 2.94 | -0.0681 | 563975.63 | 3858 | 27.19 | 20595.18 | 127 | -0.026
| Feb 14 2003 03:20 pm | BC06.D | sample BC6 in 1ml tube with parafilm | 15:20 | 1:41 | 1 | 41 | 101 | 41013.328 | 935.4 | 0.7788 | 28065410 | 190500 | 0.5705 | 4310004 | 35900 | 0.5613 | 51237808 | 625400 | -------- | 794357500 | 5035000 | -------- | 1465382 | 37460 | -------- | 85517400 | 523400 | -------- | 997270.88 | 7800 | 9.951 | 7073.7041 | 82.52 | 0.4202 | 14966.3 | 26.04 | 1.547 | 126169200 | 489100 | 0.9342 | 87.7778 | 9.686 | -0.0685 | 89.2593 | 10.68 | -0.0694 | 554258.88 | 2601 | 26.72 | 8291.4814 | 66.98 | -0.1453
| Feb 14 2003 03:26 pm | BC07.D | sample BC7 in 1ml tube with parafilm | 15:26 | 1:47 | 1 | 47 | 107 | 37768.891 | 1269 | 0.7169 | 86972576 | 2184000 | 1.887 | 13259250 | 312400 | 1.844 | 54044632 | 670000 | -------- | 834523580 | 7101000 | -------- | 1548061 | 63580 | -------- | 90497200 | 953800 | -------- | 62793.699 | 664.3 | 0.518 | 8690.7402 | 46.7 | 0.5633 | 6464.0742 | 38.5 | 0.5023 | 130880500 | 862600 | 0.9713 | 93.7037 | 19.57 | -0.068 | 101.8518 | 4.626 | -0.0684 | 16702.221 | 70.03 | 0.5347 | 3249.6299 | 115.1 | -0.1942
| Feb 14 2003 03:32 pm | BC08.D | sample BC8 in 1ml tube with parafilm | 15:32 | 1:53 | 1 | 53 | 113 | 38925.559 | 898.2 | 0.739 | 94559792 | 1583000 | 2.056 | 14680780 | 237500 | 2.048 | 58484832 | 770500 | -------- | 893333890 | 7452000 | -------- | 1628309 | 36520 | -------- | 97310200 | 758200 | -------- | 114570 | 823.3 | 1.041 | 9587.4072 | 235.9 | 0.6426 | 6946.666 | 115.2 | 0.5616 | 145721790 | 618200 | 1.088 | 135.9259 | 21.78 | -0.0647 | 128.8889 | 10.94 | -0.0663 | 17011.109 | 81.94 | 0.5497 | 5039.2588 | 151.9 | -0.1769
| Feb 14 2003 01:39 pm | BLANK01.D | 2% nitric blank from bottle | 13:39 | 0:00 | 0 | 0 | 0 | 82.2222 | 19.53 | -0.0022 | 2506.667 | 23.33 | -0.0566 | 957.7778 | 90.33 | -0.0566 | 1407.778 | 97.6 | -------- | 39178.891 | 444.1 | -------- | 47620.578 | 29870 | -------- | 1167.778 | 23.41 | -------- | 2059.259 | 36.13 | -0.0951 | 622.963 | 35.04 | -0.1503 | 1161.8521 | 49.02 | -0.1491 | 344.4444 | 28.74 | -0.0605 | 14.4444 | 4.444 | -0.0743 | 23.3333 | 9.686 | -0.0745 | 261.1111 | 25.02 | -0.2662 | 521.4815 | 28.38 | -0.2207
| Feb 14 2003 01:42 pm | BLANK02.D | 2% nitric blank 2 in 1ml tube with parafilm | 13:42 | 0:03 | 0 | 3 | 3 | 82.2222 | 15.03 | -0.0022 | 3942.2219 | 69.31 | -0.0566 | 1166.667 | 80.07 | -0.0566 | 1448.889 | 63.1 | -------- | 40392.219 | 508.4 | -------- | 28486.711 | 17200 | -------- | 1314.444 | 60.12 | -------- | 2006.296 | 44.56 | -0.0956 | 1014.074 | 5.481 | -0.1157 | 1491.481 | 47.3 | -0.1086 | 468.8889 | 10.18 | -0.0605 | 16.2963 | 4.491 | -0.0742 | 22.963 | 4.207 | -0.0745 | 293.3333 | 30 | -0.2646 | 640.3703 | 34.54 | -0.2195
| Feb 14 2003 02:58 pm | BLANK03.D | 2% nitric blank 3 in 1ml tube with parafilm | 14:58 | 1:19 | 1 | 19 | 79 | 64.4444 | 8.389 | -0.0026 | 4545.5552 | 117.4 | -0.0565 | 922.2222 | 59.66 | -0.0566 | 720 | 24.04 | -------- | 22612.221 | 305.9 | -------- | 25716.4 | 16440 | -------- | 1122.222 | 22.19 | -------- | 2484.074 | 54.46 | -0.0908 | 1188.1479 | 51.37 | -0.1003 | 1515.5551 | 49.04 | -0.1057 | 484.4444 | 50.15 | -0.0605 | 14.0741 | 2.566 | -0.0743 | 22.5926 | 1.697 | -0.0745 | 282.2222 | 37.17 | -0.2652 | 540.3704 | 14.92 | -0.2205
| Feb 14 2003 03:52 pm | BLANK04.D | nitic blank 4 in 1ml tube with parafilm | 15:52 | 2:13 | 2 | 13 | 133 | 44.4444 | 6.939 | -0.003 | 6858.8892 | 268 | -0.0565 | 1250 | 158.7 | -0.0566 | 712.2222 | 67.36 | -------- | 21487.779 | 128.4 | -------- | 32516.551 | 10930 | -------- | 1440 | 65.06 | -------- | 2615.1851 | 55.11 | -0.0895 | 1209.259 | 33.15 | -0.0985 | 1517.778 | 37.17 | -0.1054 | 606.6666 | 8.819 | -0.0605 | 13.7037 | 1.697 | -0.0744 | 21.4815 | 1.283 | -0.0746 | 265.5555 | 6.939 | -0.266 | 546.6666 | 15.56 | -0.2205
| Feb 14 2003 01:47 pm | CABLNK01.D | Ca std blank 1 in 1ml tube with parafilm | 13:47 | 0:08 | 0 | 8 | 8 | 230 | 34.8 | 0.0006 | 2737769 | 30660 | 0.0045 | 409924.41 | 2822 | 0.002 | 59410700 | 568500 | -------- | 918728510 | 8698000 | -------- | 1671537 | 19690 | -------- | 99256992 | 880100 | -------- | 12121.48 | 79.46 | 0.0065 | 2509.6299 | 59.88 | 0.0165 | 2712.592 | 67.15 | 0.0414 | 8834354 | 65340 | 0.0091 | 1136.296 | 43.04 | 0.0145 | 1190 | 14.19 | 0.0152 | 6828.8892 | 159.9 | 0.0537 | 26679.631 | 83.17 | 0.0331
| Feb 14 2003 03:02 pm | CABLNK02.D | Ca std sol blank 2 in 1ml tube with parafilm | 15:02 | 1:23 | 1 | 23 | 83 | 194.4444 | 27.15 | -0.0001 | 2522672 | 12190 | -0.0003 | 388025.5 | 4118 | -0.0011 | 54272200 | 678000 | -------- | 837019390 | 7328000 | -------- | 1531287 | 44850 | -------- | 90943792 | 860300 | -------- | 11480 | 67.03 | -4.61e-09 | 2322.592 | 121.6 | -2.56e-09 | 2375.926 | 31.43 | 6.18e-09 | 7674291 | 10960 | -3.28e-09 | 953.3333 | 64.75 | -1.39e-09 | 991.8518 | 17.82 | 4.46e-10 | 5726.666 | 146.2 | -3.16e-09 | 21735.93 | 52.88 | -0.0149
| Feb 14 2003 03:57 pm | CABLNK03.D | Ca std sol blank 3 in 1ml tube with parafilm | 15:57 | 2:18 | 2 | 18 | 138 | 161.1111 | 38.63 | -0.0007 | 2373892 | 51770 | -0.0036 | 368591.09 | 4445 | -0.0039 | 50661900 | 597200 | -------- | 784659330 | 8345000 | -------- | 1419506 | 26540 | -------- | 85849088 | 773400 | -------- | 11038.15 | 127 | -0.0045 | 2138.1479 | 44.23 | -0.0163 | 2250.3701 | 24.7 | -0.0154 | 7253076 | 48600 | -0.0033 | 925.9259 | 10.79 | -0.0022 | 954.4444 | 44.57 | -0.0029 | 5546.666 | 14.53 | -0.0088 | 20642.221 | 192.1 | -0.0255
| Feb 14 2003 03:40 pm | OD1.D | sample OD1 in 1ml tube with parafilm | 15:40 | 2:01 | 2 | 1 | 121 | 26147.779 | 437.4 | 0.4952 | 41812640 | 483000 | 0.8777 | 6415319 | 71940 | 0.8631 | 57800120 | 177800 | -------- | 895134590 | 9849000 | -------- | 1610516 | 15970 | -------- | 96727536 | 664200 | -------- | 222645.2 | 847 | 2.132 | 19039.631 | 175.7 | 1.479 | 13921.11 | 176 | 1.419 | 128482700 | 551000 | 0.9524 | 930 | 28.87 | -0.0018 | 1003.704 | 38.91 | 0.0009 | 18216.67 | 250.6 | 0.6084 | 4718.5181 | 61.33 | -0.18
| Feb 14 2003 03:45 pm | OD2.D | sample OD2 in 1ml tube with parafilm | 15:45 | 2:06 | 2 | 6 | 126 | 42646.66 | 1260 | 0.81 | 34597328 | 555600 | 0.7164 | 5360979 | 83970 | 0.7119 | 54202700 | 798000 | -------- | 833082180 | 12610000 | -------- | 1529298 | 16200 | -------- | 90264512 | 982800 | -------- | 2136058 | 30120 | 21.45 | 55295.922 | 182.5 | 4.685 | 39991.109 | 289.3 | 4.622 | 138666900 | 690600 | 1.033 | 2290.3701 | 20.01 | 0.1058 | 2406.667 | 44.94 | 0.1088 | 73088.883 | 234 | 3.281 | 11935.19 | 131.7 | -0.1099
| Feb 14 2003 01:53 pm | STD1.D | std sol.1 in 1ml tube with parafilm | 13:53 | 0:14 | 0 | 14 | 14 | 13713.33 | 308.6 | 0.2579 | 14041870 | 81950 | 0.2571 | 2153012 | 8118 | 0.252 | 60743552 | 99080 | -------- | 933784000 | 4023000 | -------- | 1741724 | 70150 | -------- | 101670500 | 591700 | -------- | 594077.38 | 1292 | 5.881 | 5041.481 | 70.91 | 0.2405 | 4522.2222 | 88.59 | 0.2637 | 41353768 | 178300 | 0.2655 | 1421.111 | 63.26 | 0.037 | 1450 | 94.3 | 0.0352 | 17818.891 | 128.9 | 0.589 | 28707.41 | 67.35 | 0.0528
| Feb 14 2003 01:58 pm | STD2.D | std sol.2 in 1ml tube with parafilm | 13:58 | 0:19 | 0 | 19 | 19 | 26444.439 | 632.7 | 0.5008 | 24269010 | 337500 | 0.4856 | 3744243 | 57850 | 0.4801 | 60315272 | 809900 | -------- | 921335300 | 9749000 | -------- | 1717081 | 118400 | -------- | 100361400 | 1209000 | -------- | 2639598 | 17280 | 26.53 | 8557.7773 | 69.15 | 0.5515 | 7130.3701 | 130.5 | 0.5842 | 73477280 | 157400 | 0.5188 | 1773.704 | 23.16 | 0.0649 | 1844.074 | 15.09 | 0.0655 | 33690 | 270.9 | 1.362 | 31317.41 | 285 | 0.0781
| Feb 14 2003 02:04 pm | STD3.D | std sol.3 in 1ml tube with parafilm | 14:04 | 0:25 | 0 | 25 | 25 | 39046.672 | 193.6 | 0.7413 | 46838072 | 46900 | 0.99 | 7210981 | 31150 | 0.9772 | 59860032 | 578700 | -------- | 918883520 | 6317000 | -------- | 1694035 | 40190 | -------- | 99875160 | 531100 | -------- | 5155407 | 21580 | 51.93 | 16054.81 | 559.2 | 1.215 | 12749.63 | 281.7 | 1.275 | 102507900 | 475800 | 0.7476 | 2341.1111 | 33.63 | 0.1098 | 2458.1479 | 15.13 | 0.1127 | 60362.219 | 163.6 | 2.661 | 36072.961 | 233.3 | 0.1242
| Feb 14 2003 03:07 pm | STD3M2.D | std sol.3 monitor 2 in 1ml tube with parafilm | 15:07 | 1:28 | 1 | 28 | 88 | 34584.441 | 582.5 | 0.6562 | 42337048 | 1234000 | 0.8894 | 6486024 | 129500 | 0.8733 | 54091032 | 720400 | -------- | 834173310 | 10110000 | -------- | 1508325 | 23350 | -------- | 90369800 | 854500 | -------- | 4647884 | 42540 | 46.8 | 15577.78 | 144.7 | 1.172 | 12035.93 | 133.8 | 1.187 | 88443344 | 705400 | 0.6368 | 1975.1851 | 24.45 | 0.0809 | 2046.296 | 15.96 | 0.0811 | 50350 | 499.5 | 2.174 | 29623.699 | 319.8 | 0.0616
| Feb 14 2003 04:04 pm | STD3M3.D | Std sol.3 monitor 3 in 1ml tube with parafilm | 16:04 | 2:25 | 2 | 25 | 145 | 33094.441 | 733.8 | 0.6277 | 40165368 | 663100 | 0.8409 | 6122512 | 87590 | 0.8211 | 50399900 | 517600 | -------- | 779638400 | 7666000 | -------- | 1432491 | 53350 | -------- | 84542592 | 679800 | -------- | 4317784 | 7553 | 43.47 | 14664.07 | 279.1 | 1.092 | 11414.44 | 163.9 | 1.111 | 83119960 | 294100 | 0.5948 | 1831.481 | 13.98 | 0.0695 | 1891.111 | 32.45 | 0.0691 | 46637.77 | 87.58 | 1.993 | 27059.26 | 136.5 | 0.0368
| Feb 14 2003 02:10 pm | STD4.D | std sol.4 in 1ml tube with parafilm | 14:10 | 0:31 | 0 | 31 | 31 | 53773.328 | 712.7 | 1.022 | 106086700 | 1532000 | 2.314 | 16398650 | 217900 | 2.295 | 59751992 | 156600 | -------- | 907530180 | 2318000 | -------- | 1699430 | 28370 | -------- | 99033264 | 575500 | -------- | 12708630 | 38430 | 128.2 | 27362.961 | 103.1 | 2.215 | 20631.85 | 218.1 | 2.243 | 133468800 | 210600 | 0.9917 | 3526.2959 | 44.75 | 0.2036 | 3690.3701 | 98.13 | 0.2075 | 85666.656 | 485.1 | 3.894 | 45374.809 | 356.5 | 0.2145
| Feb 14 2003 03:13 pm | STD4M2.D | std sol.4 monitor 2 in 1ml tube with parafilm | 15:13 | 1:34 | 1 | 34 | 94 | 45631.109 | 614.7 | 0.867 | 92815776 | 951200 | 2.017 | 14300560 | 155300 | 1.994 | 51886352 | 321200 | -------- | 801889280 | 6527000 | -------- | 1456220 | 24600 | -------- | 86842496 | 436500 | -------- | 11126160 | 105200 | 112.2 | 23962.221 | 222.5 | 1.914 | 18046.67 | 86.61 | 1.925 | 114583100 | 631000 | 0.8428 | 3024.4441 | 42 | 0.1639 | 3045.1851 | 41.04 | 0.1579 | 71016.656 | 840.4 | 3.18 | 36778.52 | 83.45 | 0.1311
| Feb 14 2003 04:13 pm | STD4M3.D | Std sol.4 monitor 3 in 1ml tube with parafilm | 16:13 | 2:34 | 2 | 34 | 154 | 46176.66 | 724.9 | 0.8774 | 91068224 | 1540000 | 1.978 | 13983630 | 204500 | 1.948 | 50627820 | 238500 | -------- | 782071810 | 5022000 | -------- | 1439487 | 35470 | -------- | 84539800 | 631200 | -------- | 10783800 | 98670 | 108.7 | 22947.41 | 94.45 | 1.824 | 17197.41 | 133.1 | 1.821 | 109265600 | 588300 | 0.8009 | 2736.2959 | 45.71 | 0.1411 | 2780 | 54.19 | 0.1375 | 66334.438 | 642.1 | 2.952 | 33836.672 | 140 | 0.1025
| Feb 14 2003 04:18 pm | STD4M4.D | Std sol.4 monitor 4 in 1ml tube with parafilm | 16:18 | 2:39 | 2 | 39 | 159 | 45364.441 | 427 | 0.8619 | 90254352 | 427400 | 1.96 | 13928120 | 130200 | 1.94 | 49729152 | 269400 | -------- | 769679620 | 6685000 | -------- | 1405176 | 12050 | -------- | 82854784 | 473800 | -------- | 10545930 | 14000 | 106.3 | 20390.369 | 307.2 | 1.598 | 15332.59 | 179.1 | 1.592 | 106522000 | 1316000 | 0.7793 | 2714.4441 | 40.79 | 0.1394 | 2782.9629 | 52.94 | 0.1377 | 64858.879 | 217.2 | 2.881 | 34195.551 | 361.1 | 0.106
| Feb 14 2003 02:16 pm | STD5.D | std sol.5 in 1ml tube with parafilm | 14:16 | 0:37 | 0 | 37 | 37 | 76886.656 | 590.1 | 1.463 | 216643810 | 1390000 | 4.784 | 33739712 | 371600 | 4.781 | 58644340 | 371400 | -------- | 897000130 | 4916000 | -------- | 1665318 | 51780 | -------- | 97121608 | 535000 | -------- | 24828850 | 87950 | 250.5 | 34906.289 | 15.13 | 2.882 | 25457.779 | 58.92 | 2.836 | 193024500 | 819200 | 1.461 | 4697.0371 | 72.46 | 0.2963 | 4800 | 56.08 | 0.2928 | 110546.7 | 822.3 | 5.106 | 52851.109 | 350.5 | 0.287